{"text_format":"2","workbook":"xlsx","n_sheets":7,"sheets":["组合式空调机组","吊装式空调机组","新风机组","风机盘管","送风机","排风机","穹顶排风机"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"组合式空调机组","index":0,"n_rows":70,"n_cols":5,"rows_kept":70,"cut":false,"hidden":false,"merged":[[0,0,6,0],[7,0,24,0],[25,0,69,0]]}
["基础信息","慧云本地名称","wd_huiyunbendimingcheng",true,"STRING"]
[null,"慧云本地编码","wd_huiyunbendibianma",true,"STRING"]
[null,"所在楼层","所在楼层",true,"STRING"]
[null,"所在空间","所在空间",true,"STRING"]
[null,"子系统编码","wD-zxtid",true,"STRING"]
[null,"构件分类名称","bimTypeName",true,"STRING"]
[null,"构件本地编码","localId",true,"STRING"]
["设计信息","送风量","supplyCap",true,"DOUBLE"]
[null,"余压","wD-shejiyuya",true,"DOUBLE"]
[null,"制冷量","wD-shejizhilengliang",true,"DOUBLE"]
[null,"功率","wD-shejigonglv",true,"DOUBLE"]
[null,"新风量","maxFreshAirFlow",false,"DOUBLE"]
[null,"回风量","summerDesignReturnAirFlow",false,"DOUBLE"]
[null,"水流量","summerDesignChillWaterFlow",false,"DOUBLE"]
[null,"水阻力","waterResistance",false,"DOUBLE"]
[null,"盘管排数","coilNum",false,"DOUBLE"]
[null,"风量","wD-shejifengliang",false,"DOUBLE"]
[null,"制热量","wD-shejizhireliang",false,"DOUBLE"]
[null,"电压","wD-shejidianya",false,"DOUBLE"]
[null,"过滤器形式","wD-shejiguolvqixingshi",false,"STRING"]
[null,"全热","wD-quanre",false,"STRING"]
[null,"显热","wD-xianre",false,"STRING"]
[null,"系统编号","wD-xitongbianhao",false,"STRING"]
[null,"服务区域","wD-fuwuquyu",false,"STRING"]
[null,"单位风量耗功率","wD-danweifenglianghaogonglv",false,"STRING"]
["施工信息","安装类型","installType",true,"ENUM"]
[null,"有无新风段","isFreshAirSection",true,"BOOLEAN"]
[null,"设备品牌","brand",true,"STRING"]
[null,"设备型号","specification",true,"STRING"]
[null,"设备序列号","serialNum",false,"STRING"]
[null,"设备铭牌","nameplate",false,"ATTACHMENT"]
[null,"长","length",false,"DOUBLE"]
[null,"宽","width",false,"DOUBLE"]
[null,"高","height",false,"DOUBLE"]
[null,"主体材质","material",false,"STRING"]
[null,"所处位置","installLocation",false,"STRING"]
[null,"生产商","manufacturer",false,"STRING"]
[null,"生厂商联系人","manufacturerContactor",false,"STRING"]
[null,"联系人电话","manufacturerPhone",false,"STRING"]
[null,"供货商","supplier",false,"STRING"]
[null,"供货商联系人","supplierContactor",false,"STRING"]
[null,"联系人电话","supplierPhone",false,"STRING"]
[null,"安装单位","installer",false,"STRING"]
[null,"安装单位联系人","installerContactor",false,"STRING"]
[null,"联系人电话","installerPhone",false,"STRING"]
[null,"出厂日期","productDate",false,"DATETIME"]
[null,"安装日期","installDate",false,"DATETIME"]
[null,"使用年限","serviceLife",false,"DOUBLE"]
[null,"质保单位","warranter",false,"STRING"]
[null,"质保联系人","warranterContactor",false,"STRING"]
[null,"联系人电话","warranterPhone",false,"STRING"]
[null,"质保期限","warranty",false,"STRING"]
[null,"保险公司","insurer",false,"STRING"]
[null,"保险联系人","insurerContactor",false,"STRING"]
[null,"联系人电话","insurerPhone",false,"STRING"]
[null,"保险有效期","insuranceDuration",false,"STRING"]
[null,"竣工图纸","drawing",false,"ATTACHMENT"]
[null,"设备安装图纸","installDrawing",false,"ATTACHMENT"]
[null,"设备安装说明书","installInstruction",false,"ATTACHMENT"]
[null,"操作说明书","operationManual",false,"ATTACHMENT"]
[null,"维修保养手册","maintainManual",false,"ATTACHMENT"]
[null,"采购合同编号","supplierContractID",false,"STRING"]
[null,"采购合同复印件","supplierContract",false,"ATTACHMENT"]
[null,"设备合格证","productCertification",false,"STRING"]
[null,"进场验收单","approachingAcceptance",false,"ATTACHMENT"]
[null,"原厂证明","originalCertificate",false,"ATTACHMENT"]
[null,"检测报告","testReport",false,"ATTACHMENT"]
[null,"验收报告","acceptanceReport",false,"ATTACHMENT"]
[null,"保险合同编号","insuranceNum",false,"STRING"]
[null,"保险合同复印件","insuranceFile",false,"ATTACHMENT"]

{"sheet":"吊装式空调机组","index":1,"n_rows":70,"n_cols":5,"rows_kept":70,"cut":false,"hidden":false,"merged":[[0,0,6,0],[7,0,24,0],[25,0,69,0]]}
["基础信息","慧云本地名称","wd_huiyunbendimingcheng",true,"STRING"]
[null,"慧云本地编码","wd_huiyunbendibianma",true,"STRING"]
[null,"所在楼层","所在楼层",true,"STRING"]
[null,"所在空间","所在空间",true,"STRING"]
[null,"子系统编码","wD-zxtid",true,"STRING"]
[null,"构件分类名称","bimTypeName",true,"STRING"]
[null,"构件本地编码","localId",true,"STRING"]
["设计信息","送风量","supplyCap",true,"DOUBLE"]
[null,"余压","wD-shejiyuya",true,"DOUBLE"]
[null,"制冷量","wD-shejizhilengliang",true,"DOUBLE"]
[null,"功率","wD-shejigonglv",true,"DOUBLE"]
[null,"新风量","maxFreshAirFlow",false,"DOUBLE"]
[null,"回风量","summerDesignReturnAirFlow",false,"DOUBLE"]
[null,"水流量","summerDesignChillWaterFlow",false,"DOUBLE"]
[null,"水阻力","waterResistance",false,"DOUBLE"]
[null,"盘管排数","coilNum",false,"DOUBLE"]
[null,"风量","wD-shejifengliang",false,"DOUBLE"]
[null,"制热量","wD-shejizhireliang",false,"DOUBLE"]
[null,"电压","wD-shejidianya",false,"DOUBLE"]
[null,"过滤器形式","wD-shejiguolvqixingshi",false,"STRING"]
[null,"全热","wD-quanre",false,"STRING"]
[null,"显热","wD-xianre",false,"STRING"]
[null,"系统编号","wD-xitongbianhao",false,"STRING"]
[null,"服务区域","wD-fuwuquyu",false,"STRING"]
[null,"单位风量耗功率","wD-danweifenglianghaogonglv",false,"STRING"]
["施工信息","安装类型","installType",true,"ENUM"]
[null,"有无新风段","isFreshAirSection",true,"BOOLEAN"]
[null,"设备品牌","brand",true,"STRING"]
[null,"设备型号","specification",true,"STRING"]
[null,"设备序列号","serialNum",false,"STRING"]
[null,"设备铭牌","nameplate",false,"ATTACHMENT"]
[null,"长","length",false,"DOUBLE"]
[null,"宽","width",false,"DOUBLE"]
[null,"高","height",false,"DOUBLE"]
[null,"主体材质","material",false,"STRING"]
[null,"所处位置","installLocation",false,"STRING"]
[null,"生产商","manufacturer",false,"STRING"]
[null,"生厂商联系人","manufacturerContactor",false,"STRING"]
[null,"联系人电话","manufacturerPhone",false,"STRING"]
[null,"供货商","supplier",false,"STRING"]
[null,"供货商联系人","supplierContactor",false,"STRING"]
[null,"联系人电话","supplierPhone",false,"STRING"]
[null,"安装单位","installer",false,"STRING"]
[null,"安装单位联系人","installerContactor",false,"STRING"]
[null,"联系人电话","installerPhone",false,"STRING"]
[null,"出厂日期","productDate",false,"DATETIME"]
[null,"安装日期","installDate",false,"DATETIME"]
[null,"使用年限","serviceLife",false,"DOUBLE"]
[null,"质保单位","warranter",false,"STRING"]
[null,"质保联系人","warranterContactor",false,"STRING"]
[null,"联系人电话","warranterPhone",false,"STRING"]
[null,"质保期限","warranty",false,"STRING"]
[null,"保险公司","insurer",false,"STRING"]
[null,"保险联系人","insurerContactor",false,"STRING"]
[null,"联系人电话","insurerPhone",false,"STRING"]
[null,"保险有效期","insuranceDuration",false,"STRING"]
[null,"竣工图纸","drawing",false,"ATTACHMENT"]
[null,"设备安装图纸","installDrawing",false,"ATTACHMENT"]
[null,"设备安装说明书","installInstruction",false,"ATTACHMENT"]
[null,"操作说明书","operationManual",false,"ATTACHMENT"]
[null,"维修保养手册","maintainManual",false,"ATTACHMENT"]
[null,"采购合同编号","supplierContractID",false,"STRING"]
[null,"采购合同复印件","supplierContract",false,"ATTACHMENT"]
[null,"设备合格证","productCertification",false,"STRING"]
[null,"进场验收单","approachingAcceptance",false,"ATTACHMENT"]
[null,"原厂证明","originalCertificate",false,"ATTACHMENT"]
[null,"检测报告","testReport",false,"ATTACHMENT"]
[null,"验收报告","acceptanceReport",false,"ATTACHMENT"]
[null,"保险合同编号","insuranceNum",false,"STRING"]
[null,"保险合同复印件","insuranceFile",false,"ATTACHMENT"]

{"sheet":"新风机组","index":2,"n_rows":71,"n_cols":5,"rows_kept":71,"cut":false,"hidden":false,"merged":[[0,0,6,0],[7,0,17,0],[18,0,70,0]]}
["基础信息","慧云本地名称","wd_huiyunbendimingcheng",true,"STRING"]
[null,"慧云本地编码","wd_huiyunbendibianma",true,"STRING"]
[null,"所在楼层","所在楼层",true,"STRING"]
[null,"所在空间","所在空间",true,"STRING"]
[null,"子系统编码","wD-zxtid",true,"STRING"]
[null,"构件分类名称","bimTypeName",true,"STRING"]
[null,"构件本地编码","localId",true,"STRING"]
["设计信息","风量","wD-shejifengliang",true,"STRING"]
[null,"余压","wD-shejiyuya",true,"STRING"]
[null,"制冷量","wD-shejizhilengliang",true,"STRING"]
[null,"功率","wD-shejigonglv",true,"STRING"]
[null,"水阻力","waterResistance",false,"DOUBLE"]
[null,"盘管排数","coilNum",false,"DOUBLE"]
[null,"制热量","wD-shejizhireliang",false,"STRING"]
[null,"电压","wD-shejidianya",false,"STRING"]
[null,"过滤器形式","wD-shejiguolvqixingshi",false,"STRING"]
[null,"水流量","wD-shejishuiliuliang",false,"STRING"]
[null,"单位风量耗功率","wD-danweifenglianghaogonglv",false,"STRING"]
["施工信息","设备品牌","brand",true,"STRING"]
[null,"设备型号","specification",true,"STRING"]
[null,"风量","maxFreshAirFlow",false,"STRING"]
[null,"余压","designExcessPress",false,"STRING"]
[null,"制冷量","designCoolP",false,"STRING"]
[null,"制热量","designHeatP",false,"STRING"]
[null,"功率","ratedP",false,"STRING"]
[null,"电压","ratedU",false,"STRING"]
[null,"过滤器形式","filtType",false,"ENUM"]
[null,"水流量","designChillWaterFlow",false,"DOUBLE"]
[null,"新风热回收类型","heatRecoveryType",false,"ENUM"]
[null,"有无热回收段","isHeatRecoverySection",false,"BOOLEAN"]
[null,"设备序列号","serialNum",false,"STRING"]
[null,"设备铭牌","nameplate",false,"ATTACHMENT"]
[null,"长","length",false,"DOUBLE"]
[null,"宽","width",false,"DOUBLE"]
[null,"高","height",false,"DOUBLE"]
[null,"主体材质","material",false,"STRING"]
[null,"所处位置","installLocation",false,"STRING"]
[null,"生产商","manufacturer",false,"STRING"]
[null,"生厂商联系人","manufacturerContactor",false,"STRING"]
[null,"联系人电话","manufacturerPhone",false,"STRING"]
[null,"供货商","supplier",false,"STRING"]
[null,"供货商联系人","supplierContactor",false,"STRING"]
[null,"联系人电话","supplierPhone",false,"STRING"]
[null,"安装单位","installer",false,"STRING"]
[null,"安装单位联系人","installerContactor",false,"STRING"]
[null,"联系人电话","installerPhone",false,"STRING"]
[null,"出厂日期","productDate",false,"DATETIME"]
[null,"安装日期","installDate",false,"DATETIME"]
[null,"使用年限","serviceLife",false,"DOUBLE"]
[null,"质保单位","warranter",false,"STRING"]
[null,"质保联系人","warranterContactor",false,"STRING"]
[null,"联系人电话","warranterPhone",false,"STRING"]
[null,"质保期限","warranty",false,"STRING"]
[null,"保险公司","insurer",false,"STRING"]
[null,"保险联系人","insurerContactor",false,"STRING"]
[null,"联系人电话","insurerPhone",false,"STRING"]
[null,"保险有效期","insuranceDuration",false,"STRING"]
[null,"竣工图纸","drawing",false,"ATTACHMENT"]
[null,"设备安装图纸","installDrawing",false,"ATTACHMENT"]
[null,"设备安装说明书","installInstruction",false,"ATTACHMENT"]
[null,"操作说明书","operationManual",false,"ATTACHMENT"]
[null,"维修保养手册","maintainManual",false,"ATTACHMENT"]
[null,"采购合同编号","supplierContractID",false,"STRING"]
[null,"采购合同复印件","supplierContract",false,"ATTACHMENT"]
[null,"设备合格证","productCertification",false,"STRING"]
[null,"进场验收单","approachingAcceptance",false,"ATTACHMENT"]
[null,"原厂证明","originalCertificate",false,"ATTACHMENT"]
[null,"检测报告","testReport",false,"ATTACHMENT"]
[null,"验收报告","acceptanceReport",false,"ATTACHMENT"]
[null,"保险合同编号","insuranceNum",false,"STRING"]
[null,"保险合同复印件","insuranceFile",false,"ATTACHMENT"]

{"sheet":"风机盘管","index":3,"n_rows":67,"n_cols":5,"rows_kept":67,"cut":false,"hidden":false,"merged":[[0,0,6,0],[7,0,15,0],[16,0,66,0]]}
["基础信息","慧云本地名称","wd_huiyunbendimingcheng",true,"STRING"]
[null,"慧云本地编码","wd_huiyunbendibianma",true,"STRING"]
[null,"所在楼层","所在楼层",true,"STRING"]
[null,"所在空间","所在空间",true,"STRING"]
[null,"子系统编码","wD-zxtid",true,"STRING"]
[null,"构件分类名称","bimTypeName",true,"STRING"]
[null,"构件本地编码","localId",true,"STRING"]
["设计信息","风量","wD-shejifengliang",true,"STRING"]
[null,"制冷量","wD-shejizhilengliang",true,"STRING"]
[null,"功率","wD-shejigonglv",true,"STRING"]
[null,"余压","wD-shejiyuya",true,"STRING"]
[null,"盘管排数","coilRowType",false,"ENUM"]
[null,"水压降","designCoilPressDrop",false,"DOUBLE"]
[null,"制热量","wD-shejizhireliang",false,"STRING"]
[null,"电压","wD-shejidianya",false,"STRING"]
[null,"噪音","wD-shejiyuya",false,"STRING"]
["施工信息","设备品牌","brand",true,"STRING"]
[null,"设备型号","specification",true,"STRING"]
[null,"风量","ratedFanFlow",false,"DOUBLE"]
[null,"制冷量","designCoolP",false,"DOUBLE"]
[null,"制热量","designHeatP",false,"DOUBLE"]
[null,"功率","ratedFanP",false,"DOUBLE"]
[null,"电压","ratedFanU",false,"DOUBLE"]
[null,"余压","designOutAirPress",false,"DOUBLE"]
[null,"噪音","noise",false,"DOUBLE"]
[null,"水流量","summerDesignWaterFlow",false,"DOUBLE"]
[null,"设备序列号","serialNum",false,"STRING"]
[null,"设备铭牌","nameplate",false,"ATTACHMENT"]
[null,"长","length",false,"DOUBLE"]
[null,"宽","width",false,"DOUBLE"]
[null,"高","height",false,"DOUBLE"]
[null,"主体材质","material",false,"STRING"]
[null,"所处位置","installLocation",false,"STRING"]
[null,"生产商","manufacturer",false,"STRING"]
[null,"生厂商联系人","manufacturerContactor",false,"STRING"]
[null,"联系人电话","manufacturerPhone",false,"STRING"]
[null,"供货商","supplier",false,"STRING"]
[null,"供货商联系人","supplierContactor",false,"STRING"]
[null,"联系人电话","supplierPhone",false,"STRING"]
[null,"安装单位","installer",false,"STRING"]
[null,"安装单位联系人","installerContactor",false,"STRING"]
[null,"联系人电话","installerPhone",false,"STRING"]
[null,"出厂日期","productDate",false,"DATETIME"]
[null,"安装日期","installDate",false,"DATETIME"]
[null,"使用年限","serviceLife",false,"DOUBLE"]
[null,"质保单位","warranter",false,"STRING"]
[null,"质保联系人","warranterContactor",false,"STRING"]
[null,"联系人电话","warranterPhone",false,"STRING"]
[null,"质保期限","warranty",false,"STRING"]
[null,"保险公司","insurer",false,"STRING"]
[null,"保险联系人","insurerContactor",false,"STRING"]
[null,"联系人电话","insurerPhone",false,"STRING"]
[null,"保险有效期","insuranceDuration",false,"STRING"]
[null,"竣工图纸","drawing",false,"ATTACHMENT"]
[null,"设备安装图纸","installDrawing",false,"ATTACHMENT"]
[null,"设备安装说明书","installInstruction",false,"ATTACHMENT"]
[null,"操作说明书","operationManual",false,"ATTACHMENT"]
[null,"维修保养手册","maintainManual",false,"ATTACHMENT"]
[null,"采购合同编号","supplierContractID",false,"STRING"]
[null,"采购合同复印件","supplierContract",false,"ATTACHMENT"]
[null,"设备合格证","productCertification",false,"STRING"]
[null,"进场验收单","approachingAcceptance",false,"ATTACHMENT"]
[null,"原厂证明","originalCertificate",false,"ATTACHMENT"]
[null,"检测报告","testReport",false,"ATTACHMENT"]
[null,"验收报告","acceptanceReport",false,"ATTACHMENT"]
[null,"保险合同编号","insuranceNum",false,"STRING"]
[null,"保险合同复印件","insuranceFile",false,"ATTACHMENT"]

{"sheet":"送风机","index":4,"n_rows":73,"n_cols":5,"rows_kept":73,"cut":false,"hidden":false,"merged":[[0,0,6,0],[7,0,23,0],[24,0,72,0]]}
["基础信息","慧云本地名称","wd_huiyunbendimingcheng",true,"STRING"]
[null,"慧云本地编码","wd_huiyunbendibianma",true,"STRING"]
[null,"所在楼层","所在楼层",true,"STRING"]
[null,"所在空间","所在空间",true,"STRING"]
[null,"子系统编码","wD-zxtid",true,"STRING"]
[null,"构件分类名称","bimTypeName",true,"STRING"]
[null,"构件本地编码","localId",true,"STRING"]
["设计信息","风机形式","directionType",true,"ENUM"]
[null,"风量","wD-shejifengliang",true,"STRING"]
[null,"余压","wD-shejiyuya",true,"STRING"]
[null,"功率","wD-shejigonglv",true,"STRING"]
[null,"安装方式","installType",false,"ENUM"]
[null,"转速","wD-shejizhuansu",false,"STRING"]
[null,"噪音","wD-shejizaoyin",false,"STRING"]
[null,"净重","wD-shejijingzhong",false,"STRING"]
[null,"平时风量","wD-pingshifengliang",false,"STRING"]
[null,"平时余压","wD-pingshiyuya",false,"STRING"]
[null,"平时功率","wD-pingshigonglv",false,"STRING"]
[null,"平时转速","wD-pingshizhuansu",false,"STRING"]
[null,"平时噪音","wD-pingshizaoyin",false,"STRING"]
[null,"系统编号","wD-xitongbianhao",false,"STRING"]
[null,"服务防火分区","wD-fuwufanghuofenqu",false,"STRING"]
[null,"服务房间","wD-fuwufnagjian",false,"STRING"]
[null,"控制要求","wD-kongzhiyaoqiu",false,"STRING"]
["施工信息","功能类型","funcType",true,"ENUM"]
[null,"设备品牌","brand",true,"STRING"]
[null,"设备型号","specification",true,"STRING"]
[null,"风量","ratedFlow",false,"DOUBLE"]
[null,"余压","ratedAirOutPress",false,"DOUBLE"]
[null,"功率","ratedP",false,"DOUBLE"]
[null,"转速","ratedRPM",false,"DOUBLE"]
[null,"噪音","noise",false,"DOUBLE"]
[null,"设备序列号","serialNum",false,"STRING"]
[null,"设备铭牌","nameplate",false,"ATTACHMENT"]
[null,"长","length",false,"DOUBLE"]
[null,"宽","width",false,"DOUBLE"]
[null,"高","height",false,"DOUBLE"]
[null,"主体材质","material",false,"STRING"]
[null,"所处位置","installLocation",false,"STRING"]
[null,"生产商","manufacturer",false,"STRING"]
[null,"生厂商联系人","manufacturerContactor",false,"STRING"]
[null,"联系人电话","manufacturerPhone",false,"STRING"]
[null,"供货商","supplier",false,"STRING"]
[null,"供货商联系人","supplierContactor",false,"STRING"]
[null,"联系人电话","supplierPhone",false,"STRING"]
[null,"安装单位","installer",false,"STRING"]
[null,"安装单位联系人","installerContactor",false,"STRING"]
[null,"联系人电话","installerPhone",false,"STRING"]
[null,"出厂日期","productDate",false,"DATETIME"]
[null,"安装日期","installDate",false,"DATETIME"]
[null,"使用年限","serviceLife",false,"DOUBLE"]
[null,"质保单位","warranter",false,"STRING"]
[null,"质保联系人","warranterContactor",false,"STRING"]
[null,"联系人电话","warranterPhone",false,"STRING"]
[null,"质保期限","warranty",false,"STRING"]
[null,"保险公司","insurer",false,"STRING"]
[null,"保险联系人","insurerContactor",false,"STRING"]
[null,"联系人电话","insurerPhone",false,"STRING"]
[null,"保险有效期","insuranceDuration",false,"STRING"]
[null,"竣工图纸","drawing",false,"ATTACHMENT"]
[null,"设备安装图纸","installDrawing",false,"ATTACHMENT"]
[null,"设备安装说明书","installInstruction",false,"ATTACHMENT"]
[null,"操作说明书","operationManual",false,"ATTACHMENT"]
[null,"维修保养手册","maintainManual",false,"ATTACHMENT"]
[null,"采购合同编号","supplierContractID",false,"STRING"]
[null,"采购合同复印件","supplierContract",false,"ATTACHMENT"]
[null,"设备合格证","productCertification",false,"STRING"]
[null,"进场验收单","approachingAcceptance",false,"ATTACHMENT"]
[null,"原厂证明","originalCertificate",false,"ATTACHMENT"]
[null,"检测报告","testReport",false,"ATTACHMENT"]
[null,"验收报告","acceptanceReport",false,"ATTACHMENT"]
[null,"保险合同编号","insuranceNum",false,"STRING"]
[null,"保险合同复印件","insuranceFile",false,"ATTACHMENT"]

{"sheet":"排风机","index":5,"n_rows":73,"n_cols":5,"rows_kept":73,"cut":false,"hidden":false,"merged":[[0,0,6,0],[7,0,23,0],[24,0,72,0]]}
["基础信息","慧云本地名称","wd_huiyunbendimingcheng",true,"STRING"]
[null,"慧云本地编码","wd_huiyunbendibianma",true,"STRING"]
[null,"所在楼层","所在楼层",true,"STRING"]
[null,"所在空间","所在空间",true,"STRING"]
[null,"子系统编码","wD-zxtid",true,"STRING"]
[null,"构件分类名称","bimTypeName",true,"STRING"]
[null,"构件本地编码","localId",true,"STRING"]
["设计信息","风机形式","directionType",true,"ENUM"]
[null,"风量","wD-shejifengliang",true,"STRING"]
[null,"余压","wD-shejiyuya",true,"STRING"]
[null,"功率","wD-shejigonglv",true,"STRING"]
[null,"安装方式","installType",false,"ENUM"]
[null,"转速","wD-shejizhuansu",false,"STRING"]
[null,"噪音","wD-shejizaoyin",false,"STRING"]
[null,"净重","wD-shejijingzhong",false,"STRING"]
[null,"平时风量","wD-pingshifengliang",false,"STRING"]
[null,"平时余压","wD-pingshiyuya",false,"STRING"]
[null,"平时功率","wD-pingshigonglv",false,"STRING"]
[null,"平时转速","wD-pingshizhuansu",false,"STRING"]
[null,"平时噪音","wD-pingshizaoyin",false,"STRING"]
[null,"系统编号","wD-xitongbianhao",false,"STRING"]
[null,"服务防火分区","wD-fuwufanghuofenqu",false,"STRING"]
[null,"服务房间","wD-fuwufnagjian",false,"STRING"]
[null,"控制要求","wD-kongzhiyaoqiu",false,"STRING"]
["施工信息","功能类型","funcType",true,"ENUM"]
[null,"设备品牌","brand",true,"STRING"]
[null,"设备型号","specification",true,"STRING"]
[null,"风量","ratedFlow",false,"DOUBLE"]
[null,"余压","ratedAirOutPress",false,"DOUBLE"]
[null,"功率","ratedP",false,"DOUBLE"]
[null,"转速","ratedRPM",false,"DOUBLE"]
[null,"噪音","noise",false,"DOUBLE"]
[null,"设备序列号","serialNum",false,"STRING"]
[null,"设备铭牌","nameplate",false,"ATTACHMENT"]
[null,"长","length",false,"DOUBLE"]
[null,"宽","width",false,"DOUBLE"]
[null,"高","height",false,"DOUBLE"]
[null,"主体材质","material",false,"STRING"]
[null,"所处位置","installLocation",false,"STRING"]
[null,"生产商","manufacturer",false,"STRING"]
[null,"生厂商联系人","manufacturerContactor",false,"STRING"]
[null,"联系人电话","manufacturerPhone",false,"STRING"]
[null,"供货商","supplier",false,"STRING"]
[null,"供货商联系人","supplierContactor",false,"STRING"]
[null,"联系人电话","supplierPhone",false,"STRING"]
[null,"安装单位","installer",false,"STRING"]
[null,"安装单位联系人","installerContactor",false,"STRING"]
[null,"联系人电话","installerPhone",false,"STRING"]
[null,"出厂日期","productDate",false,"DATETIME"]
[null,"安装日期","installDate",false,"DATETIME"]
[null,"使用年限","serviceLife",false,"DOUBLE"]
[null,"质保单位","warranter",false,"STRING"]
[null,"质保联系人","warranterContactor",false,"STRING"]
[null,"联系人电话","warranterPhone",false,"STRING"]
[null,"质保期限","warranty",false,"STRING"]
[null,"保险公司","insurer",false,"STRING"]
[null,"保险联系人","insurerContactor",false,"STRING"]
[null,"联系人电话","insurerPhone",false,"STRING"]
[null,"保险有效期","insuranceDuration",false,"STRING"]
[null,"竣工图纸","drawing",false,"ATTACHMENT"]
[null,"设备安装图纸","installDrawing",false,"ATTACHMENT"]
[null,"设备安装说明书","installInstruction",false,"ATTACHMENT"]
[null,"操作说明书","operationManual",false,"ATTACHMENT"]
[null,"维修保养手册","maintainManual",false,"ATTACHMENT"]
[null,"采购合同编号","supplierContractID",false,"STRING"]
[null,"采购合同复印件","supplierContract",false,"ATTACHMENT"]
[null,"设备合格证","productCertification",false,"STRING"]
[null,"进场验收单","approachingAcceptance",false,"ATTACHMENT"]
[null,"原厂证明","originalCertificate",false,"ATTACHMENT"]
[null,"检测报告","testReport",false,"ATTACHMENT"]
[null,"验收报告","acceptanceReport",false,"ATTACHMENT"]
[null,"保险合同编号","insuranceNum",false,"STRING"]
[null,"保险合同复印件","insuranceFile",false,"ATTACHMENT"]

{"sheet":"穹顶排风机","index":6,"n_rows":73,"n_cols":5,"rows_kept":73,"cut":false,"hidden":false,"merged":[[0,0,6,0],[7,0,23,0],[24,0,72,0]]}
["基础信息","慧云本地名称","wd_huiyunbendimingcheng",true,"STRING"]
[null,"慧云本地编码","wd_huiyunbendibianma",true,"STRING"]
[null,"所在楼层","所在楼层",true,"STRING"]
[null,"所在空间","所在空间",true,"STRING"]
[null,"子系统编码","wD-zxtid",true,"STRING"]
[null,"构件分类名称","bimTypeName",true,"STRING"]
[null,"构件本地编码","localId",true,"STRING"]
["设计信息","风机形式","directionType",true,"ENUM"]
[null,"风量","wD-shejifengliang",true,"STRING"]
[null,"余压","wD-shejiyuya",true,"STRING"]
[null,"功率","wD-shejigonglv",true,"STRING"]
[null,"安装方式","installType",false,"ENUM"]
[null,"转速","wD-shejizhuansu",false,"STRING"]
[null,"噪音","wD-shejizaoyin",false,"STRING"]
[null,"净重","wD-shejijingzhong",false,"STRING"]
[null,"平时风量","wD-pingshifengliang",false,"STRING"]
[null,"平时余压","wD-pingshiyuya",false,"STRING"]
[null,"平时功率","wD-pingshigonglv",false,"STRING"]
[null,"平时转速","wD-pingshizhuansu",false,"STRING"]
[null,"平时噪音","wD-pingshizaoyin",false,"STRING"]
[null,"系统编号","wD-xitongbianhao",false,"STRING"]
[null,"服务防火分区","wD-fuwufanghuofenqu",false,"STRING"]
[null,"服务房间","wD-fuwufnagjian",false,"STRING"]
[null,"控制要求","wD-kongzhiyaoqiu",false,"STRING"]
["施工信息","功能类型","funcType",true,"ENUM"]
[null,"设备品牌","brand",true,"STRING"]
[null,"设备型号","specification",true,"STRING"]
[null,"风量","ratedFlow",false,"DOUBLE"]
[null,"余压","ratedAirOutPress",false,"DOUBLE"]
[null,"功率","ratedP",false,"DOUBLE"]
[null,"转速","ratedRPM",false,"DOUBLE"]
[null,"噪音","noise",false,"DOUBLE"]
[null,"设备序列号","serialNum",false,"STRING"]
[null,"设备铭牌","nameplate",false,"ATTACHMENT"]
[null,"长","length",false,"DOUBLE"]
[null,"宽","width",false,"DOUBLE"]
[null,"高","height",false,"DOUBLE"]
[null,"主体材质","material",false,"STRING"]
[null,"所处位置","installLocation",false,"STRING"]
[null,"生产商","manufacturer",false,"STRING"]
[null,"生厂商联系人","manufacturerContactor",false,"STRING"]
[null,"联系人电话","manufacturerPhone",false,"STRING"]
[null,"供货商","supplier",false,"STRING"]
[null,"供货商联系人","supplierContactor",false,"STRING"]
[null,"联系人电话","supplierPhone",false,"STRING"]
[null,"安装单位","installer",false,"STRING"]
[null,"安装单位联系人","installerContactor",false,"STRING"]
[null,"联系人电话","installerPhone",false,"STRING"]
[null,"出厂日期","productDate",false,"DATETIME"]
[null,"安装日期","installDate",false,"DATETIME"]
[null,"使用年限","serviceLife",false,"DOUBLE"]
[null,"质保单位","warranter",false,"STRING"]
[null,"质保联系人","warranterContactor",false,"STRING"]
[null,"联系人电话","warranterPhone",false,"STRING"]
[null,"质保期限","warranty",false,"STRING"]
[null,"保险公司","insurer",false,"STRING"]
[null,"保险联系人","insurerContactor",false,"STRING"]
[null,"联系人电话","insurerPhone",false,"STRING"]
[null,"保险有效期","insuranceDuration",false,"STRING"]
[null,"竣工图纸","drawing",false,"ATTACHMENT"]
[null,"设备安装图纸","installDrawing",false,"ATTACHMENT"]
[null,"设备安装说明书","installInstruction",false,"ATTACHMENT"]
[null,"操作说明书","operationManual",false,"ATTACHMENT"]
[null,"维修保养手册","maintainManual",false,"ATTACHMENT"]
[null,"采购合同编号","supplierContractID",false,"STRING"]
[null,"采购合同复印件","supplierContract",false,"ATTACHMENT"]
[null,"设备合格证","productCertification",false,"STRING"]
[null,"进场验收单","approachingAcceptance",false,"ATTACHMENT"]
[null,"原厂证明","originalCertificate",false,"ATTACHMENT"]
[null,"检测报告","testReport",false,"ATTACHMENT"]
[null,"验收报告","acceptanceReport",false,"ATTACHMENT"]
[null,"保险合同编号","insuranceNum",false,"STRING"]
[null,"保险合同复印件","insuranceFile",false,"ATTACHMENT"]