{"text_format":"2","workbook":"xlsx","n_sheets":2,"sheets":["新版","对照版（废止）"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"新版","index":0,"n_rows":121,"n_cols":13,"rows_kept":121,"cut":false,"hidden":false,"merged":[[76,3,77,3],[1,3,6,3],[7,2,11,2],[7,3,11,3],[12,2,13,2],[12,3,13,3],[41,3,44,3],[66,3,68,3],[70,2,71,2],[70,3,71,3],[74,3,75,3],[14,3,16,3],[17,2,19,2],[53,3,56,3],[62,3,64,3],[66,2,68,2],[17,3,19,3],[20,2,21,2],[20,3,21,3],[45,3,46,3],[23,3,30,3],[113,2,114,2],[113,3,114,3],[115,2,119,2],[115,3,119,3],[80,2,81,2],[80,3,81,3],[82,2,83,2],[82,3,83,3],[86,2,87,2],[86,3,87,3],[88,2,91,2],[88,3,91,3],[92,2,94,2],[101,3,105,3],[106,2,110,2],[106,3,110,3],[92,3,94,3],[95,2,96,2],[95,3,96,3],[31,2,38,2],[31,3,38,3],[101,2,105,2],[78,3,79,3],[57,2,60,2],[57,3,60,3],[62,2,64,2],[72,3,73,3],[47,2,48,2],[47,3,48,3],[49,2,52,2],[49,3,52,3],[1,2,6,2],[41,1,44,1],[7,1,21,1],[78,2,79,2],[45,1,85,1],[45,2,46,2],[76,2,77,2],[74,2,75,2],[72,2,73,2],[41,2,44,2],[23,2,30,2],[53,2,56,2],[14,2,16,2],[1,0,22,0],[101,0,112,0],[113,1,119,1],[101,1,111,1],[113,0,119,0],[23,1,30,1],[31,1,38,1],[86,1,96,1],[41,0,96,0],[1,1,6,1],[97,0,98,0],[99,0,100,0],[23,0,38,0],[39,0,40,0]]}
["关系两侧对象类别","图分类","图类型编码","图类型名称","边类型编码","边类型名称","边方向性","边属性","主要连接对象","备注",null,"图分类","分类说明"]
["建筑空间类-建筑空间类","架构从属关系","ArchSubset","建筑从属关系","Pj2Bd","项目下的建筑",1,null,"项目→建筑",null,null,"架构从属关系","存在于同类别不同层级的对象之间，树形结构"]
[{"$nulls":4},"Bd2Fl","建筑下的楼层",1,null,"建筑→楼层",null,null,"物理连通关系","对象在物理层面上相互连接或某种介质可以在对象之间流通的关系"]
[{"$nulls":4},"Bd2Sh","建筑下的竖井",1,null,"建筑→竖井",null,null,"功能关联关系","与某种功能实现相关而产生的关联关系"]
[{"$nulls":4},"Bd2Sp","建筑下的业务空间",1,"空间分区类型","建筑→空间",null,null,"管理关联关系","与组织管理方式相关而产生的关联关系"]
[{"$nulls":4},"Fl2Sp","楼层下的业务空间",1,"空间分区类型","楼层→空间"]
[{"$nulls":4},"Sh2Sp","竖井下的业务空间",1,"空间分区类型","竖井→空间","物业分区"]
[null,"物理连通关系","SpaceNeighborhood","业务空间（同类）邻接关系","None","空间隔断无门窗",0,"空间分区类型","空间-空间"]
[{"$nulls":4},"Door","空间隔断有门",0,"空间分区类型","空间-空间"]
[{"$nulls":4},"Window","空间隔断有窗",0,"空间分区类型","空间-空间"]
[{"$nulls":4},"DoorWindow","空间隔断有门窗",0,"空间分区类型","空间-空间"]
[{"$nulls":4},"Connect","空间连通",0,"空间分区类型","空间-空间"]
[null,null,"ThroughRelationship","贯通关系","Fl2Fl","楼层贯通关系",0,null,"楼层-楼层"]
[{"$nulls":4},"Sh2Sh","竖井贯通关系",0,null,"竖井-竖井"]
[null,null,"TrafficNetwork","建筑交通网络（同类）","Normal","普通交通",0,"空间分区类型","空间-空间","物业分区"]
[{"$nulls":4},"FFOpen","消防常开交通",0,"空间分区类型","空间-空间","物业分区"]
[{"$nulls":4},"FFClose","消防常关交通",0,"空间分区类型","空间-空间","物业分区"]
[null,null,"ConvectionNetwork","空气流通网络（同类）","Natural","空气自然对流",0,"空间分区类型","空间-空间","空调分区"]
[{"$nulls":4},"OnewayMech","空气单向机械通风",1,"空间分区类型","空间-空间","空调分区"]
[{"$nulls":4},"MixMech","空气混合机械通风",0,"空间分区类型","空间-空间","空调分区"]
[null,null,"RadiationNetwork","光照辐射网络（同类）","Connect","光照连通",0,"空间分区类型","空间-空间","照明分区"]
[{"$nulls":4},"Transparent","光照透明隔断",0,"空间分区类型","空间-空间","照明分区"]
[null,"功能关联关系"]
["建筑空间类-设备设施类","物理连通关系","MechInArch","机电类所在区域关系","Sy2Bd","系统所在建筑",1,null,"系统→建筑"]
[{"$nulls":4},"Sy2Fl","系统所在楼层",1,null,"系统→楼层"]
[{"$nulls":4},"Sy2Sh","系统所在竖井",1,null,"系统→竖井"]
[{"$nulls":4},"Sy2Sp","系统所在空间",1,"空间分区类型","系统→空间"]
[{"$nulls":4},"Eq2Bd","设备设施所在建筑",1,null,"设备设施→建筑"]
[{"$nulls":4},"Eq2Fl","设备设施所在楼层",1,null,"设备设施→楼层"]
[{"$nulls":4},"Eq2Sh","设备设施所在竖井",1,null,"设备设施→竖井"]
[{"$nulls":4},"Eq2Sp","设备设施所在空间",1,"空间分区类型","设备设施→空间"]
[null,"功能关联关系","MechForArch","机电类服务区域关系","Sy2Bd","系统服务于建筑",1,null,"系统→建筑"]
[{"$nulls":4},"Sy2Fl","系统服务于楼层",1,null,"系统→楼层"]
[{"$nulls":4},"Sy2Sh","系统服务于竖井",1,null,"系统→竖井"]
[{"$nulls":4},"Sy2Sp","系统服务于空间",1,"空间分区类型","系统→空间"]
[{"$nulls":4},"Eq2Bd","设备设施服务于建筑",1,null,"设备设施→建筑"]
[{"$nulls":4},"Eq2Fl","设备设施服务于楼层",1,null,"设备设施→楼层"]
[{"$nulls":4},"Eq2Sh","设备设施服务于竖井",1,null,"设备设施→竖井"]
[{"$nulls":4},"Eq2Sp","设备设施服务于空间",1,"空间分区类型","设备设施→空间"]
["建筑空间类-耗材工具类","物理连通关系"]
[null,"功能关联关系"]
["设备设施类-设备设施类","架构从属关系","MechSubset","机电从属关系","Pj2Sy","项目下的系统",1,null,"项目→系统"]
[{"$nulls":4},"Pj2Eq","项目下的设备设施",1,null,"项目→设备设施"]
[{"$nulls":4},"Sy2Eq","系统下的设备设施",1,null,"系统→设备设施"]
[{"$nulls":4},"Eq2Ec","设备设施下的部件",1,null,"设备设施→部件"]
[null,"物理连通关系","LUDistribution","低压配电网络","Normal","低压配电普通连接",1,null,"低压配电相关设备，沿电流方向"]
[{"$nulls":4},"Backup","低压配电互备连接",0,null,"母联柜"]
[null,null,"HUDistribution","高压变配电网络","Normal","高压变配电普通连接",1,null,"高压变配电相关设备，沿电流方向"]
[{"$nulls":4},"Backup","高压变配电互备连接",0,null,"分段主柜，分段辅柜"]
[null,null,"ChillWaterLoop","空调冷冻水管网","Supply","空调冷冻水供水",1,null,"空调冷冻水供水相关设备，沿水流方向"]
[{"$nulls":4},"Return","空调冷冻水回水",1,null,"空调冷冻水回水相关设备，沿水流方向"]
[{"$nulls":4},"Bypass","空调冷冻水旁通",0,null,"供冷集水器-供冷分水器，液体管道"]
[{"$nulls":4},"Fill","空调冷冻水补水",1,null,"空调冷冻水补水相关设备，沿水流方向"]
[null,null,"CoolingWaterLoop","空调冷却水管网","Supply","空调冷却水供水",1,null,"空调冷却水供水相关设备，沿水流方向"]
[{"$nulls":4},"Return","空调冷却水回水",1,null,"空调冷却水回水相关设备，沿水流方向"]
[{"$nulls":4},"Bypass","空调冷却水旁通",0,null,"液体管道"]
[{"$nulls":4},"Fill","空调冷却水补水",1,null,"空调冷却水补水相关设备，沿水流方向"]
[null,null,"HeatWaterLoop","采暖水管网","Supply","采暖水供水",1,null,"采暖水供水相关设备，沿水流方向"]
[{"$nulls":4},"Return","采暖水回水",1,null,"采暖水回水相关设备，沿水流方向"]
[{"$nulls":4},"Bypass","采暖水旁通",0,null,"供暖集水器-供暖分水器，液体管道"]
[{"$nulls":4},"Fill","采暖水补水",1,null,"采暖水补水相关设备，沿水流方向"]
[null,null,"CondWaterNetwork","空调冷凝水管网","Discharge","空调冷凝水排水",1,null,"空调冷凝水排水相关设备，沿水流方向"]
[null,null,"ACAirNetwork","空调风管网","Supply","空调送风",1,null,"空调送风相关设备，沿气流方向"]
[{"$nulls":4},"Return","空调回风",1,null,"空调回风相关设备，沿气流方向"]
[{"$nulls":4},"Discharge","空调排风",1,null,"空调排风相关设备，沿气流方向"]
[null,null,"FreshAirNetwork","新风管网","Fresh","新风送风",1,null,"新风送风相关设备，沿气流方向"]
[null,null,"VentNetwork","通风管网","Supply","通风送风",1,null,"通风送风相关设备，沿气流方向"]
[{"$nulls":4},"Discharge","通风排风",1,null,"通风排风相关设备，沿气流方向"]
[{"$nulls":4},"Uncertain","通风不确定",0,null,"通风相关设备"]
[null,null,"VRFNetwork","多联机管网","SupplyReturn","多联机供回制冷剂",1,null,"多联机室外机→多联机室内机"]
[null,null,"DomesticWaterNetwork","生活给水管网","Supply","生活给水供水",1,null,"生活给水供水相关设备，沿水流方向"]
[{"$nulls":4},"Bypass","生活给水旁通",0,null,"液体管道"]
[null,null,"DrainingWaterNetwork","污水排水管网","Discharge","污水排水",1,null,"污水排水相关设备，沿水流方向"]
[{"$nulls":4},"Bypass","污水旁通",0,null,"液体管道"]
[null,null,"RecycleWaterNetwork","中水管网","Supply","中水供水",1,null,"中水供水相关设备，沿水流方向"]
[{"$nulls":4},"Bypass","中水旁通",0,null,"液体管道"]
[null,null,"DrinkingWaterNetwork","直饮水管网","Supply","直饮水供水",1,null,"直饮水供水相关设备，沿水流方向"]
[{"$nulls":4},"Bypass","直饮水旁通",0,null,"液体管道"]
[null,null,"DHWNetwork","生活热水管网","Supply","生活热水供水",1,null,"生活热水供水相关设备，沿水流方向"]
[{"$nulls":4},"Bypass","生活热水旁通",0,null,"液体管道"]
[null,null,"GasNetwork","燃气管网","Supply","燃气供气",1,null,"燃气供气相关设备，沿气流方向"]
[{"$nulls":4},"Bypass","燃气旁通",0,null,"气体管道"]
[null,null,"FireWaterNetwork","消防给水管网","Supply","消防给水供水",1,null,"消防给水供水相关设备，沿水流方向"]
[{"$nulls":4},"Bypass","消防给水旁通",0,null,"液体管道"]
[null,null,"FireVentNetwork","消防排烟管网","Discharge","消防排烟",1,null,"消防排烟相关设备，沿气流方向"]
[null,null,"WENetwork","弱电通信网络","Normal","弱电通信连接",1,null,"弱电通信相关设备，沿弱电信号方向"]
[null,"功能关联关系","MechCtrl","设备控制关系","SyCtrl","系统控制关系",1,null,"控制设备→被控系统"]
[{"$nulls":4},"EqCtrl","设备控制关系",1,null,"控制设备→被控设备"]
[null,null,"MechPower","设备供电关系","SyNormal","系统常规电源",1,null,"低/高压开关柜→用电系统"]
[{"$nulls":4},"SyBackup","系统备用电源",1,null,"低/高压开关柜→用电系统"]
[{"$nulls":4},"EqNormal","设备常规电源",1,null,"低/高压开关柜→用电设备"]
[{"$nulls":4},"EqBackup","设备备用电源 ",1,null,"低/高压开关柜→用电设备"]
[null,null,"SensorRelationship","传感器关系","Ss2Eq","传感器测量设备关系",1,"被测信息点","传感器→被测设备"]
[{"$nulls":4},"Ss2Sy","传感器测量系统关系",1,"被测信息点","传感器→被测系统"]
[{"$nulls":4},"Ss2Sp","传感器测量空间关系",1,"被测信息点；空间分区类型","传感器→被测空间"]
[null,null,"ValveRelationship","阀门关系","Vv2Eq","阀门限制设备关系",1,null,"阀门→被限设备"]
[{"$nulls":4},"Vv2Sy","阀门限制系统关系",1,null,"阀门→被限系统"]
["设备设施类-耗材工具类","物理连通关系"]
[null,"功能关联关系"]
["耗材工具类-耗材工具类","物理连通关系"]
[null,"功能关联关系"]
["其中一侧或两侧为虚拟对象","功能关联关系","EnergySubMeter","能源分项计量关系","Em2Bd","能耗模型关联建筑",1,null,"能耗模型→建筑"]
[{"$nulls":4},"Sub2Em","分项所属能耗模型",1,null,"分项→能耗模型"]
[{"$nulls":4},"SubTree","分项层级关系",1,null,"上级分项→下级分项"]
[{"$nulls":4},"Br2Sub","支路所属分项",1,null,"支路→分项"]
[{"$nulls":4},"Br2Eq","支路关联设备",1,null,"支路→设备"]
[null,null,"ScheduleRelationship","工作历关联关系","Sch2Pj","工作历与项目关联关系",1,null,"工作历→项目"]
[{"$nulls":4},"Sch2Bd","工作历与建筑关联关系",1,null,"工作历→建筑"]
[{"$nulls":4},"Sch2Fl","工作历与楼层关联关系",1,null,"工作历→楼层"]
[{"$nulls":4},"Sch2Sp","工作历与空间关联关系",1,null,"工作历→空间"]
[{"$nulls":4},"Sch2Tn","工作历与租户关联关系",1,null,"工作历→租户"]
[null,null,"MeteorologyRelationship","气象站关联关系","Ms2Pj","气象站与项目关联关系",1,null,"气象站→项目"]
[null,"管理关联关系","TenentInArch","租户租用区域关系","Tn2Sp","租户租用空间关系",1,"空间分区类型","租户→空间","租户分区"]
["其中一侧或两侧为资产对象（待讨论）","管理关联关系","Property2Mech","资产和岗位关系","Pe2Eq","资产对应设备设施关系",1,null,"资产→设备设施"]
[{"$nulls":4},"Pe2Ec","资产对应部件关系",1,null,"资产→部件"]
[null,null,"PropertyInArch","资产所在区域关系","Pe2Pj","资产所在项目",1,null,"资产→项目"]
[{"$nulls":4},"Pe2Bd","资产属于建筑",1,null,"资产→建筑"]
[{"$nulls":4},"Pe2Fl","资产所在楼层",1,null,"资产→楼层"]
[{"$nulls":4},"Pe2Sh","资产所在竖井",1,null,"资产→竖井"]
[{"$nulls":4},"Pe2Sp","资产所在空间",1,"空间分区类型","资产→空间"]
["逻辑编组","逻辑编组","EquipGroup","逻辑编组","Eq2Eq","逻辑编组",1,null,"逻辑编组→设备"]

{"sheet":"对照版（废止）","index":1,"n_rows":198,"n_cols":27,"rows_kept":198,"cut":false,"hidden":false,"merged":[[102,2,132,2],[16,4,17,4],[16,5,17,5],[102,0,133,0],[1,1,10,1],[11,1,74,1],[75,1,94,1],[95,1,101,1],[102,1,132,1],[76,3,86,3],[87,3,94,3],[95,3,101,3],[1,3,6,3],[7,3,10,3],[11,3,25,3],[26,3,66,3],[0,0,0,1],[1,0,101,0],[1,2,10,2],[11,2,74,2],[75,2,94,2],[95,2,101,2],[67,3,74,3],[55,4,56,4],[57,4,58,4],[59,4,60,4],[61,4,62,4],[63,4,64,4],[102,3,132,3],[1,4,6,4],[7,4,10,4],[11,4,15,4],[18,4,20,4],[21,4,23,4],[24,4,25,4],[26,4,27,4],[28,4,29,4],[30,4,33,4],[34,4,37,4],[38,4,41,4],[43,4,45,4],[47,4,49,4],[51,4,52,4],[53,4,54,4],[126,4,129,4],[76,4,77,4],[78,4,81,4],[85,4,86,4],[87,4,94,4],[95,4,96,4],[67,5,74,5],[97,4,101,4],[102,4,105,4],[106,4,109,4],[110,4,113,4],[67,4,74,4],[76,5,77,5],[78,5,81,5],[82,5,84,5],[85,5,86,5],[55,5,56,5],[57,5,58,5],[59,5,60,5],[61,5,62,5],[63,5,64,5],[38,5,41,5],[43,5,45,5],[47,5,49,5],[51,5,52,5],[53,5,54,5],[24,5,25,5],[26,5,27,5],[28,5,29,5],[30,5,33,5],[34,5,37,5],[1,5,6,5],[7,5,10,5],[11,5,15,5],[18,5,20,5],[21,5,23,5],[126,5,129,5],[130,5,132,5],[82,4,84,4],[95,5,96,5],[97,5,101,5],[102,5,105,5],[106,5,109,5],[110,5,113,5],[114,5,117,5],[118,5,121,5],[122,5,125,5],[87,5,94,5],[130,4,132,4],[114,4,117,4],[118,4,121,4],[122,4,125,4]]}
["分类",null,"分类说明","关系两侧对象类别","图类型编码","图类型名称","边类型编码","边类型名称","边方向性","边属性","主要连接对象","备注",null,"原图类型","图名称","边类型","边名称","边方向","主要连接对象","备注","原图类型2","图名称","边类型","边名称","边方向","主要连接对象","备注"]
["物理世界层","架构从属关系","存在于同类别不同层级的对象之间，树形结构","建筑类-建筑类","ArchSubset","建筑从属关系","Pj2Bd","项目下的建筑体",1,null,"项目→建筑体"]
[{"$nulls":6},"Bd2Fl","建筑体下的楼层",1,null,"建筑体→楼层",null,null,"Subset","从属关系",1,"建筑下的楼层",1,"建筑→楼层"]
[{"$nulls":6},"Bd2Sh","建筑体下的竖井",1,null,"建筑体→竖井",null,null,"ShaftandBuilding","竖井关联的建筑",1,"建筑下的竖井",1,"建筑→竖井"]
[{"$nulls":6},"Bd2Sp","建筑体下的业务空间",1,"业务空间类型","建筑体→业务空间",null,null,"Subset","从属关系",2,"建筑下的空间",1,"建筑→空间"]
[{"$nulls":6},"Fl2Sp","楼层下的业务空间",1,"业务空间类型","楼层→业务空间",null,null,"Subset","从属关系",4,"楼层下的空间",1,"楼层→空间"]
[{"$nulls":6},"Sh2Sp","竖井下的业务空间",1,"业务空间类型","竖井→业务空间","默认业务空间",null,"ShaftandSpace","竖井关联的空间",1,"竖井下的空间",1,"竖井→空间"]
[null,null,null,"机电类-机电类","MechSubset","机电从属关系","Pj2Sy","项目下的系统",1,null,"项目→系统"]
[{"$nulls":6},"Pj2Eq","项目下的设备设施",1,null,"项目→设备设施"]
[{"$nulls":6},"Sy2Eq","系统下的设备设施",1,null,"系统→设备设施",null,null,"SystemEquip","系统包含的设备",1,"系统包含设备",1,"系统→设备"]
[{"$nulls":6},"Eq2Ec","设备设施下的部件",1,null,"设备设施→部件",null,null,"Subset","从属关系",5,"设备下的部件",1,"设备→部件"]
[null,"物理连通关系","与BIM模型对应，对象在物理层面上相互连接或某种介质可以在对象之间流通的关系","建筑类-建筑类","SpaceNeighborhood","业务空间（同类）邻接关系","None","业务空间隔断无门窗",0,"业务空间类型","业务空间-业务空间",null,null,"SpaceNeighborhood","空间邻接关系",1,"空间隔断无门窗",0,"空间-空间","全封闭含楼板"]
[{"$nulls":6},"Door","业务空间隔断有门",0,"业务空间类型","业务空间-业务空间",null,null,"SpaceNeighborhood","空间邻接关系",2,"空间隔断有门",0,"空间-空间","全封闭"]
[{"$nulls":6},"Window","业务空间隔断有窗",0,"业务空间类型","业务空间-业务空间",null,null,"SpaceNeighborhood","空间邻接关系",3,"空间隔断有窗",0,"空间-空间","全封闭"]
[{"$nulls":6},"DoorWindow","业务空间隔断有门窗",0,"业务空间类型","业务空间-业务空间",null,null,"SpaceNeighborhood","空间邻接关系",4,"空间隔断有门窗",0,"空间-空间","全封闭"]
[{"$nulls":6},"Connect","业务空间连通",0,"业务空间类型","业务空间-业务空间",null,null,"SpaceNeighborhood","空间邻接关系",5,"空间连通",0,"空间-空间","不封闭"]
[{"$nulls":4},"ThroughRelationship","贯通关系","Fl2Fl","楼层贯通关系",0,null,"楼层-楼层"]
[{"$nulls":6},"Sh2Sh","竖井贯通关系",0,null,"竖井-竖井"]
[{"$nulls":4},"TrafficNetwork","建筑交通网络（同类）","Normal","普通交通",0,"业务空间类型","业务空间-业务空间","默认业务空间",null,"TrafficNetwork","建筑交通网络",1,"普通交通",0,"空间-空间"]
[{"$nulls":6},"FFOpen","消防常开交通",0,"业务空间类型","业务空间-业务空间","默认业务空间",null,"TrafficNetwork","建筑交通网络",2,"消防常开交通",0,"空间-空间"]
[{"$nulls":6},"FFClose","消防常关交通",0,"业务空间类型","业务空间-业务空间","默认业务空间",null,"TrafficNetwork","建筑交通网络",3,"消防常关交通",0,"空间-空间"]
[{"$nulls":4},"ConvectionNetwork","空气流通网络（同类）","Natural","空气自然对流",0,"业务空间类型","业务空间-业务空间","空调业务空间",null,"ConvectionNetwork","空气流通网络",1,"空气自然对流",0,"空间-空间"]
[{"$nulls":6},"OnewayMech","空气单向机械通风",1,"业务空间类型","业务空间-业务空间","空调业务空间"]
[{"$nulls":6},"MixMech","空气混合机械通风",0,"业务空间类型","业务空间-业务空间","空调业务空间",null,"ConvectionNetwork","空气流通网络",2,"空气机械通风",0,"空间-空间"]
[{"$nulls":4},"RadiationNetwork","光照辐射网络（同类）","Connect","光照连通",0,"业务空间类型","业务空间-业务空间","照明业务空间",null,"RadiationNetwork","光照辐射网络",1,"光照连通",0,"空间-空间","不封闭"]
[{"$nulls":6},"Transparent","光照透明隔断",0,"业务空间类型","业务空间-业务空间","照明业务空间",null,"RadiationNetwork","光照辐射网络",2,"光照透明隔断",0,"空间-空间","全封闭"]
[null,null,null,"机电类-机电类","LUDistribution","低压配电网络","Normal","低压配电普通连接",1,null,"低压配电相关设备，沿电流方向",null,null,"LUDistribution","低压配电系统",1,"低压配电普通连接",1,"低压开关柜→低压开关柜"]
[{"$nulls":6},"Backup","低压配电互备连接",0,null,"母联柜",null,null,"LUDistribution","低压配电系统",2,"低压配电互备连接",0,"低压开关柜-低压开关柜","母联柜"]
[{"$nulls":4},"HUDistribution","高压变配电网络","Normal","高压变配电普通连接",1,null,"高压变配电相关设备，沿电流方向",null,null,"HUDistribution","高压变配电系统",1,"高压变配电普通连接",1,"高压开关柜/变压器→高压开关柜"]
[{"$nulls":6},"Backup","高压变配电互备连接",0,null,"分段主柜，分段辅柜",null,null,"HUDistribution","高压变配电系统",2,"高压变配电互备连接",0,"高压开关柜-高压开关柜","分段主柜分段辅柜"]
[{"$nulls":4},"ChillWaterLoop","空调冷冻水管网","Supply","空调冷冻水供水",1,null,"空调冷冻水供水相关设备，沿水流方向",null,null,"ChillWaterLoop","空调冷冻水环路",1,"空调冷冻水供水",1,"冷机→冷冻泵→空调末端设备"]
[{"$nulls":6},"Return","空调冷冻水回水",1,null,"空调冷冻水回水相关设备，沿水流方向",null,null,"ChillWaterLoop","空调冷冻水环路",2,"空调冷冻水回水",1,"空调末端设备→冷冻泵→冷机"]
[{"$nulls":6},"Bypass","空调冷冻水旁通",0,null,"供冷集水器-供冷分水器，液体管道",null,null,"ChillWaterLoop","空调冷冻水环路",3,"空调冷冻水旁通",0]
[{"$nulls":6},"Fill","空调冷冻水补水",1,null,"空调冷冻水补水相关设备，沿水流方向",null,null,"ChillWaterLoop","空调冷冻水环路",4,"空调冷冻水补水",1]
[{"$nulls":4},"CoolingWaterLoop","空调冷却水管网","Supply","空调冷却水供水",1,null,"空调冷却水供水相关设备，沿水流方向",null,null,"CoolingWaterLoop","空调冷却水环路",1,"空调冷却水供水",1,"冷机→冷却泵→冷却塔"]
[{"$nulls":6},"Return","空调冷却水回水",1,null,"空调冷却水回水相关设备，沿水流方向",null,null,"CoolingWaterLoop","空调冷却水环路",2,"空调冷却水回水",1,"冷却塔→冷却泵→冷机"]
[{"$nulls":6},"Bypass","空调冷却水旁通",0,null,"液体管道",null,null,"CoolingWaterLoop","空调冷却水环路",3,"空调冷却水旁通",0]
[{"$nulls":6},"Fill","空调冷却水补水",1,null,"空调冷却水补水相关设备，沿水流方向",null,null,"CoolingWaterLoop","空调冷却水环路",4,"空调冷却水补水",1]
[{"$nulls":4},"HeatWaterLoop","采暖水管网","Supply","采暖水供水",1,null,"采暖水供水相关设备，沿水流方向",null,null,"HeatWaterLoop","采暖水环路",1,"采暖水供水",1,"锅炉/板换→热水泵→采暖末端设备"]
[{"$nulls":6},"Return","采暖水回水",1,null,"采暖水回水相关设备，沿水流方向",null,null,"HeatWaterLoop","采暖水环路",2,"采暖水回水",1,"采暖末端设备→热水泵→板换/锅炉"]
[{"$nulls":6},"Bypass","采暖水旁通",0,null,"供暖集水器-供暖分水器，液体管道",null,null,"HeatWaterLoop","采暖水环路",3,"采暖水旁通",0]
[{"$nulls":6},"Fill","采暖水补水",1,null,"采暖水补水相关设备，沿水流方向",null,null,"HeatWaterLoop","采暖水环路",4,"采暖水补水",1]
[{"$nulls":4},"CondWaterNetwork","空调冷凝水管网","Discharge","空调冷凝水排水",1,null,"空调冷凝水排水相关设备，沿水流方向",null,null,"CondWaterNetwork","空调冷凝水网络",1,"空调冷凝水排水",1,"空调末端设备→排水干管"]
[{"$nulls":4},"ACAirNetwork","空调风管网","Supply","空调送风",1,null,"空调送风相关设备，沿气流方向",null,null,"ACAirNetwork","空调风管网",1,"空调送风",1,"AHU→VAV→风口"]
[{"$nulls":6},"Return","空调回风",1,null,"空调回风相关设备，沿气流方向",null,null,"ACAirNetwork","空调风管网",2,"空调回风",1,"风口→VAV→AHU"]
[{"$nulls":6},"Discharge","空调排风",1,null,"空调排风相关设备，沿气流方向"]
[{"$nulls":4},"FreshAirNetwork","新风管网","Fresh","新风送风",1,null,"新风送风相关设备，沿气流方向",null,null,"FreshAirNetwork","新风管网",1,"新风送风",1,"PAU→风口"]
[{"$nulls":4},"VentNetwork","通风管网","Supply","通风送风",1,null,"通风送风相关设备，沿气流方向",null,null,"VentNetwork","通风管网",1,"通风送风",1,"风机→风口"]
[{"$nulls":6},"Discharge","通风排风",1,null,"通风排风相关设备，沿气流方向",null,null,"VentNetwork","通风管网",2,"通风排风",1,"风机→风口"]
[{"$nulls":6},"Uncertain","通风不确定",0,null,"通风相关设备",null,null,"VentNetwork","通风管网",3,"通风不确定",0,"风口→风机"]
[{"$nulls":4},"VRFNetwork","多联机管网","SupplyReturn","多联机供回制冷剂",1,null,"多联机室外机→多联机室内机",null,null,"VRFNetwork","多联机系统",1,"多联机供制冷剂",1,"室外机→室内机",null,"VRFNetwork","多联机系统",2,"多联机回制冷剂",1,"室内机→室外机"]
[{"$nulls":4},"DomesticWaterNetwork","生活给水管网","Supply","生活给水供水",1,null,"生活给水供水相关设备，沿水流方向",null,null,"SupplyWaterNetwork","生活给水网络",1,"生活给水供水",1]
[{"$nulls":6},"Bypass","生活给水旁通",0,null,"液体管道",null,null,"SupplyWaterNetwork","生活给水网络",2,"生活给水旁通",0]
[{"$nulls":4},"DrainingWaterNetwork","污水排水管网","Discharge","污水排水",1,null,"污水排水相关设备，沿水流方向",null,null,"DrainingWaterNetwork","污水排水网络",1,"污水排水",1]
[{"$nulls":6},"Bypass","污水旁通",0,null,"液体管道",null,null,"DrainingWaterNetwork","污水排水网络",2,"污水旁通",0]
[{"$nulls":4},"RecycleWaterNetwork","中水管网","Supply","中水供水",1,null,"中水供水相关设备，沿水流方向",null,null,"RecycleWaterNetwork","中水系统",1,"中水供水",1]
[{"$nulls":6},"Bypass","中水旁通",0,null,"液体管道",null,null,"RecycleWaterNetwork","中水系统",2,"中水旁通",0]
[{"$nulls":4},"DrinkingWaterNetwork","直饮水管网","Supply","直饮水供水",1,null,"直饮水供水相关设备，沿水流方向",null,null,"DrinkingWaterNetwork","直饮水网络",1,"直饮水供水",1]
[{"$nulls":6},"Bypass","直饮水旁通",0,null,"液体管道",null,null,"DrinkingWaterNetwork","直饮水网络",2,"直饮水旁通",0]
[{"$nulls":4},"DHWNetwork","生活热水管网","Supply","生活热水供水",1,null,"生活热水供水相关设备，沿水流方向",null,null,"DHWNetwork","生活热水网络",1,"生活热水供水",1]
[{"$nulls":6},"Bypass","生活热水旁通",0,null,"液体管道",null,null,"DHWNetwork","生活热水网络",2,"生活热水旁通",0]
[{"$nulls":4},"GasNetwork","燃气管网","Supply","燃气供气",1,null,"燃气供气相关设备，沿气流方向",null,null,"GasNetwork","燃气系统",1,"燃气供气",1]
[{"$nulls":6},"Bypass","燃气旁通",0,null,"气体管道",null,null,"GasNetwork","燃气系统",2,"燃气旁通",0]
[{"$nulls":4},"FireWaterNetwork","消防给水管网","Supply","消防给水供水",1,null,"消防给水供水相关设备，沿水流方向",null,null,"FireWaterNetwork","消防供水网络",1,"消防给水供水",1]
[{"$nulls":6},"Bypass","消防给水旁通",0,null,"液体管道",null,null,"FireWaterNetwork","消防供水网络",2,"消防给水旁通",0]
[{"$nulls":4},"FireVentNetwork","消防排烟管网","Discharge","消防排烟",1,null,"消防排烟相关设备，沿气流方向",null,null,"FireVentNetwork","消防排烟网络",1,"消防排烟",1]
[{"$nulls":4},"WENetwork","弱电通信网络","Normal","弱电通信连接",1,null,"弱电通信相关设备，沿弱电信号方向",null,null,"SensorNetwork","传感器通信网络",1,"通信连接",1,"上位机→下位机",null,"ControlEquipNetwork","控制设备网络",1,"控制连接",1,"服务器→控制器→执行器传感器"]
[null,null,null,"建筑类-机电类","MechInArch","机电类所在区域关系","Sy2Bd","系统所在建筑体",1,null,"系统→建筑体"]
[{"$nulls":6},"Sy2Fl","系统所在楼层",1,null,"系统→楼层"]
[{"$nulls":6},"Sy2Sh","系统所在竖井",1,null,"系统→竖井"]
[{"$nulls":6},"Sy2Sp","系统所在业务空间",1,"业务空间类型","系统→业务空间"]
[{"$nulls":6},"Eq2Bd","设备设施所在建筑体",1,null,"设备设施→建筑体",null,null,"Subset","从属关系",3,"建筑下的系统设备部件",1,"建筑→系统/设备/部件"]
[{"$nulls":6},"Eq2Fl","设备设施所在楼层",1,null,"设备设施→楼层",null,null,"EquipinFloor","设备所在楼层",1,"设备所在楼层",1,"设备→楼层"]
[{"$nulls":6},"Eq2Sh","设备设施所在竖井",1,null,"设备设施→竖井"]
[{"$nulls":6},"Eq2Sp","设备设施所在业务空间",1,"业务空间类型","设备设施→业务空间",null,null,"EquipinSpace","设备所在业务空间",1,"设备位于默认业务空间",1,"设备→默认业务空间","GeneralZone"]
[null,"抽象关联关系","与某种功能的实现有关而形成的对象之间的关联关系","建筑类-建筑类"]
[null,null,null,"机电类-机电类","MechCtrl","设备控制关系","SyCtrl","系统控制关系",1,null,"控制设备→被控系统"]
[{"$nulls":6},"EqCtrl","设备控制关系",1,null,"控制设备→被控设备",null,null,"ControlRelation","对象受控关系",1,"控制关系",1,"控制面板→设备"]
[{"$nulls":4},"MechPower","设备供电关系","SyNormal","系统常规电源",1,null,"低/高压开关柜→用电系统"]
[{"$nulls":6},"SyBackup","系统备用电源",1,null,"低/高压开关柜→用电系统"]
[{"$nulls":6},"EqNormal","设备常规电源",1,null,"低/高压开关柜→用电设备",null,null,"EquipPower","设备电源",1,"常规设备电源",1,"低/高压开关柜→设备"]
[{"$nulls":6},"EqBackup","设备备用电源 ",1,null,"低/高压开关柜→用电设备",null,null,"EquipPower","设备电源",2,"备用设备电源 ",1,"低/高压开关柜→设备"]
[{"$nulls":4},"SensorRelationship","传感器关系","Ss2Eq","传感器测量设备关系",1,"被测信息点","传感器→被测设备"]
[{"$nulls":6},"Ss2Sy","传感器测量系统关系",1,"被测信息点","传感器→被测系统"]
[{"$nulls":6},"Ss2Sp","传感器测量空间关系",1,"被测信息点；业务空间类型","传感器→被测业务空间"]
[{"$nulls":4},"ValveRelationship","阀门关系","Vv2Eq","阀门限制设备关系",1,null,"阀门→被限设备"]
[{"$nulls":6},"Vv2Sy","阀门限制系统关系",1,null,"阀门→被限系统"]
[null,null,null,"建筑类-机电类","MechForArch","机电类服务区域关系","Sy2Bd","系统服务于建筑体",1,null,"系统→建筑体"]
[{"$nulls":6},"Sy2Fl","系统服务于楼层",1,null,"系统→楼层"]
[{"$nulls":6},"Sy2Sh","系统服务于竖井",1,null,"系统→竖井"]
[{"$nulls":6},"Sy2Sp","系统服务于业务空间",1,"业务空间类型","系统→业务空间"]
[{"$nulls":6},"Eq2Bd","设备设施服务于建筑体",1,null,"设备设施→建筑体"]
[{"$nulls":6},"Eq2Fl","设备设施服务于楼层",1,null,"设备设施→楼层"]
[{"$nulls":6},"Eq2Sh","设备设施服务于竖井",1,null,"设备设施→竖井"]
[{"$nulls":6},"Eq2Sp","设备设施服务于业务空间",1,"业务空间类型","设备设施→业务空间",null,null,"EquipforSpace","设备服务业务空间",1,"设备服务于默认业务空间",1,"设备→默认业务空间","GeneralZone"]
[null,"资产管理关系","从资产管理角度产生的关系","资产类-机电类/建筑类","Property2Mech","资产和岗位关系","Pe2Eq","资产对应设备设施关系",1,null,"资产→设备设施",null,null,"Pe2Eq","资产和岗位关系",1,"资产与岗位",1,"资产→设备/部件"]
[{"$nulls":6},"Pe2Ec","资产对应部件关系",1,null,"资产→部件"]
[{"$nulls":4},"PropertyInArch","资产所在区域关系","Pe2Pj","资产所在项目",1,null,"资产→项目"]
[{"$nulls":6},"Pe2Bd","资产属于建筑体",1,null,"资产→建筑体",null,null,"Subset","从属关系",6,"建筑下的资产",1,"建筑→资产",null,"Pe2Bd","资产和建筑关系",1,"资产属于建筑",1,"资产→建筑"]
[{"$nulls":6},"Pe2Fl","资产所在楼层",1,null,"资产→楼层",null,null,"Subset","从属关系",7,"楼层下的资产",1,"楼层→资产",null,"Pe2Fl","资产和楼层关系",1,"资产属于楼层",1,"资产→楼层"]
[{"$nulls":6},"Pe2Sh","资产所在竖井",1,null,"资产→竖井"]
[{"$nulls":6},"Pe2Sp","资产所在业务空间",1,"业务空间类型","资产→业务空间"]
["虚拟应用层","功能上的关联关系","有物理世界之外的虚拟对象参与的与某种功能实现相关而产生的关联关系",null,"SubE","用电分项能耗模型","Sub2Sub","上下级分项关系",1,null,"上级分项→下级分项",null,null,"SubE","用电分项能耗模型",1,"分项关系",1,"分项→分项","上级分项指向下级分项","EnergyItemTree","能耗分项模型",1,"分项关系",1,"上级分项→下级分项"]
[{"$nulls":6},"Mt2Sub","仪表所属分项关系",1,null,"仪表→分项",null,null,"SubE","用电分项能耗模型",2,"仪表分项",1,"仪表→分项","仪表所属分项"]
[{"$nulls":6},"Br2Sub","支路所属分项关系",1,null,"支路→分项",null,null,"SubE","用电分项能耗模型",3,"支路分项",1,"支路→分项","支路所属分项"]
[{"$nulls":6},"Un2Sub","计算单元所属分项关系",1,null,"计算单元→分项",null,null,"SubE","用电分项能耗模型",4,"单元分项",1,"计算单元→分项","计算单元所属分项"]
[{"$nulls":4},"SubC","用冷分项能耗模型","Sub2Sub","上下级分项关系",1,null,"上级分项→下级分项",null,null,"SubC","用冷分项能耗模型",1,"分项关系",1,"分项→分项","上级分项指向下级分项"]
[{"$nulls":6},"Mt2Sub","仪表所属分项关系",1,null,"仪表→分项",null,null,"SubC","用冷分项能耗模型",2,"仪表分项",1,"仪表→分项","仪表所属分项"]
[{"$nulls":6},"Br2Sub","支路所属分项关系",1,null,"支路→分项",null,null,"SubC","用冷分项能耗模型",3,"支路分项",1,"支路→分项","支路所属分项"]
[{"$nulls":6},"Un2Sub","计算单元所属分项关系",1,null,"计算单元→分项",null,null,"SubC","用冷分项能耗模型",4,"单元分项",1,"计算单元→分项","计算单元所属分项"]
[{"$nulls":4},"SubH","用热分项能耗模型","Sub2Sub","上下级分项关系",1,null,"上级分项→下级分项",null,null,"SubH","用热分项能耗模型",1,"分项关系",1,"分项→分项","上级分项指向下级分项"]
[{"$nulls":6},"Mt2Sub","仪表所属分项关系",1,null,"仪表→分项",null,null,"SubH","用热分项能耗模型",2,"仪表分项",1,"仪表→分项","仪表所属分项"]
[{"$nulls":6},"Br2Sub","支路所属分项关系",1,null,"支路→分项",null,null,"SubH","用热分项能耗模型",3,"支路分项",1,"支路→分项","支路所属分项"]
[{"$nulls":6},"Un2Sub","计算单元所属分项关系",1,null,"计算单元→分项",null,null,"SubH","用热分项能耗模型",4,"单元分项",1,"计算单元→分项","计算单元所属分项"]
[{"$nulls":4},"SubW","用水分项能耗模型","Sub2Sub","上下级分项关系",1,null,"上级分项→下级分项",null,null,"SubW","用水分项能耗模型",1,"分项关系",1,"分项→分项","上级分项指向下级分项"]
[{"$nulls":6},"Mt2Sub","仪表所属分项关系",1,null,"仪表→分项",null,null,"SubW","用水分项能耗模型",2,"仪表分项",1,"仪表→分项","仪表所属分项"]
[{"$nulls":6},"Br2Sub","支路所属分项关系",1,null,"支路→分项",null,null,"SubW","用水分项能耗模型",3,"支路分项",1,"支路→分项","支路所属分项"]
[{"$nulls":6},"Un2Sub","计算单元所属分项关系",1,null,"计算单元→分项",null,null,"SubW","用水分项能耗模型",4,"单元分项",1,"计算单元→分项","计算单元所属分项"]
[{"$nulls":4},"SubG","用燃气分项能耗模型","Sub2Sub","上下级分项关系",1,null,"上级分项→下级分项",null,null,"SubG","用燃气分项能耗模型",1,"分项关系",1,"分项→分项","上级分项指向下级分项"]
[{"$nulls":6},"Mt2Sub","仪表所属分项关系",1,null,"仪表→分项",null,null,"SubG","用燃气分项能耗模型",2,"仪表分项",1,"仪表→分项","仪表所属分项"]
[{"$nulls":6},"Br2Sub","支路所属分项关系",1,null,"支路→分项",null,null,"SubG","用燃气分项能耗模型",3,"支路分项",1,"支路→分项","支路所属分项"]
[{"$nulls":6},"Un2Sub","计算单元所属分项关系",1,null,"计算单元→分项",null,null,"SubG","用燃气分项能耗模型",4,"单元分项",1,"计算单元→分项","计算单元所属分项"]
[{"$nulls":4},"SubF","用燃油分项能耗模型","Sub2Sub","上下级分项关系",1,null,"上级分项→下级分项",null,null,"SubF","用燃油分项能耗模型",1,"分项关系",1,"分项→分项","上级分项指向下级分项"]
[{"$nulls":6},"Mt2Sub","仪表所属分项关系",1,null,"仪表→分项",null,null,"SubF","用燃油分项能耗模型",2,"仪表分项",1,"仪表→分项","仪表所属分项"]
[{"$nulls":6},"Br2Sub","支路所属分项关系",1,null,"支路→分项",null,null,"SubF","用燃油分项能耗模型",3,"支路分项",1,"支路→分项","支路所属分项"]
[{"$nulls":6},"Un2Sub","计算单元所属分项关系",1,null,"计算单元→分项",null,null,"SubF","用燃油分项能耗模型",4,"单元分项",1,"计算单元→分项","计算单元所属分项"]
[{"$nulls":4},"SubV","用蒸汽分项能耗模型","Sub2Sub","上下级分项关系",1,null,"上级分项→下级分项",null,null,"SubV","用蒸汽分项能耗模型",1,"分项关系",1,"分项→分项","上级分项指向下级分项"]
[{"$nulls":6},"Mt2Sub","仪表所属分项关系",1,null,"仪表→分项",null,null,"SubV","用蒸汽分项能耗模型",2,"仪表分项",1,"仪表→分项","仪表所属分项"]
[{"$nulls":6},"Br2Sub","支路所属分项关系",1,null,"支路→分项",null,null,"SubV","用蒸汽分项能耗模型",3,"支路分项",1,"支路→分项","支路所属分项"]
[{"$nulls":6},"Un2Sub","计算单元所属分项关系",1,null,"计算单元→分项",null,null,"SubV","用蒸汽分项能耗模型",4,"单元分项",1,"计算单元→分项","计算单元所属分项"]
[{"$nulls":4},"EnergyMonitorStructure","能源计量基础结构","Mt2Br","仪表所属支路关系",1,null,"仪表→支路",null,null,"EnergyMonitorStructure","能源计量基础结构",2,"仪表支路",1,"仪表→支路","仪表属于支路","EnergyMonitorStructure","能源计量基础结构",1,"支路关系",1,"支路→支路","上级支路指向下级支路"]
[{"$nulls":6},"Mt2Un","仪表所属计算单元关系",1,null,"仪表→计算单元",null,null,"EnergyMonitorStructure","能源计量基础结构",3,"仪表单元",1,"仪表→计算单元","仪表属于计算单元"]
[{"$nulls":6},"Br2Un","支路所属计算单元关系",1,null,"支路→计算单元",null,null,"EnergyMonitorStructure","能源计量基础结构",4,"单元支路",1,"支路→计算单元","支路属于计算单元"]
[null,"管理上的关联关系","有物理世界之外的虚拟对象参与的与组织管理方式相关而产生的关联关系",null,"TenentInArch","租户租用区域关系","Tn2Sp","租户租用业务空间关系",1,"业务空间类型","租户→业务空间","租户业务空间"]
[{"$nulls":13},"业务空间展开"]
[{"$nulls":13},"EquipinSpace","设备所在业务空间",100,"设备位于供电分区空间",1,"设备→供电分区空间","PowerSupplyZone"]
[{"$nulls":13},"EquipinSpace","设备所在业务空间",200,"设备位于照明分区空间",1,"设备→照明分区空间","LightingZone"]
[{"$nulls":13},"EquipinSpace","设备所在业务空间",300,"设备位于网络分区空间",1,"设备→网络分区空间","NetworkZone"]
[{"$nulls":13},"EquipinSpace","设备所在业务空间",400,"设备位于空调分区空间",1,"设备→空调分区空间","AirConditioningZone"]
[{"$nulls":13},"EquipinSpace","设备所在业务空间",500,"设备位于采暖分区空间",1,"设备→采暖分区空间","HeatingZone"]
[{"$nulls":13},"EquipinSpace","设备所在业务空间",600,"设备位于洁净分区空间",1,"设备→洁净分区空间","CleanZone"]
[{"$nulls":13},"EquipinSpace","设备所在业务空间",700,"设备位于生活给水分区空间",1,"设备→生活给水分区空间","DomesticWaterSupplyZone"]
[{"$nulls":13},"EquipinSpace","设备所在业务空间",800,"设备位于防火分区空间",1,"设备→防火分区空间","FireZone"]
[{"$nulls":13},"EquipinSpace","设备所在业务空间",900,"设备位于安防分区空间",1,"设备→安防分区空间","SecurityZone"]
[{"$nulls":13},"EquipinSpace","设备所在业务空间",1000,"设备位于租户分区空间",1,"设备→租户分区空间","TenantZone"]
[{"$nulls":13},"EquipinSpace","设备所在业务空间",1100,"设备位于功能分区空间",1,"设备→功能分区空间","FunctionZone"]
[]
[{"$nulls":13},"EquipforSpace","设备服务业务空间",100,"设备服务于供电分区空间",1,"设备→供电分区空间","PowerSupplyZone"]
[{"$nulls":13},"EquipforSpace","设备服务业务空间",200,"设备服务于照明分区空间",1,"设备→照明分区空间","LightingZone"]
[{"$nulls":13},"EquipforSpace","设备服务业务空间",300,"设备服务于网络分区空间",1,"设备→网络分区空间","NetworkZone"]
[{"$nulls":13},"EquipforSpace","设备服务业务空间",400,"设备服务于空调分区空间",1,"设备→空调分区空间","AirConditioningZone"]
[{"$nulls":13},"EquipforSpace","设备服务业务空间",500,"设备服务于采暖分区空间",1,"设备→采暖分区空间","HeatingZone"]
[{"$nulls":13},"EquipforSpace","设备服务业务空间",600,"设备服务于洁净分区空间",1,"设备→洁净分区空间","CleanZone"]
[{"$nulls":13},"EquipforSpace","设备服务业务空间",700,"设备服务于生活给水分区空间",1,"设备→生活给水分区空间","DomesticWaterSupplyZone"]
[{"$nulls":13},"EquipforSpace","设备服务业务空间",800,"设备服务于防火分区空间",1,"设备→防火分区空间","FireZone"]
[{"$nulls":13},"EquipforSpace","设备服务业务空间",900,"设备服务于安防分区空间",1,"设备→安防分区空间","SecurityZone"]
[{"$nulls":13},"EquipforSpace","设备服务业务空间",1000,"设备服务于租户分区空间",1,"设备→租户分区空间","TenantZone"]
[{"$nulls":13},"EquipforSpace","设备服务业务空间",1100,"设备服务于功能分区空间",1,"设备→功能分区空间","FunctionZone"]
[]
[{"$nulls":13},"EquipXSpace","设备与业务空间其他关系",100,"设备与供电分区空间",1,"设备→供电分区空间","PowerSupplyZone"]
[{"$nulls":13},"EquipXSpace","设备与业务空间其他关系",200,"设备与照明分区空间",1,"设备→照明分区空间","LightingZone"]
[{"$nulls":13},"EquipXSpace","设备与业务空间其他关系",300,"设备与网络分区空间",1,"设备→网络分区空间","NetworkZone"]
[{"$nulls":13},"EquipXSpace","设备与业务空间其他关系",400,"设备与空调分区空间",1,"设备→空调分区空间","AirConditioningZone"]
[{"$nulls":13},"EquipXSpace","设备与业务空间其他关系",500,"设备与采暖分区空间",1,"设备→采暖分区空间","HeatingZone"]
[{"$nulls":13},"EquipXSpace","设备与业务空间其他关系",600,"设备与洁净分区空间",1,"设备→洁净分区空间","CleanZone"]
[{"$nulls":13},"EquipXSpace","设备与业务空间其他关系",700,"设备与生活给水分区空间",1,"设备→生活给水分区空间","DomesticWaterSupplyZone"]
[{"$nulls":13},"EquipXSpace","设备与业务空间其他关系",800,"设备与防火分区空间",1,"设备→防火分区空间","FireZone"]
[{"$nulls":13},"EquipXSpace","设备与业务空间其他关系",900,"设备与安防分区空间",1,"设备→安防分区空间","SecurityZone"]
[{"$nulls":13},"EquipXSpace","设备与业务空间其他关系",1000,"设备与租户分区空间",1,"设备→租户分区空间","TenantZone"]
[{"$nulls":13},"EquipXSpace","设备与业务空间其他关系",1100,"设备与功能分区空间",1,"设备→功能分区空间","FunctionZone"]
[]
[{"$nulls":13},"ElementSptoSpace","元空间与业务空间的关系",1,"元空间属于供电分区",1,"元空间→供电分区空间"]
[{"$nulls":13},"ElementSptoSpace","元空间与业务空间的关系",2,"元空间属于照明分区",1,"元空间→照明分区空间"]
[{"$nulls":13},"ElementSptoSpace","元空间与业务空间的关系",3,"元空间属于网络分区",1,"元空间→网络分区空间"]
[{"$nulls":13},"ElementSptoSpace","元空间与业务空间的关系",4,"元空间属于空调分区",1,"元空间→空调分区空间"]
[{"$nulls":13},"ElementSptoSpace","元空间与业务空间的关系",5,"元空间属于采暖分区",1,"元空间→采暖分区空间"]
[{"$nulls":13},"ElementSptoSpace","元空间与业务空间的关系",6,"元空间属于洁净分区",1,"元空间→洁净分区空间"]
[{"$nulls":13},"ElementSptoSpace","元空间与业务空间的关系",7,"元空间属于生活给水分区",1,"元空间→生活给水分区空间"]
[{"$nulls":13},"ElementSptoSpace","元空间与业务空间的关系",8,"元空间属于防火分区",1,"元空间→防火分区空间"]
[{"$nulls":13},"ElementSptoSpace","元空间与业务空间的关系",9,"元空间属于安防分区",1,"元空间→安防分区空间"]
[{"$nulls":13},"ElementSptoSpace","元空间与业务空间的关系",10,"元空间属于租户分区",1,"元空间→租户分区空间"]
[{"$nulls":13},"ElementSptoSpace","元空间与业务空间的关系",11,"元空间属于功能分区",1,"元空间→功能分区空间"]
[]
[{"$nulls":13},"会删除的原关系"]
[{"$nulls":13},"Subset","从属关系",8,"建筑下的元空间",1,"建筑→元空间"]
[{"$nulls":13},"Subset","从属关系",9,"楼层下的元空间",1,"楼层→元空间"]
[{"$nulls":13},"ShaftandElementSp","竖井关联的元空间",1,"竖井下的元空间",1,"竖井→元空间",null,"ShaftwithElementSp","竖井与元空间的关系",1,"竖井下的元空间",1,"竖井→元空间"]
[{"$nulls":13},"ElementSptoSpace","元空间与业务空间的关系",99,"元空间属于默认分区",1,"元空间→默认分区空间"]
[{"$nulls":13},"ElementSpNeighborhood","元空间邻接关系",1,"元空间隔断无门窗",0,"元空间-元空间","全封闭含楼板"]
[{"$nulls":13},"ElementSpNeighborhood","元空间邻接关系",2,"元空间隔断有门",0,"元空间-元空间","全封闭"]
[{"$nulls":13},"ElementSpNeighborhood","元空间邻接关系",3,"元空间隔断有窗",0,"元空间-元空间","全封闭"]
[{"$nulls":13},"ElementSpNeighborhood","元空间邻接关系",4,"元空间隔断有门窗",0,"元空间-元空间","全封闭"]
[{"$nulls":13},"ElementSpNeighborhood","元空间邻接关系",5,"元空间连通",0,"元空间-元空间","不封闭"]
[{"$nulls":13},"EquipinElementSp","设备所在元空间",1,"设备所在元空间",1,"设备→元空间"]
[{"$nulls":13},"EquipforElementSp","设备服务元空间",1,"设备服务元空间",1,"设备→元空间"]
[{"$nulls":13},"PeinElementSp","资产所在元空间",1,"资产所在元空间",1,"资产→元空间"]
[{"$nulls":13},"BeaconinElementSp","元空间与信标关系",1,"信标位于元空间",1,"信标→元空间"]
[{"$nulls":13},"EquipXSpace","设备与业务空间其他关系",1,"设备与默认业务空间",1,"设备→默认业务空间","GeneralZone"]