{"text_format":"2","workbook":"xlsx","n_sheets":5,"sheets":["项目","建筑体","楼层","竖井","元空间"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"项目","index":0,"n_rows":161,"n_cols":10,"rows_kept":161,"cut":false,"hidden":false,"merged":[[142,0,157,0],[142,1,149,1],[150,1,157,1],[0,0,0,9],[4,0,6,1],[1,0,1,1],[2,0,2,1],[3,0,3,1],[24,0,30,1],[87,0,120,1],[31,0,86,0],[60,1,68,1],[69,1,77,1],[78,1,86,1],[121,0,141,0],[7,0,16,1],[121,1,127,1],[128,1,134,1],[17,0,23,1],[135,1,141,1],[31,1,35,1],[36,1,40,1],[41,1,45,1],[46,1,50,1],[51,1,59,1]]}
["项目"]
["分级标签",null,"信息点","信息点编码","单位","类型","优先级","输入方式","字典选择"," 备注"]
[null,null,"项目ID","ProjID",null,"Str","S","X"]
[null,null,"项目名称","ProjName",null,"Str","S","X"]
["基本信息",null,"项目本地编码","ProjLocalID",null,"Str","M","B1"]
[null,null,"项目本地名称","ProjLocalName",null,"Str","M","B1"]
[null,null,"BIM模型中编码","BIMID",null,"Str","R","N2"]
["地理位置",null,"省份","Province",null,"Enum","S","D1","见《1省市区代码》"]
[null,null,"城市","City",null,"Enum","S","D1","见《1省市区代码》"]
[null,null,"市内区域","UrbanZone",null,"Enum","M","D1","见《1省市区代码》"]
[null,null,"气候区","ClimateZone",null,"Enum","M","D1","见《2气候区代码》","参考《1省市区代码》对应值"]
[null,null,"城市发展水平","UrbanDevpLev",null,"Enum","R","D1","见《3发展水平代码》","参考《1省市区代码》对应值"]
[null,null,"经度","Longitude","°","Num","R","A2",null,"参考《1省市区代码》对应值"]
[null,null,"纬度","Latitude","°","Num","R","A2",null,"参考《1省市区代码》对应值"]
[null,null,"海拔","Altitude","m","Num","R","A2"]
[null,null,"抗震设防烈度","SFI",null,"Enum","R","D1","见《10抗震设防烈度》","参考《1省市区代码》对应值"]
[null,null,"污秽等级","PollutionLevel",null,"Enum","R","D1","见《11污秽等级》","变电所的污源性质和严重程度"]
["项目信息",null,"项目面积树","ProjAreaTree",null,"Tree","R","H",null,"参考《a推荐分项模型》A0"]
[null,null,"项目总面积","ProjArea","m2","Num","S","A2"]
[null,null,"项目占地面积","ProjCoverArea","m2","Num","R","A2"]
[null,null,"项目地上面积","ProjFloorArea","m2","Num","M","A2"]
[null,null,"项目地下面积","ProjUnderArea","m2","Num","M","A2"]
[null,null,"项目功能类型","ProjFuncType",null,"Enum","S","D1","见《7建筑功能类型》"]
[null,null,"项目照片","ProjPic",null,"Attachment","R","F2"]
["商业信息",null,"所属集团","Group",null,"Str","M","B1"]
[null,null,"业主","Owner",null,"Str","R","B1"]
[null,null,"设计方","Designer",null,"Str","R","B1"]
[null,null,"施工方","Constructor",null,"Str","R","B1"]
[null,null,"物业公司","Property",null,"Str","R","B1"]
[null,null,"集团管理分区","GroupManageZone",null,"Str","R","B1"]
[null,null,"集团经营分区","GroupOperateZone",null,"Str","R","B1"]
["能源价格","电","平均电价","ElecAvePrice","元/kWh","Num","M","A2"]
[null,null,"电价时段","ElecTime",null,"Str","R","C12"]
[null,null,"分时电单价","ElecTimePrice",null,"Str","R","A4"]
[null,null,"电阶梯位","ElecTier",null,"Str","R","A8"]
[null,null,"电阶梯单价","ElecTierPrice",null,"Str","R","A4"]
[null,"燃气","平均燃气价","GasAvePrice","元/m3","Num","M","A2"]
[null,null,"燃气价时段","GasTime",null,"Str","R","C12"]
[null,null,"分时燃气单价","GasTimePrice",null,"Str","R","A4"]
[null,null,"燃气阶梯位","GasTier",null,"Str","R","A8"]
[null,null,"燃气阶梯单价","GasTierPrice",null,"Str","R","A4"]
[null,"燃油","平均燃油价","FuelAvePrice","元/L","Num","M","A2"]
[null,null,"燃油价时段","FuelTime",null,"Str","R","C12"]
[null,null,"分时燃油单价","FuelTimePrice",null,"Str","R","A4"]
[null,null,"燃油阶梯位","FuelTier",null,"Str","R","A8"]
[null,null,"燃油阶梯单价","FuelTierPrice",null,"Str","R","A4"]
[null,"自来水","平均水价","WaterAvePrice","元/m3","Num","M","A2"]
[null,null,"水价时段","WaterTime",null,"Str","R","C12"]
[null,null,"分时水单价","WaterTimePrice",null,"Str","R","A4"]
[null,null,"水阶梯位","WaterTier",null,"Str","R","A8"]
[null,null,"水阶梯单价","WaterTierPrice",null,"Str","R","A4"]
[null,"供热","供热面积单价","HeatAreaPrice","元/m2","Num","M","A2"]
[null,null,"供热热量单价","HeatHeatPrice","元/kWh","Num","R","A2"]
[null,null,"供热价时段","HeatTime",null,"Str","R","C12"]
[null,null,"分时供热面积单价","HeatTimeAreaPrice",null,"Str","R","A4"]
[null,null,"分时供热热量单价","HeatTimeHeatPrice",null,"Str","R","A4"]
[null,null,"供热面积阶梯位","HeatTierArea",null,"Str","R","A8"]
[null,null,"供热面积阶梯单价","HeatTierAreaPrice",null,"Str","R","A4"]
[null,null,"供热热量阶梯位","HeatTierHeat",null,"Str","R","A8"]
[null,null,"供热热量阶梯单价","HeatTierPriceHeat",null,"Str","R","A4"]
[null,"供冷","供冷面积单价","CoolAreaPrice","元/m2","Num","M","A2"]
[null,null,"供冷冷量单价","CoolCoolPrice","元/kWh","Num","R","A2"]
[null,null,"供冷价时段","CoolTime",null,"Str","R","C12"]
[null,null,"分时供冷面积单价","CoolTimeAreaPrice",null,"Str","R","A4"]
[null,null,"分时供冷冷量单价","CoolTimeCoolPrice",null,"Str","R","A4"]
[null,null,"供冷面积阶梯位","CoolTierArea",null,"Str","R","A8"]
[null,null,"供冷面积阶梯单价","CoolTierAreaPrice",null,"Str","R","A4"]
[null,null,"供冷冷量阶梯位","CoolTierCool",null,"Str","R","A8"]
[null,null,"供冷冷量阶梯单价","CoolTierCoolPrice",null,"Str","R","A4"]
[null,"生活热水","热水流量单价","DHWFlowPrice","元/m3","Num","M","A2"]
[null,null,"热水热量单价","DHWHeatPrice","元/kWh","Num","R","A2"]
[null,null,"热水价时段","DHWTime",null,"Str","R","C12"]
[null,null,"分时热水流量单价","DHWTimeFlowPrice",null,"Str","R","A4"]
[null,null,"分时热水热量单价","DHWTimeHeatPrice",null,"Str","R","A4"]
[null,null,"热水流量阶梯位","DHWTierFlow",null,"Str","R","A8"]
[null,null,"热水流量阶梯单价","DHWTierFlowPrice",null,"Str","R","A4"]
[null,null,"热水热量阶梯位","DHWTierHeat",null,"Str","R","A8"]
[null,null,"热水热量阶梯单价","DHWTierHeatPrice",null,"Str","R","A4"]
[null,"蒸汽","蒸汽流量单价","VaporFlowPrice","元/t","Num","M","A2"]
[null,null,"蒸汽热量单价","VaporHeatPrice","元/kWh","Num","R","A2"]
[null,null,"蒸汽价时段","VaporTime",null,"Str","R","C12"]
[null,null,"分时蒸汽流量单价","VaporTimeFlowPrice",null,"Str","R","A4"]
[null,null,"分时蒸汽热量单价","VaporTimeHeatPrice",null,"Str","R","A4"]
[null,null,"蒸汽流量阶梯位","VaporTierFlow",null,"Str","R","A8"]
[null,null,"蒸汽流量阶梯单价","VaporTierFlowPrice",null,"Str","R","A4"]
[null,null,"蒸汽热量阶梯位","VaporTierHeat",null,"Str","R","A8"]
[null,null,"蒸汽热量阶梯单价","VaporTierHeatPrice",null,"Str","R","A4"]
["室外环境",null,"天气状态","OutWeather",null,"Enumv","M","N1","见《4天气状态》"]
[null,null,"空气（干球）温度","OutTdb","℃","Inst","M","N1"]
[null,null,"空气相对湿度","OutRH","%RH","Inst","M","N1"]
[null,null,"空气含湿量","OutD","g/kg.dra","Inst","R","N1",null,"含湿量"]
[null,null,"空气湿球温度","OutTwb","℃","Inst","R","N1"]
[null,null,"空气露点温度","OutTd","℃","Inst","R","N1"]
[null,null,"空气比焓","OutH","kJ/kg.dra","Inst","R","N1"]
[null,null,"空气密度","OutRou","kg/m3","Inst","R","N1"]
[null,null,"环境黑球温度","OutTg","℃","Inst","R","N1",null,"体感温度"]
[null,null,"空气压力","OutPress","MPa","Inst","R","N1",null,"全压"]
[null,null,"空气CO2浓度","OutCO2","ppm","Inst","R","N1"]
[null,null,"空气CO浓度","OutCO","ppm","Inst","R","N1"]
[null,null,"空气PM2.5浓度","OutPM2.5","mg/m3","Inst","M","N1"]
[null,null,"空气PM10浓度","OutPM10","mg/m3","Inst","M","N1"]
[null,null,"空气烟尘浓度","OutDust","mg/m3","Inst","R","N1"]
[null,null,"空气VOC浓度","OutVOC","ppm","Inst","R","N1"]
[null,null,"空气甲烷浓度","OutCH4","ppm","Inst","R","N1",null,"1%LEL=0.0005ppm(CH4)"]
[null,null,"空气能见度","Outvision","m","Inst","R","N1"]
[null,null,"空气质量指数","OutAQI",null,"Inst","M","N1"]
[null,null,"环境照度","OutLux","lux","Inst","R","N1"]
[null,null,"全辐射强度","OutRI","W/m2","Inst","R","N1"]
[null,null,"水平面辐射强度","OutHorizontalRI","W/m2","Inst","R","N1"]
[null,null,"垂直面辐射强度","OutVerticalRI","W/m2","Inst","R","N1"]
[null,null,"环境噪声","OutNoise","dB(A)","Inst","R","N1",null,"150dB(A)是人听觉上限"]
[null,null,"空气平均风速","OutWindAveV","m/s","Inst","R","N1"]
[null,null,"空气风力等级","OutWindScale",null,"Inst","M","N1","见《5空气风力等级》"]
[null,null,"空气X向风速","OutWindVx","m/s","Inst","R","N1"]
[null,null,"空气Y向风速","OutWindVy","m/s","Inst","R","N1"]
[null,null,"空气Z向风速","OutWindVz","m/s","Inst","R","N1"]
[null,null,"空气风向","OutWindDirect",null,"Enumv","M","N1","见《6方向代码》","以正北方向为0°，依次顺时针转22.5°，C为静风"]
[null,null,"日降水量","DayPrecipitation","mm","Inst","M","N1"]
[null,null,"降水类型","PrecipitationType",null,"Enumv","M","N1","1. 无 2. 雨 3. 雪 4. 雾露霜 5. 雨夹雪 6. 其他"]
[null,null,"日出时间","SRT",null,"Time","M","N1"]
[null,null,"日落时间","SST",null,"Time","M","N1"]
["天气预报","未来第1天","未来第一天天气状态","1stWeather",null,"Enumv","M","N1","见《4天气状态》"]
[null,null,"未来第一天空气（干球）温度","1stTdb","℃","Inst","M","N1"]
[null,null,"未来第一天空气相对湿度","1stRH","%RH","Inst","R","N1"]
[null,null,"未来第一天空气PM2.5质量浓度","1stPM2.5","mg/m3","Inst","R","N1"]
[null,null,"未来第一天空气PM10浓度","1stPM10","mg/m3","Inst","R","N1"]
[null,null,"未来第一天日出时间","1stSRT",null,"Inst","R","N1"]
[null,null,"未来第一天日落时间","1stSST",null,"Inst","R","N1"]
[null,"未来第2天","未来第二天天气状态","2ndWeather",null,"Enumv","M","N1","见《4天气状态》"]
[null,null,"未来第二天空气（干球）温度","2ndTdb","℃","Inst","M","N1"]
[null,null,"未来第二天空气相对湿度","2ndRH","%RH","Inst","R","N1"]
[null,null,"未来第二天空气PM2.5质量浓度","2ndPM2.5","mg/m3","Inst","R","N1"]
[null,null,"未来第二天空气PM10浓度","2ndPM10","mg/m3","Inst","R","N1"]
[null,null,"未来第二天日出时间","2ndSRT",null,"Inst","R","N1"]
[null,null,"未来第二天日落时间","2ndSST",null,"Inst","R","N1"]
[null,"未来第3天","未来第三天天气状态","3rdWeather",null,"Enumv","M","N1","见《4天气状态》"]
[null,null,"未来第三天空气（干球）温度","3rdTdb","℃","Inst","M","N1"]
[null,null,"未来第三天空气相对湿度","3rdRH","%RH","Inst","R","N1"]
[null,null,"未来第三天空气PM2.5质量浓度","3rdPM2.5","mg/m3","Inst","R","N1"]
[null,null,"未来第三天空气PM10浓度","3rdPM10","mg/m3","Inst","R","N1"]
[null,null,"未来第三天日出时间","3rdSRT",null,"Inst","R","N1"]
[null,null,"未来第三天日落时间","3rdSST",null,"Inst","R","N1"]
["能耗信息","逐时","逐时用电功率","ElecConsumP","kW","Inst","M","L"]
[null,null,"逐时用燃气量","GasConsumP","m3/h","Inst","M","L"]
[null,null,"逐时用燃油量","FuelConsumP","L/h","Inst","R","L"]
[null,null,"逐时用水量","WaterConsumP","m3/h","Inst","M","L"]
[null,null,"逐时用热量","HeatConsumP","kW","Inst","R","L"]
[null,null,"逐时用冷量","CoolConsumP","kW","Inst","R","L"]
[null,null,"逐时用热水量","DHWConsumP","m3/h","Inst","R","L"]
[null,null,"逐时用蒸汽量","VaporConsumP","m3/h","Inst","R","L"]
[null,"累计","累计用电量","ElecAccConsum","kWh","Acc","M","L"]
[null,null,"累计用燃气量","GasAccConsum","m3","Acc","M","L"]
[null,null,"累计用燃油量","FuelAccConsum","L","Acc","R","L"]
[null,null,"累计用水量","WaterAccConsum","m3","Acc","M","L"]
[null,null,"累计用热量","HeatAccConsum","kWh","Acc","R","L"]
[null,null,"累计用冷量","CoolAccConsum","kWh","Acc","R","L"]
[null,null,"累计用热水量","DHWAccConsum","m3","Acc","R","L"]
[null,null,"累计用蒸汽量","VaporAccConsum","m3","Acc","R","L"]
["设定参数",{"$nulls":8},"产品层链接"]
["事件记录",{"$nulls":8},"产品层链接"]
["工单存档",{"$nulls":8},"产品层链接"]

{"sheet":"建筑体","index":1,"n_rows":64,"n_cols":10,"rows_kept":64,"cut":false,"hidden":false,"merged":[[0,0,0,9],[1,0,1,1],[2,0,2,1],[3,0,3,1],[36,0,40,0],[36,1,38,1],[39,1,40,1],[4,0,6,1],[7,1,13,1],[14,1,16,1],[24,1,32,1],[7,0,32,0],[33,0,35,1],[17,1,23,1],[45,0,60,0],[45,1,52,1],[53,1,60,1],[41,0,44,1]]}
["建筑体"]
["分级标签",null,"信息点","信息点编码","单位","类型","优先级","输入方式","字典选择"," 备注"]
[null,null,"建筑体ID","BuildID",null,"Str","S","X"]
[null,null,"建筑体名称","BuildName",null,"Str","S","X"]
["基本信息",null,"建筑本地编码","BuildLocalID",null,"Str","M","B1"]
[null,null,"建筑本地名称","BuildLocalName",null,"Str","M","B1"]
[null,null,"BIM模型中编码","BIMID",null,"Str","R","N2"]
["建筑信息","建筑类型","建筑年代","BuildAge",null,"Time","M","C5"]
[null,null,"建筑功能类型","BuildFuncType",null,"Enum","S","D1","见《7建筑功能类型》"]
[null,null,"空调类型","ACType",null,"Enum","M","D1","1. 中央空调系统 2. 分散空调系统 3. 混合系统 4. 其他","混合系统：中央空调负责面积或分散空调负责面积至少占空调总面积30%的情况"]
[null,null,"采暖类型","HeatType",null,"Enum","M","D1","1. 城市热网系统 2. 锅炉系统 3. 热泵系统 4. 其他"]
[null,null,"绿建等级","GreenBuildLev",null,"Enum","M","D1","1. 无 2. 一星级 3. 二星级 3. 三星级 4. 其他"]
[null,null,"文字简介","Intro",null,"Str","R","B2"]
[null,null,"建筑图片","Pic",null,"Attachment","R","F2"]
[null,"设计指标","单位面积设计冷量","DesignCoolLoadIndex","W/m2","Num","R","A2"]
[null,null,"单位面积设计热量","DesignHeatLoadIndex","W/m2","Num","R","A2"]
[null,null,"单位面积配电设计容量","DesignElecLoadIndex","W/m2","Num","R","A2"]
[null,"结构参数","建筑结构类型","StructType",null,"Enum","M","D1","1. 钢筋混凝土结构 2. 砌体结构 3. 钢结构 4. 木结构 5. 其他"]
[null,null,"抗震设防烈度","SFI",null,"Enum","M","D1","1. 6度 2. 7度 3. 8度 4. 9度 5. 其他","参考《10抗震设防烈度》对应值"]
[null,null,"设计基本地震加速度值","DesignSeismA","重力加速度g","Num","M","A2",null,"参考《10抗震设防烈度》对应值"]
[null,null,"建筑体形系数","ShapeCoeff","1/m","Num","M","A2"]
[null,null,"建筑朝向","BuildDirect",null,"Enum","M","D1","见《6方向代码》"]
[null,null,"保温类型","InsulateType",null,"Enum","M","D1","1. 无保温 2. 内保温 3. 外保温 4. 夹层保温 5. 其他"]
[null,null,"耐火等级","FireResistanceLev",null,"Enum","M","D1","1. 一级 2. 二级 3. 三级 4. 四级 99. 其他","一级耐火等级建筑：主要建筑构件全部为不燃烧性；二级耐火等级建筑：主要建筑构件除吊顶为难燃烧性，其他为不燃烧性；三级耐火等级建筑：屋顶承重构件为难燃性；四级耐火等级建筑：防火墙为不燃烧性，其他为难燃性和可燃性"]
[null,"面积信息","面积树","AreaTree",null,"Tree","R","H",null,"参考《a推荐分项模型》A0"]
[null,null,"建筑总面积","GFA","m2","Num","S","A2"]
[null,null,"地上面积","FloorArea","m2","Num","M","A2"]
[null,null,"地下面积","UnderArea","m2","Num","M","A2"]
[null,null,"建筑总层数","TotLayer","层","Num","S","A2"]
[null,null,"地上层数","FloorLayer","层","Num","M","A2"]
[null,null,"地下层数","UnderLayer","层","Num","M","A2"]
[null,null,"建筑总高度","TotHeight","m","Num","S","A2"]
[null,null,"建筑占地面积","CoverArea","m2","Num","M","A2"]
["建筑文档",null,"图纸","Drawing",null,"Attachment","R","F2"]
[null,null,"档案","Archive",null,"Attachment","R","F2"]
[null,null,"建筑能耗模型","EConsumModel",null,"Attachment","R","F2"]
["工作历","工作作息","工作日基本作息","WorkdaySchedule",null,"Bool组","R","E2","0. 休息 1. 工作","逐时，或逐半小时"]
[null,null,"休息日基本作息","HolidaySchedule",null,"Bool组","R","E2","0. 休息 1. 工作","逐时，或逐半小时"]
[null,null,"工休日","Holiday",null,"Bool组","M","E2","0. 休息 1. 工作","逐日"]
[null,"季节","供暖季时段","HeatPeriod",null,"Str","M","C6"]
[null,null,"供冷季时段","CoolPeriod",null,"Str","M","C6"]
["人员信息",null,"建筑常驻人数","PermanentPeopleNum","人","Num","M","A2"]
[null,null,"逐时流出人数","OutPeopleFlow","人次/min","Inst","R","L"]
[null,null,"逐时流入人数","InPeopleFlow","人次/min","Inst","R","L"]
[null,null,"逐时建筑内现有人数","ExsitPeopleNum","人","Inst","R","M"]
["能耗信息","逐时","逐时用电功率","ElecConsumP","kW","Inst","M","L"]
[null,null,"逐时用燃气量","GasConsumP","m3/h","Inst","M","L"]
[null,null,"逐时用燃油量","FuelConsumP","L/h","Inst","R","L"]
[null,null,"逐时用水量","WaterConsumP","m3/h","Inst","M","L"]
[null,null,"逐时用热量","HeatConsumP","kW","Inst","R","L"]
[null,null,"逐时用冷量","CoolConsumP","kW","Inst","R","L"]
[null,null,"逐时用热水量","DHWConsumP","m3/h","Inst","R","L"]
[null,null,"逐时用蒸汽量","VaporConsumP","m3/h","Inst","R","L"]
[null,"累计","累计用电量","ElecAccConsum","kWh","Acc","M","L"]
[null,null,"累计用燃气量","GasAccConsum","m3","Acc","M","L"]
[null,null,"累计用燃油量","FuelAccConsum","L","Acc","R","L"]
[null,null,"累计用水量","WaterAccConsum","m3","Acc","M","L"]
[null,null,"累计用热量","HeatAccConsum","kWh","Acc","R","L"]
[null,null,"累计用冷量","CoolAccConsum","kWh","Acc","R","L"]
[null,null,"累计用热水量","DHWAccConsum","m3","Acc","R","L"]
[null,null,"累计用蒸汽量","VaporAccConsum","m3","Acc","R","L"]
["设定参数",{"$nulls":8},"产品层链接"]
["事件记录",{"$nulls":8},"产品层链接"]
["工单存档",{"$nulls":8},"产品层链接"]

{"sheet":"楼层","index":2,"n_rows":20,"n_cols":10,"rows_kept":20,"cut":false,"hidden":false,"merged":[[0,0,0,9],[1,0,1,1],[2,0,2,1],[3,0,3,1],[13,0,16,1],[4,0,7,1],[8,0,12,1]]}
["楼层"]
["分级标签",null,"信息点","信息点编码","单位","类型","优先级","输入方式","字典选择"," 备注"]
[null,null,"楼层ID","FloorID",null,"Str","S","X"]
[null,null,"楼层名称","FloorName",null,"Str","S","X"]
["基本信息",null,"楼层本地编码","FloorLocalID",null,"Str","M","B1"]
[null,null,"楼层本地名称","FloorLocalName",null,"Str","M","B1"]
[null,null,"BIM模型中编码","BIMID",null,"Str","R","N2"]
[null,null,"楼层顺序码","FloorSequenceID",null,"Num","R","A1"]
["结构信息",null,"楼层性质","FloorType",null,"Enum","M","D1","1. 普通楼层 2. 室外 3. 夹层 4. 屋顶平台 99. 其他"]
[null,null,"楼层功能","FloorFuncType",null,"Str","M","B1"]
[null,null,"楼层面积","Area","m2","Num","M","A2"]
[null,null,"楼层高度","Height","m","Num","M","A2"]
[null,null,"楼层地图文件","FloorMap",null,"Attachment","R","F2"]
["人员信息",null,"楼层常驻人数","PermanentPeopleNum","人","Num","M","A2"]
[null,null,"逐时流出人数","OutPeopleFlow","人次/min","Inst","R","L"]
[null,null,"逐时流入人数","InPeopleFlow","人次/min","Inst","R","L"]
[null,null,"逐时楼层内现有人数","ExsitPeopleNum","人","Inst","R","M"]
["设定参数",{"$nulls":8},"产品层链接"]
["事件记录",{"$nulls":8},"产品层链接"]
["工单存档",{"$nulls":8},"产品层链接"]

{"sheet":"竖井","index":3,"n_rows":13,"n_cols":10,"rows_kept":13,"cut":false,"hidden":false,"merged":[[7,0,9,1],[0,0,0,9],[1,0,1,1],[2,0,2,1],[3,0,3,1],[4,0,6,1]]}
["楼层"]
["分级标签",null,"信息点","信息点编码","单位","类型","优先级","输入方式","字典选择"," 备注"]
[null,null,"竖井ID","FloorID",null,"Str","S","X"]
[null,null,"竖井名称","FloorName",null,"Str","S","X"]
["基本信息",null,"竖井本地编码","FloorLocalID",null,"Str","M","B1"]
[null,null,"竖井本地名称","FloorLocalName",null,"Str","M","B1"]
[null,null,"BIM模型中编码","BIMID",null,"Str","R","N2"]
["结构信息",null,"竖井功能","FloorFuncType",null,"Enum","S","E1","1. 中庭 2. 强电井 2. 弱电井 3. 水管井 4. 风管井 5. 电梯井 99. 其他"]
[null,null,"竖井面积","Area","m2","Num","M","A2"]
[null,null,"竖井高度","Height","m","Num","M","A2"]
["设定参数",{"$nulls":8},"产品层链接"]
["事件记录",{"$nulls":8},"产品层链接"]
["工单存档",{"$nulls":8},"产品层链接"]

{"sheet":"元空间","index":4,"n_rows":76,"n_cols":10,"rows_kept":76,"cut":false,"hidden":false,"merged":[[40,1,43,1],[18,0,19,1],[29,1,37,1],[4,0,17,1],[65,1,72,1],[50,1,64,1],[50,0,72,0],[44,1,45,1],[20,0,45,0],[46,0,49,1],[0,0,0,9],[1,0,1,1],[2,0,2,1],[3,0,3,1],[20,1,27,1]]}
["元空间"]
["分级标签",null,"信息点","信息点编码","单位","类型","优先级","输入方式","字典选择"," 备注"]
[null,null,"空间ID","RoomID",null,"Str","S","X"]
[null,null,"空间名称","RoomName",null,"Str","S","X"]
["基本信息",null,"空间本地编码","RoomLocalID",null,"Str","M","B1"]
[null,null,"空间本地名称","RoomLocalName",null,"Str","M","B1"]
[null,null,"空间二维码图片","RoomQRCode",null,"Attachment","R","F2"]
[null,null,"BIM模型中编码","BIMID",null,"Str","R","N2"]
[null,null,"BIM模型中坐标","BIMLocation",null,"Str","R","N2"]
[null,null,"空间功能区类型","RoomFuncType",null,"Enum","S","D1","见《8空间功能类型》"]
[null,null,"进深","Depth","m","Num","R","A2"]
[null,null,"面宽","Width","m","Num","R","A2"]
[null,null,"建筑面积","BuildArea","m2","Num","M","A2"]
[null,null,"使用面积","NetArea","m2","Num","M","A2"]
[null,null,"高度","Height","m","Num","M","A2"]
[null,null,"配电容量","ElecCap","A","Num","R","A2"]
[null,null,"污染等级","PollutionDegree",null,"Enum","R","D1","见《12污染等级》","电气间隙或爬电距离的微观环境污染"]
[null,null,"备注文字","Intro",null,"Str","R","B2"]
["租户信息",null,"租赁业态类型","TenantType",null,"Enum","M","D1","见《9租赁业态类型》"]
[null,null,"所属租户","Tenant",null,"Str","R","B1"]
["环境参数","温湿度","空气（干球）温度","Tdb","℃","Inst","M","L"]
[null,null,"空气相对湿度","RH","%RH","Inst","M","L"]
[null,null,"空气含湿量","D","g/kg.dra","Inst","R","L"]
[null,null,"空气湿球温度","Twb","℃","Inst","R","L"]
[null,null,"空气露点温度","Td","℃","Inst","R","L"]
[null,null,"空气比焓","H","kJ/kg.dra","Inst","R","L"]
[null,null,"空气密度","Rou","kg/m3","Inst","R","L"]
[null,null,"环境黑球温度","Tg","℃","Inst","R","L"]
[null,"压力","空气压力","Press","MPa","Inst","R","L",null,"全压"]
[null,"空气质量","空气CO2浓度","CO2","ppm","Inst","M","L"]
[null,null,"空气CO浓度","CO","ppm","Inst","R","L"]
[null,null,"空气PM2.5浓度","PM2.5","mg/m3","Inst","M","L"]
[null,null,"空气PM10浓度","PM10","mg/m3","Inst","R","L"]
[null,null,"空气烟尘浓度","Dust","mg/m3","Inst","R","L"]
[null,null,"空气VOC浓度","VOC","ppm","Inst","R","L",null,"1ppb=10^-3ppm"]
[null,null,"空气甲烷浓度","CH4","ppm","Inst","R","L",null,"1%LEL=0.0005ppm(CH4)"]
[null,null,"空气甲醛浓度","HCHO","ppm","Inst","R","L"]
[null,null,"空气质量指数","AQI",null,"Inst","R","L"]
[null,"光照","环境照度","Lux","lux","Inst","M","L"]
[null,"声强","环境噪声","Noise","dB(A)","Inst","M","L"]
[null,"风速","空气平均风速","WindAveV","m/s","Inst","R","L"]
[null,null,"空气X向风速","WindVx","m/s","Inst","R","L"]
[null,null,"空气Y向风速","WindVy","m/s","Inst","R","L"]
[null,null,"空气Z向风速","WindVz","m/s","Inst","R","L"]
[null,"关键指标","热舒适PMV","PMV",null,"Inst","R","M"]
[null,null,"热舒适PPD","PPD",null,"Inst","R","M"]
["人员信息",null,"空间常驻人数","PermanentPeopleNum","人","Num","M","A2"]
[null,null,"逐时流出人数","OutPeopleFlow","人次/min","Inst","R","L"]
[null,null,"逐时流入人数","InPeopleFlow","人次/min","Inst","R","L"]
[null,null,"逐时空间内现有人数","ExsitPeopleNum","人","Inst","R","M"]
["能耗信息","逐时","逐时用电功率","ElecConsumP","kW","Inst","M","L"]
[null,null,"逐时用燃气量","GasConsumP","m3/h","Inst","M","L"]
[null,null,"燃气压力","GasPress","Pa","Inst","R","L"]
[null,null,"逐时用燃油量","FuelConsumP","L/h","Inst","R","L"]
[null,null,"燃油压力","FuelPress","MPa","Inst","R","L"]
[null,null,"逐时用水量","WaterConsumP","m3/h","Inst","M","L"]
[null,null,"自来水压力","WaterPress","MPa","Inst","R","L"]
[null,null,"逐时用热量","HeatConsumP","kW","Inst","R","L"]
[null,null,"逐时用冷量","CoolConsumP","kW","Inst","R","L"]
[null,null,"空调水压力","ACWaterPress","MPa","Inst","R","L"]
[null,null,"空调送风压力","ACWindPress","Pa","Inst","R","L"]
[null,null,"逐时用热水量","DHWConsumP","m3/h","Inst","R","L"]
[null,null,"热水压力","DHWPress","MPa","Inst","R","L"]
[null,null,"逐时用蒸汽量","VaporConsumP","m3/h","Inst","R","L"]
[null,null,"蒸汽压力","VaporPress","MPa","Inst","R","L"]
[null,"累计","累计用电量","ElecAccConsum","kWh","Acc","M","L"]
[null,null,"累计用燃气量","GasAccConsum","m3","Acc","M","L"]
[null,null,"累计用燃油量","FuelAccConsum","L","Acc","R","L"]
[null,null,"累计用水量","WaterAccConsum","m3","Acc","M","L"]
[null,null,"累计用热量","HeatAccConsum","kWh","Acc","R","L"]
[null,null,"累计用冷量","CoolAccConsum","kWh","Acc","R","L"]
[null,null,"累计用热水量","DHWAccConsum","m3","Acc","R","L"]
[null,null,"累计用蒸汽量","VaporAccConsum","m3","Acc","R","L"]
["设定参数",{"$nulls":8},"产品层链接"]
["事件记录",{"$nulls":8},"产品层链接"]
["工单存档",{"$nulls":8},"产品层链接"]