{"text_format":"2","workbook":"xlsx","n_sheets":11,"sheets":["FA火灾报警系统","GA燃气报警系统","EA漏电火灾报警系统","BM紧急广播及背景音乐系统","FS消防给水系统","GE气体灭火系统","FE灭火器系统","SC防排烟系统","FR防火卷帘门系统","EE应急照明及疏散指示系统","KE厨房自动灭火系统"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"FA火灾报警系统","index":0,"n_rows":23,"n_cols":10,"rows_kept":23,"cut":false,"hidden":false,"merged":[[22,0,22,1],[16,0,20,1],[0,0,0,9],[1,0,1,1],[2,0,15,1],[21,0,21,1]]}
["火灾报警系统"]
["分级标签",null,"信息点","信息点编码","单位","类型","优先级","输入方式","字典选择"," 备注"]
["技术参数",null,"电源类型","PowerType",null,"Enum","M","D1","1. 普通交流电 2. 消防电源 3. 直流电 99. 其他"]
[null,null,"是否有备用电池","isBackupPower",null,"Bool","S","E1","0. 无 1. 有"]
[null,null,"建筑消防级别","FireProtectLev",null,"Enum","S","D1","1. 特级 2. 一级 3. 二级 99. 其他","（根据GB50116-98表3.1.1）"]
[null,null,"报警系统类型","AlarmSysType",null,"Enum","S","D1","1. 区域报警系统 2. 集中报警系统 3. 控制中心报警系统 99. 其他"]
[null,null,"火灾探测器类型","FireDetectorType",null,"MEnum","S","D2","1. 自动温度报警器 2. 自动烟气报警器 3. 自动火焰辐射报警器 4. 自动气体报警器 5. 手动报器 99. 其他 (可多选)"]
[null,null,"火灾探测器数量","FireDetectorNum","个","Num","R","A2"]
[null,null,"火灾探测器位置","DetectorLocation",null,"Attachment","R","F1"]
[null,null,"信号类型","SignalType",null,"Bool","M","E1","0. 模拟信号 1. 数字信号"]
[null,null,"火灾报警控制器安装方式","CtrllorInstallType",null,"Enum","R","D1","1. 挂壁式 2. 立柜式 3. 琴台式 99. 其他"]
[null,null,"是否有CRT主机","isCRT ",null,"Bool","R","E1","0. 无 1. 有"]
[null,null,"火灾显示盘","FireDisplayType",null,"Enum","R","D1","1. 汉字显示 2. 数字显示 3. 图形显示 99. 其他"]
[null,null,"是否有声报警器","isSoundAlertor",null,"Bool","M","E1","0. 无 1. 有"]
[null,null,"是否有光报警器","isLightAlertor",null,"Bool","M","E1","0. 无 1. 有"]
[null,null,"报警器位置","AlertorLocation",null,"Attachment","R","F1"]
["运行参数",null,"运行状态","RunStatus",null,"Boolv","S","L","0. 停止 1. 运行"]
[null,null,"故障状态","FaultStatus",null,"Boolv","S","L","0. 正常 1. 故障"]
[null,null,"本地远程状态","RemoteStatus",null,"Enumv","S","L","1. 本地 2. BA 3. 云端 99. 其他"]
[null,null,"手自动状态","ManualAutoStatus",null,"Boolv","S","L","0. 手动 1. 自动"]
[null,null,"报警消息","AlarmMessage",null,"Boolvs","S","L","0. 正常 1. 报警"]
["设定参数"]
["报警消息"]

{"sheet":"GA燃气报警系统","index":1,"n_rows":20,"n_cols":10,"rows_kept":20,"cut":false,"hidden":false,"merged":[[19,0,19,1],[0,0,0,9],[1,0,1,1],[2,0,12,1],[13,0,17,1],[18,0,18,1]]}
["燃气报警系统"]
["分级标签",null,"信息点","信息点编码","单位","类型","优先级","输入方式","字典选择"," 备注"]
["技术参数",null,"电源类型","PowerType",null,"Enum","M","D1","1. 普通交流电 2. 消防电源 3. 直流电 99. 其他"]
[null,null,"是否有备用电池","isBackupPower",null,"Bool","S","E1","0. 无 1. 有"]
[null,null,"建筑消防级别","FireProtectLev",null,"Enum","S","D1","1. 特级 2. 一级 3. 二级 99. 其他","（根据GB50116-98表3.1.1）"]
[null,null,"燃气探测器类型","GasDetectorType",null,"Enum","R","D1","1. 热导式 2. 红外式 3. 催化燃烧式 4. 半导体式 99. 其他"]
[null,null,"检测泄露气体类型","GasType",null,"MEnum","S","D2","1. 甲烷 2. 一氧化碳 3. 硫化氢 4. 其他低级烃气体 99. 其他 （可多选）"]
[null,null,"燃气探测器数量","GasDetectorNum","个","Num","R","A2"]
[null,null,"燃气探测器位置","DetectorLocation",null,"Attachment","R","F1"]
[null,null,"信号类型","SignalType",null,"Bool","M","E1","0. 模拟信号 1. 数字信号"]
[null,null,"报警阈值","AlarmThreshold","%","Num","S","A2"]
[null,null,"报警动作类型","AlertorType",null,"MEnum","S","D2","1. 声报警 2. 光报警 3. 关闭燃气阀 99. 其他 （可多选）"]
[null,null,"报警器位置","AlertorLocation",null,"Attachment","R","F1"]
["运行参数",null,"运行状态","RunStatus",null,"Boolv","S","L","0. 停止 1. 运行"]
[null,null,"故障状态","FaultStatus",null,"Boolv","S","L","0. 正常 1. 故障"]
[null,null,"本地远程状态","RemoteStatus",null,"Enumv","S","L","1. 本地 2. BA 3. 云端 99. 其他"]
[null,null,"手自动状态","ManualAutoStatus",null,"Boolv","S","L","0. 手动 1. 自动"]
[null,null,"报警消息","AlarmMessage",null,"Boolvs","S","L","0. 正常 1.报警"]
["设定参数"]
["报警消息"]

{"sheet":"EA漏电火灾报警系统","index":2,"n_rows":20,"n_cols":10,"rows_kept":20,"cut":false,"hidden":false,"merged":[[19,0,19,1],[0,0,0,9],[13,0,17,1],[1,0,1,1],[2,0,12,1],[18,0,18,1]]}
["漏电火灾报警系统"]
["分级标签",null,"信息点","信息点编码","单位","类型","优先级","输入方式","字典选择"," 备注"]
["技术参数",null,"电源类型","PowerType",null,"Enum","M","D1","1. 普通交流电 2. 消防电源 3. 直流电 99. 其他"]
[null,null,"是否有备用电池","isBackupPower",null,"Bool","S","E1","0. 无 1. 有"]
[null,null,"建筑消防级别","FireProtectLev",null,"Enum","S","D1","1. 特级 2. 一级 3. 二级 99. 其他","（根据GB50116-98表3.1.1）"]
[null,null,"是否有测电流功能","isAfterIFunc",null,"Bool","S","E1","0. 无 1. 有"]
[null,null,"是否有测温度功能","isTempFunc",null,"Bool","S","E1","0. 无 1. 有"]
[null,null,"漏电火灾探测器数量","ElecLeakageDetectorNum","个","Num","R","A2"]
[null,null,"漏电火灾探测器位置","ElecLeakageDetectorLocation",null,"Attachment","R","F1"]
[null,null,"信号类型","SignalType",null,"Bool","M","E1","0. 模拟信号 1. 数字信号"]
[null,null,"剩余电流动作阈值","AfterIThreshold ","mA","Num","S","A2"]
[null,null,"报警动作类型","AlertorType",null,"MEnum","S","D2","1. 声报警 2. 光报警 3. 切断电路 99. 其他 （可多选）"]
[null,null,"报警器位置","AlertorLocation",null,"Attachment","R","F1"]
["运行参数",null,"运行状态","RunStatus",null,"Boolv","S","L","0. 停止 1. 运行"]
[null,null,"故障状态","FaultStatus",null,"Boolv","S","L","0. 正常 1. 故障"]
[null,null,"本地远程状态","RemoteStatus",null,"Enumv","S","L","1. 本地 2. BA 3. 云端 99. 其他"]
[null,null,"手自动状态","ManualAutoStatus",null,"Boolv","S","L","0. 手动 1. 自动"]
[null,null,"报警消息","AlarmMessage",null,"Boolvs","S","L","0. 正常 1.报警"]
["设定参数"]
["报警消息"]

{"sheet":"BM紧急广播及背景音乐系统","index":3,"n_rows":21,"n_cols":10,"rows_kept":21,"cut":false,"hidden":false,"merged":[[19,0,19,1],[20,0,20,1],[0,0,0,9],[1,0,1,1],[12,0,18,0],[12,1,17,1],[2,0,11,1]]}
["紧急广播及背景音乐系统"]
["分级标签",null,"信息点","信息点编码","单位","类型","优先级","输入方式","字典选择"," 备注"]
["技术参数",null,"电源类型","PowerType",null,"Enum","M","D1","1. 普通交流电 2. 消防电源 3. 直流电 99. 其他"]
[null,null,"是否有备用电池","isBackupPower",null,"Bool","S","E1","0. 无 1. 有"]
[null,null,"建筑消防级别","FireProtectLev",null,"Enum","S","D1","1. 特级 2. 一级 3. 二级 99. 其他","（根据GB50116-98表3.1.1）"]
[null,null,"系统范围","SysRange",null,"Enum","S","D1","1. 开放地区 2. 建筑物内部 99. 其他"]
[null,null,"是否划分广播分区","isZoneDivided",null,"Bool","S","E1","0. 否 1. 是"]
[null,null,"广播分区数量","ZoneNum","个","Num","M","A2"]
[null,null,"分区模式","ZoneDividedType",null,"Enum","M","D1","1. 楼层分区 2. 部门分区 3. 功能区分区 4. 小区分区 99. 其他"]
[null,null,"广播类型","BroadcastType",null,"MEnum","M","D2","1. 背景音乐播放 2. 语音广播 3. 火灾紧急广播 99. 其他 （可多选）"]
[null,null,"广播音频来源","AudioSourceType",null,"MEnum","R","D2","1. 话筒 2. CD/MP3 3. 火灾报警 4. 预置报警信号 99. 其他 （可多选）"]
[null,null,"播放器个数","PlayerNum","台","Num","R","A2"]
["运行参数","瞬时状态","运行状态","RunStatus",null,"Boolv","S","L","0. 停止 1. 运行"]
[null,null,"故障状态","FaultStatus",null,"Boolv","S","L","0. 正常 1. 故障"]
[null,null,"本地远程状态","RemoteStatus",null,"Enumv","S","L","1. 本地 2. BA 3. 云端 99. 其他"]
[null,null,"手自动状态","ManualAutoStatus",null,"Boolv","S","L","0. 手动 1. 自动"]
[null,null,"系统耗电功率","SysElecConsumP","kW","Inst","R","M"]
[null,null,"实时音频来源","AudioSource",null,"MEnumv","S","L","1. 话筒 2. CD/MP3 3. 火灾报警 4. 预置报警信号 99. 其他 （可多选）"]
[null,"累计指标","累计耗电量","AccElecConsum","kWh","Acc","R","M","  "]
["设定参数"]
["报警消息"]

{"sheet":"FS消防给水系统","index":4,"n_rows":40,"n_cols":10,"rows_kept":40,"cut":false,"hidden":false,"merged":[[39,0,39,1],[0,0,0,9],[1,0,1,1],[2,0,23,1],[24,0,37,1],[38,0,38,1]]}
["消防给水系统"]
["分级标签",null,"信息点","信息点编码","单位","类型","优先级","输入方式","字典选择"," 备注"]
["技术参数",null,"电源类型","PowerType",null,"Enum","M","D1","1. 普通交流电 2. 消防电源 3. 直流电 99. 其他"]
[null,null,"是否有备用电源","isBackupPower",null,"Bool","S","E1","0. 无 1. 有"]
[null,null,"建筑消防级别","FireProtectLev",null,"Enum","S","D1","1. 特级 2. 一级 3. 二级 99. 其他","（根据GB50116-98表3.1.1）"]
[null,null,"是否有消防蓄水","isFireWaterBasin",null,"Bool","S","E1","0. 无 1. 有"]
[null,null,"是否与用生活给水池共用","isShareDWBasin",null,"Bool","M","E1","0. 否 1. 是"]
[null,null,"是否使用雨水","isRainWater",null,"Bool","R","E1","0. 否 1. 是"]
[null,null,"是否有备用水池","isBackupBasin",null,"Bool","M","E1","0. 否 1. 是"]
[null,null,"消防水容量","FireWaterCap","m3","Num","S","A2"]
[null,null,"备用消防水容量","BackupFireWaterCap","m3","Num","M","A2"]
[null,null,"水箱可提供消防水时间","SupplyFireWaterTime","min","Num","S","A2",null,"起火初期高区消防水泵还没有工作前，水箱提供消防水的时间"]
[null,null,"系统压力分级","SysPressLev",null,"Enum","S","D1","1. 低压 2. 高压 3. 临时高压 99. 其他"]
[null,null,"有无预作用报警系统回路","isPreactionAlarm",null,"Bool","R","E1","0. 无 1. 有"]
[null,null,"建筑高度分级","BuildHeightLev",null,"Enum","S","D1","1. 低层 2. 高层 3. 超高层 99. 其他"]
[null,null,"消防给水是否分区","isZoneDivided",null,"Bool","S","E1","0. 否 1. 是"]
[null,null,"是否有消防电伴热","isElecTrace",null,"Bool","R","E1","0. 否 1. 是"]
[null,null,"消防水泵数量","FirePumpNum","台","Num","M","A2"]
[null,null,"水喷雾装置数量","WaterAtomizerNum","个","Num","R","A2"]
[null,null,"喷淋装置数量","SprayerNum","个","Num","R","A2"]
[null,null,"室内消火栓数量","InFireHydrantNum","个","Num","M","A2"]
[null,null,"室外消火栓数量","OutFireHydrantNum","个","Num","M","A2"]
[null,null,"水泵接合器数量","PumpAdapterNum","个","Num","R","A2"]
[null,null,"消防设备位置","FireEquipLocation",null,"Attachment","R","F1"]
["运行参数",null,"运行状态","RunStatus",null,"Boolv","S","L","0. 停止 1. 运行"]
[null,null,"故障状态","FaultStatus",null,"Boolv","S","L","0. 正常 1. 故障"]
[null,null,"本地远程状态","RemoteStatus",null,"Enumv","S","L","1. 本地 2. BA 3. 云端 99. 其他"]
[null,null,"手自动状态","ManualAutoStatus",null,"Boolv","S","L","0. 手动 1. 自动"]
[null,null,"系统耗电功率","SystemElecConsumP","kW","Inst","R","M"]
[null,null,"消防水泵开启状态","FirePumpRunStatus",null,"Boolvs","S","L","0. 否 1. 是"]
[null,null,"水喷雾装置开启状态","WaterAtomizerRunStatus",null,"Boolvs","S","L","0. 否 1. 是"]
[null,null,"喷淋装置开启状态","SprayerRunStatus",null,"Boolvs","S","L","0. 否 1. 是"]
[null,null,"室内消火栓开启状态","InFireHydrantRunStatus",null,"Boolvs","S","L","0. 否 1. 是"]
[null,null,"室外消火栓开启状态","OutFireHydrantRunStatus",null,"Boolvs","S","L","0. 否 1. 是"]
[null,null,"水泵接合器开启状态","PumpAdapterRunStatus",null,"Boolvs","S","L","0. 否 1. 是"]
[null,null,"消防蓄水量","FireWaterStore","m3","Inst","S","L"]
[null,null,"出水流量","FireWaterOutFlow","m3/h","Inst","M","L"]
[null,null,"出水压力","FireWaterOutPress","MPa","Inst","M","L"]
["设定参数"]
["报警消息"]

{"sheet":"GE气体灭火系统","index":5,"n_rows":27,"n_cols":10,"rows_kept":27,"cut":false,"hidden":false,"merged":[[26,0,26,1],[0,0,0,9],[1,0,1,1],[2,0,16,1],[17,0,24,1],[25,0,25,1]]}
["气体灭火系统"]
["分级标签",null,"信息点","信息点编码","单位","类型","优先级","输入方式","字典选择"," 备注"]
["技术参数",null,"电源类型","PowerType",null,"Enum","M","D1","1. 普通交流电 2. 消防电源 3. 直流电 99. 其他"]
[null,null,"是否有备用电池","isBackupPower",null,"Bool","S","E1","0. 无 1. 有"]
[null,null,"建筑消防级别","FireProtectLev",null,"Enum","S","D1","1. 特级 2. 一级 3. 二级 99. 其他","（根据GB50116-98表3.1.1）"]
[null,null,"有无全楼管网","isOverallPipeNet",null,"Bool","S","E1","0. 无（预制系统） 1. 有"]
[null,null,"灭火剂种类","ExtinguishantType",null,"Enum","M","D1","1. 七氟丙烷 2. 低压二氧化碳 3. 高压二氧化碳 4. IG541混合气体 99. 其他"]
[null,null,"防护区有无危险物品","IsDangerGoods",null,"Bool","S","E1","0. 无 1. 有","决定是否采用惰化计算"]
[null,null,"灭火方式","ExtinguishMethod",null,"Enum","S","D1","1. 全淹没系统 2. 局部淹没系统 99. 其他"]
[null,null,"灭火系统设计温度","DesignTemp","℃","Num","S","A2"]
[null,null,"气体管网压力类型","GasPipePressType",null,"Enum","M","D1","1. 高压 2. 低压 99. 其他"]
[null,null,"气源与防护区对应关系","SourceZoneConnect",null,"Enum","R","D1","1. 一源对多区 2. 一源对一区 99. 其他"]
[null,null,"最不利末端压降","WorstTerminalPressDrop","MPa","Num","M","A2",null,"有全楼管网时"]
[null,null,"系统气体总储量","SysGasStoreCap","kg","Num","S","A2"]
[null,null,"喷头数量","NozzleNum","个","Num","R","A2"]
[null,null,"控制盘位置","CtrlPanelLocation",null,"Bool","S","E1","0. 灭火区域外 1. 灭火区域内"]
[null,null,"防护区域划分","ZoneDivided",null,"Attachment","R","F1"]
["运行参数",null,"运行状态","RunStatus",null,"Boolv","S","L","0. 停止 1. 运行"]
[null,null,"故障状态","FaultStatus",null,"Boolv","S","L","0. 正常 1. 故障"]
[null,null,"本地远程状态","RemoteStatus",null,"Enumv","S","L","1. 本地 2. BA 3. 云端 99. 其他"]
[null,null,"手自动状态","ManualAutoStatus",null,"Boolv","S","L","0. 手动 1. 自动"]
[null,null,"喷头动作状态","NozzleStatus",null,"Boolvs","S","L","0. 正常 1. 动作"]
[null,null,"喷头开启个数","RunNozzleNum","个","Inst","S","M"]
[null,null,"喷头出水量","NozzleOutFlow","m3/h","Inst","R","L"]
[null,null,"浸渍时间","DipTime","min","Inst","R","L"]
["设定参数"]
["报警消息"]

{"sheet":"FE灭火器系统","index":6,"n_rows":10,"n_cols":10,"rows_kept":10,"cut":false,"hidden":false,"merged":[[9,0,9,1],[0,0,0,9],[1,0,1,1],[2,0,4,1],[5,0,7,1],[8,0,8,1]]}
["灭火器系统"]
["分级标签",null,"信息点","信息点编码","单位","类型","优先级","输入方式","字典选择"," 备注"]
["技术参数",null,"建筑消防级别","FireProtectLev",null,"Enum","S","D1","1. 特级 2. 一级 3. 二级 99. 其他","（根据GB50116-98表3.1.1）"]
[null,null,"灭火器数量","ExtinguisherNum","个","Num","R","A2"]
[null,null,"灭火器位置","ExtinguisherLocation",null,"Attachment","R","F1"]
["运行参数",null,"运行状态","RunStatus",null,"Boolv","S","L","0. 停止 1. 运行"]
[null,null,"故障状态","FaultStatus",null,"Boolv","S","L","0. 正常 1. 故障"]
[null,null,"灭火器使用状态","ExtinguisherStatus",null,"Boolvs","R","L","0. 未使用 1. 使用"]
["设定参数"]
["报警消息"]

{"sheet":"SC防排烟系统","index":7,"n_rows":26,"n_cols":10,"rows_kept":26,"cut":false,"hidden":false,"merged":[[25,0,25,1],[0,0,0,9],[1,0,1,1],[2,0,11,1],[12,0,23,1],[24,0,24,1]]}
["防排烟系统"]
["分级标签",null,"信息点","信息点编码","单位","类型","优先级","输入方式","字典选择"," 备注"]
["技术参数",null,"电源类型","PowerType",null,"Enum","M","D1","1. 普通交流电 2. 消防电源 3. 直流电 99. 其他"]
[null,null,"是否有备用电源","isBackupPower",null,"Bool","S","E1","0. 无 1. 有"]
[null,null,"建筑消防级别","FireProtectLev",null,"Enum","S","D1","1. 特级 2. 一级 3. 二级 99. 其他","（根据GB50116-98表3.1.1）"]
[null,null,"是否有机械通风","IsMachanicalVent",null,"Bool","S","E1","0. 只有自然通风 1. 有机械通风"]
[null,null,"防火分区数量","FireZoneNum","个","Num","S","A2"]
[null,null,"防火分区划分依据","FireZoneDividedType",null,"Enum","R","D1","1. 用途划分 2. 面积划分 3. 楼层划分 99. 其他"]
[null,null,"防火分区划分","FireZoneDivided",null,"Attachment","R","F1"]
[null,null,"是否有挡烟垂壁","isSmokeHangWall",null,"Bool","M","E1","0. 无 1. 有"]
[null,null,"是否有挡烟梁","isSmokeBeam",null,"Bool","M","E1","0. 无 1. 有"]
[null,null,"是否有挡烟幕墙","isSmokeCurtain",null,"Bool","M","E1","0. 无 1. 有"]
["运行参数",null,"运行状态","RunStatus",null,"Boolv","S","L","0. 停止 1. 运行"]
[null,null,"故障状态","FaultStatus",null,"Boolv","S","L","0. 正常 1. 故障"]
[null,null,"本地远程状态","RemoteStatus",null,"Enumv","S","L","1. 本地 2. BA 3. 云端 99. 其他"]
[null,null,"手自动状态","ManualAutoStatus",null,"Boolv","S","L","0. 手动 1. 自动"]
[null,null,"系统耗电功率","SysElecConsumP","kW","Inst","R","M"]
[null,null,"排风机开启状态","ExhaustFanRunStatus",null,"Boolvs","S","L","0. 关闭 1. 开启"]
[null,null,"送风机开启状态","SupplyFanRunStatus",null,"Boolvs","S","L","0. 关闭 1. 开启"]
[null,null,"防火阀开启状态","FireDamperStatus",null,"Boolvs","S","L","0. 关闭 1. 开启"]
[null,null,"排烟阀开启状态","SmokeDamperStatus",null,"Boolvs","S","L","0. 关闭 1. 开启"]
[null,null,"总排烟风量","TotExhaustFlow","m3/h","Inst","R","M"]
[null,null,"平均排烟压力","AveExhaustPress","Pa","Inst","R","M"]
[null,null,"平均排烟温度","AveExhaustTemp","℃","Inst","R","M"]
["设定参数"]
["报警消息"]

{"sheet":"FR防火卷帘门系统","index":8,"n_rows":13,"n_cols":10,"rows_kept":13,"cut":false,"hidden":false,"merged":[[12,0,12,1],[0,0,0,9],[1,0,1,1],[2,0,4,1],[5,0,10,1],[11,0,11,1]]}
["防火卷帘门系统"]
["分级标签",null,"信息点","信息点编码","单位","类型","优先级","输入方式","字典选择"," 备注"]
["技术参数",null,"建筑消防级别","FireProtectLev",null,"Enum","S","D1","1. 特级 2. 一级 3. 二级 99. 其他","（根据GB50116-98表3.1.1）"]
[null,null,"防火卷帘门数量","FireShutterNum","个","Num","M","A2"]
[null,null,"防火卷帘门位置","FireShutterLocation",null,"Attachment","R","F1"]
["运行参数",null,"运行状态","RunStatus",null,"Boolv","S","L","0. 停止 1. 运行"]
[null,null,"故障状态","FaultStatus",null,"Boolv","S","L","0. 正常 1. 故障"]
[null,null,"本地远程状态","RemoteStatus",null,"Enumv","S","L","1. 本地 2. BA 3. 云端 99. 其他"]
[null,null,"手自动状态","ManualAutoStatus",null,"Boolv","S","L","0. 手动 1. 自动"]
[null,null,"系统耗电功率","SysElecConsumP","kW","Inst","R","M"]
[null,null,"防火卷帘门动作状态","FireShutterStatus",null,"Boolvs","S","L","0. 正常 1. 动作"]
["设定参数"]
["报警消息"]

{"sheet":"EE应急照明及疏散指示系统","index":9,"n_rows":16,"n_cols":10,"rows_kept":16,"cut":false,"hidden":false,"merged":[[14,0,14,1],[15,0,15,1],[0,0,0,9],[1,0,1,1],[2,0,8,0],[2,1,4,1],[5,1,6,1],[7,1,8,1],[9,0,13,1]]}
["应急照明及疏散指示系统"]
["分级标签",null,"信息点","信息点编码","单位","类型","优先级","输入方式","字典选择"," 备注"]
["技术参数","电源","电源类型","PowerType",null,"MEnum","S","D2","1. 普通交流电 2. 消防电源 3. 直流电 99. 其他 (可多选)"]
[null,null,"是否有备用电池","isBackupBattery",null,"Bool","M","E1","0. 否 1. 是"]
[null,null,"电池供电可用时间","BatterySupplyTime","h","Num","S","A2"]
[null,"应急照明","应急照明灯具数","EmergencyLightNum","个","Num","M","A2"]
[null,null,"应急照明回路数","EmergencyLightLoopNum","路","Num","M","A2"]
[null,"疏散指示","疏散指示灯牌数","EvacuationIndicatorNum","个","Num","M","A2"]
[null,null,"疏散指示回路数","EvacuationIndicatorLoopNum","路","Num","M","A2"]
["运行参数",null,"运行状态","RunStatus",null,"Boolv","S","L","0. 停止 1. 运行"]
[null,null,"故障状态","FaultStatus",null,"Boolv","S","L","0. 正常 1. 故障"]
[null,null,"本地远程状态","RemoteStatus",null,"Enumv","S","L","1. 本地 2. BA 3. 云端 99. 其他"]
[null,null,"手自动状态","ManualAutoStatus",null,"Boolv","S","L","0. 手动 1. 自动"]
[null,null,"系统耗电功率","SysElecConsumP","kW","Inst","M","M"]
["设定参数"]
["报警消息"]

{"sheet":"KE厨房自动灭火系统","index":10,"n_rows":14,"n_cols":10,"rows_kept":14,"cut":false,"hidden":false,"merged":[[13,0,13,1],[0,0,0,9],[1,0,1,1],[2,0,6,1],[7,0,11,1],[12,0,12,1]]}
["厨房自动灭火系统"]
["分级标签",null,"信息点","信息点编码","单位","类型","优先级","输入方式","字典选择"," 备注"]
["技术参数",null,"电源类型","PowerType",null,"Enum","S","D1","1. 普通交流电 2. 消防电源 3. 直流电 99. 其他"]
[null,null,"是否有备用电源","isBackupPower",null,"Bool","S","E1","0. 否 1. 是"]
[null,null,"灭火面积","ExtinguishArea","m2","Num","S","A2"]
[null,null,"灭火方式","ExtinguishType",null,"Enum","M","D1","1. 气体灭火 2. 干粉灭火 3. 细水雾灭火 4. 专用灭火剂灭火 99. 其他"]
[null,null,"延迟时间","DelayTime","s","Num","M","A2"]
["运行参数",null,"运行状态","RunStatus",null,"Boolv","S","L","0. 停止 1. 运行"]
[null,null,"故障状态","FaultStatus",null,"Boolv","S","L","0. 正常 1. 故障"]
[null,null,"本地远程状态","RemoteStatus",null,"Enumv","S","L","1. 本地 2. BA 3. 云端 99. 其他"]
[null,null,"手自动状态","ManualAutoStatus",null,"Boolv","S","L","0. 手动 1. 自动"]
[null,null,"系统耗电功率","SysElecConsumP","kW","Inst","M","M"]
["设定参数"]
["报警消息"]