{"text_format":"2","workbook":"xlsx","n_sheets":4,"sheets":["建筑空间类","机电设备类","土建设施类","设备（部件）族"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"建筑空间类","index":0,"n_rows":4,"n_cols":15,"rows_kept":4,"cut":false,"hidden":false,"merged":[[2,14,3,14],[2,0,3,0],[2,1,3,1],[2,2,3,2],[2,3,3,3],[2,4,3,4],[2,5,3,5],[2,9,3,9],[2,10,3,10],[2,11,3,11],[2,12,3,12],[2,13,3,13]]}
[]
[]
["Pj","Project","项目","Building","Bd","建筑体","Fl","Floor","楼层","Sp","Space","空间","Si","Space i","元空间"]
[{"$nulls":6},"Sh","Shaft","竖井"]

{"sheet":"机电设备类","index":1,"n_rows":310,"n_cols":12,"rows_kept":310,"cut":false,"hidden":false,"merged":[[271,5,278,5],[282,5,285,5],[288,5,290,5],[293,5,295,5],[296,5,298,5],[300,5,301,5],[302,5,309,5],[111,3,116,3],[111,4,116,4],[111,5,116,5],[157,3,161,3],[157,4,161,4],[157,5,161,5],[177,3,180,3],[177,4,180,4],[177,5,180,5],[148,4,153,4],[154,4,156,4],[141,3,145,3],[141,5,145,5],[148,3,153,3],[148,5,153,5],[123,5,128,5],[245,4,248,4],[249,4,261,4],[262,4,268,4],[210,4,213,4],[215,4,217,4],[218,4,220,4],[221,4,224,4],[225,4,227,4],[228,4,233,4],[234,4,237,4],[238,4,241,4],[242,4,244,4],[58,3,78,3],[58,5,78,5],[79,3,94,3],[245,1,270,1],[2,4,6,4],[7,4,8,4],[9,4,13,4],[16,4,19,4],[20,4,22,4],[26,4,28,4],[29,4,30,4],[31,4,36,4],[37,4,39,4],[40,4,48,4],[49,4,53,4],[56,4,57,4],[58,4,78,4],[79,4,94,4],[95,4,110,4],[123,3,128,3],[123,4,128,4],[129,4,140,4],[141,4,145,4],[146,4,147,4],[2,1,25,1],[26,1,57,1],[58,1,122,1],[123,1,168,1],[163,4,164,4],[165,4,167,4],[79,5,94,5],[95,5,110,5],[95,3,110,3],[56,3,57,3],[26,3,28,3],[26,5,28,5],[40,5,48,5],[7,3,8,3],[7,5,8,5],[9,3,13,3],[117,4,119,4],[120,4,122,4],[129,3,140,3],[129,5,140,5],[117,3,119,3],[117,5,119,5],[120,3,122,3],[120,5,122,5],[16,5,19,5],[40,3,48,3],[49,3,53,3],[31,3,36,3],[31,5,36,5],[29,3,30,3],[29,5,30,5],[37,3,39,3],[37,5,39,5],[23,3,24,3],[23,4,24,4],[23,5,24,5],[228,0,244,0],[228,2,244,2],[184,3,188,3],[184,5,188,5],[215,5,217,5],[210,3,213,3],[210,5,213,5],[218,3,220,3],[218,5,220,5],[221,3,224,3],[169,1,227,1],[228,1,244,1],[238,3,241,3],[238,5,241,5],[221,5,224,5],[225,3,227,3],[225,5,227,5],[181,3,183,3],[181,5,183,5],[181,4,183,4],[2,5,6,5],[2,0,25,0],[2,2,25,2],[123,0,168,0],[123,2,168,2],[165,3,167,3],[165,5,167,5],[20,5,22,5],[20,3,22,3],[56,5,57,5],[163,3,164,3],[154,3,156,3],[146,3,147,3],[26,2,57,2],[2,3,6,3],[163,5,164,5],[154,5,156,5],[146,5,147,5],[26,0,57,0],[58,0,122,0],[58,2,122,2],[9,5,13,5],[49,5,53,5],[16,3,19,3],[245,0,270,0],[245,2,270,2],[245,3,248,3],[245,5,248,5],[249,3,261,3],[249,5,261,5],[234,3,237,3],[234,5,237,5],[215,3,217,3],[169,0,227,0],[169,2,227,2],[189,5,209,5],[189,3,209,3],[262,3,268,3],[262,5,268,5],[169,5,176,5],[169,3,176,3],[228,5,233,5],[228,3,233,3],[169,4,176,4],[184,4,188,4],[189,4,209,4],[242,3,244,3],[242,5,244,5],[271,0,309,0],[271,1,309,1],[271,3,278,3],[271,4,278,4],[282,3,285,3],[282,4,285,4],[288,3,290,3],[288,4,290,4],[293,3,295,3],[293,4,295,4],[296,3,298,3],[296,4,298,4],[300,3,301,3],[300,4,301,4],[302,3,309,3],[302,4,309,4],[271,2,309,2]]}
[null,null,"（非实体对象）"]
["专业编码","专业英文名称","专业名称","系统类编码","系统类英文名称","系统类名称","设备类编码","设备类英文名称","设备类名称","设备部件类编码","设备部件类英文名称","设备部件类名称"]
["SE","Strong Electricity","强电专业","TD","Transformation and  Distribution","变配电系统","TDTF","Transformer","变压器"]
[{"$nulls":6},"TDHS","High Voltage Switch Cabinet","高压开关柜","TDHSIP","Integrated Protection Device","综合保护装置"]
[{"$nulls":6},"TDLS","Low Voltage Switch Cabinet","低压开关柜","TDLSDW","Distribution Drawer","低压配电抽屉"]
[{"$nulls":6},"TDDS","Direct Current Screen","直流屏"]
[{"$nulls":6},"TDBP","Bus Plug","变配电母线插接箱"]
[null,null,null,"DG","Diesel Generator","柴发机房系统","DGDG","Diesel Generator","柴油发电机"]
[{"$nulls":6},"DGCU","Control Unit","柴发控制箱"]
[null,null,null,"BP","Backup Power","备用电源系统","BPBP","Backup Power","备用电源"]
[{"$nulls":6},"BPSP","Solar Panel","太阳能电池板"]
[{"$nulls":6},"BPWG","Wind Generator","风力发电装置"]
[{"$nulls":6},"BPHT","Host Terminal","备用电源主机"]
[{"$nulls":6},"BPCU","Control Unit","备用电源控制箱"]
[null,null,null,"EP","Engine Room Power","机房动力系统","EPCU","Control Unit","机房动力控制箱"]
[null,null,null,"OP","Outdoor Power","室外动力系统","OPCU","Control Unit","室外动力控制箱"]
[null,null,null,"EL","Elevator","电梯系统","ELEL","Elevator","直梯"]
[{"$nulls":6},"ELES","Escalator","扶梯"]
[{"$nulls":6},"ELCU","Control Unit","电梯控制箱"]
[{"$nulls":6},"ELET","Elevator Tractor","电梯曳引机"]
[null,null,null,"LT","Lighting","照明系统","LTLT","Lighting","照明灯具"]
[{"$nulls":6},"LTCU","Control Unit","照明控制箱"]
[{"$nulls":6},"LTCP","Control Panel","照明控制面板"]
[null,null,null,"TP","Tenant Power","租户配电系统","TPCU","Control Unit","租户配电控制箱"]
[{"$nulls":6},"TPBP","Bus Plug","租户母线插接箱"]
[null,null,null,"SD","Strong Electricity Defense","强电人防系统","SDCU","Control Unit","强电人防控制箱"]
["WE","Weak Electricity","弱电专业","BA","Building Automatic Control","建筑设备控制系统","BAHT","Host Terminal","楼控主机"]
[{"$nulls":6},"BACU","Control Unit","楼控控制箱"]
[{"$nulls":6},"BACP","Control Panel","楼控控制面板"]
[null,null,null,"TV","Television","电视信号系统","TVFE","Front End","电视前端设备"]
[{"$nulls":6},"TVCU","Control Unit","电视信号控制箱"]
[null,null,null,"MI","Multimedia Information","多媒体信息发布系统","MIHT","Host Terminal","多媒体主机"]
[{"$nulls":6},"MIPL","Player","播放器"]
[{"$nulls":6},"MIDS","Display Screen","多媒体显示屏"]
[{"$nulls":6},"MIST","Self-service Terminal","自助终端机"]
[{"$nulls":6},"MIFE","Front End","多媒体前端设备"]
[{"$nulls":6},"MICU","Control Unit","多媒体控制箱"]
[null,null,null,"WT","Walkie Talkie","无线对讲系统","WTWT","Walkie Talkie","对讲机"]
[{"$nulls":6},"WTRS","Relay Station","中继台"]
[{"$nulls":6},"WTCU","Control Unit","无线对讲控制箱"]
[null,null,null,"GM","Garage Management","车库管理系统","GMHT","Host Terminal","车库主机"]
[{"$nulls":6},"GMCU","Control Unit","车库控制箱"]
[{"$nulls":6},"GMCM","Camera","车库摄像头"]
[{"$nulls":6},"GMDS","Display Screen","车库显示屏"]
[{"$nulls":6},"GMGT","Gate","进出闸机"]
[{"$nulls":6},"GMMP","Mechanical Parking","机械车位"]
[{"$nulls":6},"GMCP","Charging Pile","充电桩"]
[{"$nulls":6},"GMPD","Parking Detector","车位检测器"]
[{"$nulls":6},"GMGL","Guiding Light","车位引导灯"]
[null,null,null,"LN","Local Network","本地网络系统","LNHT","Host Terminal","服务器主机"]
[{"$nulls":6},"LNRT","Router","路由器"]
[{"$nulls":6},"LNEX","Exchanger","交换机"]
[{"$nulls":6},"LNHF","Hardware Firewall","硬件防火墙"]
[{"$nulls":6},"LNAP","Access Point","无线AP点位"]
[null,null,null,"PM","Passenger Flow Management","客流管理系统","PMHT","Host Terminal","客流管理主机"]
[null,null,null,"TM","Tenant Management","租户管理系统","TMHT","Host Terminal","租户管理主机"]
[null,null,null,"MA","Mobile Signal Amplification","移动通信信号放大系统","MAHT","Host Terminal","移动通信信号放大主机"]
[{"$nulls":6},"MAAT","Antenna","信号放大天线"]
["AC","Air Conditioning","空调专业","CC","Central Cooling","中央供冷系统","CCCC","Centrifugal Chiller","离心式冷水机组"]
[{"$nulls":6},"CCSC","Screw Chiller","螺杆式冷水机组"]
[{"$nulls":6},"CCAC","Absorption Chiller","吸收式冷水机组"]
[{"$nulls":6},"CCAH","Air Source Heat Pump","空调空气源热泵"]
[{"$nulls":6},"CCWH","Water Source Heat Pump","空调水源热泵"]
[{"$nulls":6},"CCGH","Ground Source Heat Pump","空调地源热泵","CCGHBP","Buried Pipe","地埋管"]
[{"$nulls":6},"CCOT","Cooling Tower","冷却塔"]
[{"$nulls":6},"CCCP","Chilled Water Pump","供冷冷冻水泵"]
[{"$nulls":6},"CCOP","Cooling Water Pump","供冷冷却水泵"]
[{"$nulls":6},"CCGP","Glycol Pump","供冷乙二醇泵"]
[{"$nulls":6},"CCFP","Fill Pump","供冷补水泵"]
[{"$nulls":6},"CCCF","Constant Pressure Fill Device","供冷定压补水装置"]
[{"$nulls":6},"CCHE","Heat Exchanger","供冷换热器"]
[{"$nulls":6},"CCVD","Vacuum Degasser","供冷真空脱气机"]
[{"$nulls":6},"CCCD","Chemical Device","供冷水加药装置"]
[{"$nulls":6},"CCSD","Water Soften Device","供冷软化水装置"]
[{"$nulls":6},"CCTU","Water Treatment Unit","供冷全程水处理仪"]
[{"$nulls":6},"CCST","Cooling Storage Tank","蓄冷热槽"]
[{"$nulls":6},"CCDB","Distributor","供冷分水器"]
[{"$nulls":6},"CCCL","Collector","供冷集水器"]
[{"$nulls":6},"CCWT","Water Tank","供冷水箱"]
[null,null,null,"CH","Central Heating","中央供热系统","CHCB","Coal Boiler","供热燃煤锅炉"]
[{"$nulls":6},"CHFB","Fuel Boiler","供热燃油锅炉"]
[{"$nulls":6},"CHGB","Gas Boiler","供热燃气锅炉"]
[{"$nulls":6},"CHEB","Electric Boiler","供热电锅炉"]
[{"$nulls":6},"CHHP","Hot Water Pump","供热水泵"]
[{"$nulls":6},"CHFP","Fill Pump","供热补水泵"]
[{"$nulls":6},"CHCF","Constant Pressure Fill Device","供热定压补水装置"]
[{"$nulls":6},"CHHE","Heat Exchanger","供热换热器"]
[{"$nulls":6},"CHVD","Vacuum Degasser","供热真空脱气机"]
[{"$nulls":6},"CHCD","Chemical Device","供热水加药装置"]
[{"$nulls":6},"CHSD","Water Soften Device","供热软化水装置"]
[{"$nulls":6},"CHTU","Water Treatment Unit","供热全程水处理仪"]
[{"$nulls":6},"CHDB","Distributor","供热分水器"]
[{"$nulls":6},"CHCL","Collector","供热集水器"]
[{"$nulls":6},"CHWT","Water Tank","供热水箱"]
[{"$nulls":6},"CHBF","Biomass Cooking Furnace","生物质炊暖炉"]
[null,null,null,"AT","Air Conditioning Terminal","空调末端系统","ATAH","Air Handling Unit","空调机组"]
[{"$nulls":6},"ATFU","Fresh Air Unit","新风机组"]
[{"$nulls":6},"ATFC","Fan Coil Unit","风机盘管"]
[{"$nulls":6},"ATSA","Split Air Conditioner","分体空调"]
[{"$nulls":6},"ATVR","Variable Refrigerant Volume Unit","变频多联机"]
[{"$nulls":6},"ATVI","Variable Refrigerant Volume Indoor Unit","变频多联机室内机"]
[{"$nulls":6},"ATVO","Variable Refrigerant Volume Outdoor Unit","变频多联机室外机"]
[{"$nulls":6},"ATVA","Variable Air Volume Box","变风量箱"]
[{"$nulls":6},"ATFA","Floor Air Conditioner","地板空调器"]
[{"$nulls":6},"ATIO","Inlet and Outlet","空调风口"]
[{"$nulls":6},"ATRD","Radiator","散热器"]
[{"$nulls":6},"ATFH","Floor Heating Device","地板采暖设备"]
[{"$nulls":6},"ATHD","Humidifier","空调加湿器"]
[{"$nulls":6},"ATMF","Muffler","空调消声器"]
[{"$nulls":6},"ATPC","Plenum Chamber","空调静压箱"]
[{"$nulls":6},"ATCA","Constant Air Volume Box","定风量箱"]
[null,null,null,"VT","Ventilation","通风系统","VTSF","Supply Fan","通风风机"]
[{"$nulls":6},"VTAC","Warm Air Curtain","热风幕"]
[{"$nulls":6},"VTAP","Air Purifier","空气净化器"]
[{"$nulls":6},"VTDO","Deodorizer","通风除味装置"]
[{"$nulls":6},"VTIO","Inlet and Outlet","通风风口"]
[{"$nulls":6},"VTCP","Control Panel","通风控制面板"]
[null,null,null,"KL","Kitchen Lampblack","厨房排油烟系统","KLSF","Supply Fan","厨房风机"]
[{"$nulls":6},"KLAP","Air Purifier","油烟净化器"]
[{"$nulls":6},"KLIO","Inlet and Outlet","厨房风口"]
[null,null,null,"AD","Air Conditioning Defense","空调人防系统","ADSF","Supply Fan","人防风机"]
[{"$nulls":6},"ADFD","Filtering Dehumidifier","滤毒除湿机"]
[{"$nulls":6},"ADIO","Inlet and Outlet","人防风口"]
["WS","Water Supply and Drainage","给排水专业","DW","Domestic Water Supply","生活给水系统","DWSU","Supply Unit","生活给水供水机组"]
[{"$nulls":6},"DWTS","Tank Sterilizer","生活给水水箱消毒器"]
[{"$nulls":6},"DWUS","Ultraviolet Sterilizer","生活给水紫外线消毒器"]
[{"$nulls":6},"DWWT","Water Tank","生活给水储水箱"]
[{"$nulls":6},"DWPT","Pressure Tank","生活给水压力罐"]
[{"$nulls":6},"DWPP","Pump","生活给水水泵"]
[null,null,null,"DH","Domestic Hot Water","生活热水系统","DHCB","Coal Boiler","生活热水燃煤锅炉"]
[{"$nulls":6},"DHFB","Fuel Boiler","生活热水燃油锅炉"]
[{"$nulls":6},"DHGB","Gas Boiler","生活热水燃气锅炉"]
[{"$nulls":6},"DHEB","Electric Boiler","生活热水电锅炉"]
[{"$nulls":6},"DHAH","Air Source Heat Pump","生活热水空气源热泵"]
[{"$nulls":6},"DHGH","Gas Water Heater","生活热水燃气热水器"]
[{"$nulls":6},"DHEH","Electric Water Heater","生活热水电热水器"]
[{"$nulls":6},"DHSC","Solar Thermal Collector","生活热水太阳能集热器"]
[{"$nulls":6},"DHHA","Heat Auxiliary Equipment","生活热水辅热设备"]
[{"$nulls":6},"DHHE","Heat Exchanger","生活热水换热器"]
[{"$nulls":6},"DHHP","Hot Water Pump","生活热水水泵"]
[{"$nulls":6},"DHWT","Water Tank","生活热水储水箱"]
[null,null,null,"RW","Reclaimed Water","中水系统","RWSU","Supply Unit","中水供水机组"]
[{"$nulls":6},"RWTU","Treatment Unit","中水处理机组"]
[{"$nulls":6},"RWWT","Water Tank","中水储水箱"]
[{"$nulls":6},"RWRC","Rainwater Collector","雨水收集设备"]
[{"$nulls":6},"RWPP","Pump","中水供水水泵"]
[null,null,null,"DD","Direct Drinking Water","直饮水系统","DDTU","Treatment Unit","直饮水处理机组"]
[{"$nulls":6},"DDIH","Instant Heater","直饮水即时加热器"]
[null,null,null,"ST","Sewage Treatment","污水处理系统","STLU","Lifting Unit","污废水一体式提升机组"]
[{"$nulls":6},"STSP","Sump Pump","潜污泵"]
[{"$nulls":6},"STOR","Oil Remove Device","餐饮除油成套设备"]
[{"$nulls":6},"STST","Septic Tank","化粪池"]
[{"$nulls":6},"STCP","Catchpit","集水坑"]
[{"$nulls":6},"STOS","Oil Separator","隔油池"]
[null,null,null,"SI","Spray Irrigation","喷灌系统","SISU","Supply Unit","喷灌机组"]
[{"$nulls":6},"SISN","Spray Nozzle","喷灌喷头"]
[{"$nulls":6},"SICU","Control Unit","喷灌控制箱"]
[null,null,null,"WS","Waterscape","水景系统","WSCF","Circulating Filter Unit","水景循环过滤机组"]
[{"$nulls":6},"WSSN","Spray Nozzle","水景喷头"]
[{"$nulls":6},"WSCU","Control Unit","水景控制箱"]
[{"$nulls":6},"WSLT","Lighting","水景灯具"]
[{"$nulls":6},"WSPP","Pump","水景水泵"]
[null,null,null,"WP","Water Pool","泳池系统","WPCF","Circulating Filter Unit","泳池循环过滤机组"]
[null,null,null,"FG","Fuel Gas","燃气系统","FGPA","Pressure Adjusting Box","燃气调压箱"]
[{"$nulls":6},"FGLP","Liquified Petroleum Gas Cylinder","液化石油气瓶"]
[null,null,null,"WH","Water Supply and Drainage Electric Trace Heating","给排水电伴热系统","WHTC","Trace Heating Cable","给排水伴热电缆"]
[{"$nulls":6},"WHIB","Insulation Box","给排水伴热保温器"]
[{"$nulls":6},"WHCU","Control Unit","给排水伴热控制箱"]
[null,null,null,"WD","Water Supply and Drainage Defense","给排水人防系统","WDWT","Water Tank","人防储水箱"]
["FF","Fire Fighting","消防专业","FA","Fire Alarm","火灾报警系统","FAHT","Host Terminal","火灾报警主机"]
[{"$nulls":6},"FADS","Display Screen","火灾报警显示屏"]
[{"$nulls":6},"FALP","Linkage Platform","联动琴台"]
[{"$nulls":6},"FASE","Sensor","火灾探测器"]
[{"$nulls":6},"FAAL","Alerter","火灾报警声光报警器"]
[{"$nulls":6},"FAMA","Manual Alarm Button","消防手动报警按钮"]
[{"$nulls":6},"FATL","Telephone","消防电话"]
[{"$nulls":6},"FACU","Control Unit","火灾报警控制箱"]
[null,null,null,"GA","Gas Alarm","燃气报警系统","GAHT","Host Terminal","燃气报警主机"]
[{"$nulls":6},"GASE","Sensor","燃气探测器"]
[{"$nulls":6},"GACV","Cut-off Valve","燃气切断阀"]
[{"$nulls":6},"GACU","Control Unit","燃气报警控制箱"]
[null,null,null,"EA","Electric Leakage Fire Alarm","漏电火灾报警系统","EAHT","Host Terminal","漏电火灾报警主机"]
[{"$nulls":6},"EALS","Leakage Sensor","漏电探测器"]
[{"$nulls":6},"EACU","Control Unit","漏电火灾报警控制箱"]
[null,null,null,"BM","Emergency Broadcast and Background Music","紧急广播及背景音乐系统","BMFE","Front End","广播前端设备"]
[{"$nulls":6},"BMHT","Host Terminal","广播主机"]
[{"$nulls":6},"BMCU","Control Unit","广播分区控制箱"]
[{"$nulls":6},"BMDS","Display Screen","广播显示屏"]
[{"$nulls":6},"BMSP","Speaker","扬声器"]
[null,null,null,"FS","Fire Water Supply","消防给水系统","FSHP","Hydrant Pump","消火栓供水加压泵"]
[{"$nulls":6},"FSSP","Spray Pump","喷淋供水加压泵"]
[{"$nulls":6},"FSMP","Mist Spray Pump","水喷雾供水加压泵"]
[{"$nulls":6},"FSAP","Apron Hydrant Pump","停机坪消防供水加压泵"]
[{"$nulls":6},"FSWM","Fire Water Monitor","消防水炮设备"]
[{"$nulls":6},"FSPS","Pressure Stabilizing Device","消防稳压设备"]
[{"$nulls":6},"FSFT","Foam Storage Tank","泡沫储罐组"]
[{"$nulls":6},"FSAC","Air Compressor","消防空压机"]
[{"$nulls":6},"FSWV","Wet Alarm Valve","湿式报警阀组"]
[{"$nulls":6},"FSDV","Dry Alarm Valve","干式报警阀组"]
[{"$nulls":6},"FSPV","Preaction Alarm Valve","预作用报警阀组"]
[{"$nulls":6},"FSHB","Hydrant Box","消火栓箱"]
[{"$nulls":6},"FSOH","Outdoor Hydrant","室外消火栓"]
[{"$nulls":6},"FSPC","Pump Connector","消防水泵接合器"]
[{"$nulls":6},"FSTC","Trace Heating Cable","消防伴热电缆"]
[{"$nulls":6},"FSET","End Water Tester","消防末端试水装置"]
[{"$nulls":6},"FSWT","Water Tank","消防水箱"]
[{"$nulls":6},"FSFP","Fill Pump","消防补水泵"]
[{"$nulls":6},"FSSN","Spray Nozzle","消防喷头"]
[{"$nulls":6},"FSCP","Control Panel","消火栓控制面板"]
[{"$nulls":6},"FSCU","Control Unit","消防给水控制箱"]
[null,null,null,"GE","Gas Extinguishing","气体灭火系统","GEBG","Bottle Group","气体灭火瓶组"]
[{"$nulls":6},"GESB","Start Bottle","气体灭火启动瓶"]
[{"$nulls":6},"GECU","Control Unit","气体灭火控制箱"]
[{"$nulls":6},"GESN","Spray Nozzle","气体灭火喷头"]
[null,null,null,"FE","Fire Extinguisher","灭火器系统","FEFE","Fire Extinguisher","灭火器"]
[null,null,null,"SC","Smoke Control","防排烟系统","SCEF","Exhaust Fan","防排烟风机"]
[{"$nulls":6},"SCIO","Inlet and Outlet","排烟风口"]
[{"$nulls":6},"SCSD","Smoke Fire Damper","防火排烟阀"]
[null,null,null,"FR","Fire Resistance Rolling Shutter Door","防火卷帘门系统","FRFR","Fire Resistance Rolling Shutter Door","防火卷帘门"]
[{"$nulls":6},"FRCP","Control Panel","防火卷帘门控制面板"]
[{"$nulls":6},"FRCU","Control Unit","防火卷帘门控制箱"]
[null,null,null,"EE","Emergency Lighting and Evacuation Instruction","应急照明及疏散指示系统","EEHT","Host Terminal","应急照明及疏散指示主机"]
[{"$nulls":6},"EECU","Control Unit","应急照明及疏散指示控制箱"]
[{"$nulls":6},"EEEL","Emergency Lighting","应急照明灯具"]
[{"$nulls":6},"EEEI","Evacuation Instruction","疏散指示灯牌"]
[null,null,null,"KE","Kitchen Auto Extinguishing","厨房自动灭火系统","KECU","Control Unit","厨房自动灭火控制箱"]
[{"$nulls":6},"KEEC","Bottle Group","厨房自动灭火灭火剂容器"]
[{"$nulls":6},"KESN","Spray Nozzle","厨房自动灭火喷头"]
["SP","Security Protection","安防专业","VS","Video Surveillance","视频监控系统","VSHT","Host Terminal","监控主机"]
[{"$nulls":6},"VSCM","Camera","监控摄像头"]
[{"$nulls":6},"VSFE","Front End","监控前端设备"]
[{"$nulls":6},"VSVM","Video Monitor","监视器"]
[{"$nulls":6},"VSDR","Hard Disk Recorder","硬盘录像机"]
[{"$nulls":6},"VSCU","Control Unit","监控控制箱"]
[null,null,null,"NP","Night Patrol","巡更系统","NPHT","Host Terminal","巡更主机"]
[{"$nulls":6},"NPCU","Control Unit","巡更控制箱"]
[{"$nulls":6},"NPCP","Control Panel","巡更通讯座"]
[{"$nulls":6},"NPPS","Patrol Stick","巡更棒"]
[null,null,null,"EG","Entrance Guard","门禁系统","EGHT","Host Terminal","门禁主机"]
[{"$nulls":6},"EGCU","Control Unit","门禁控制箱"]
[{"$nulls":6},"EGCR","Card Reader","门禁读卡器"]
[{"$nulls":6},"EGFG","Fast Gate","速通门"]
[null,null,null,"IA","Intrusion Alarm","入侵报警系统","IAHT","Host Terminal","入侵报警主机"]
[{"$nulls":6},"IACU","Control Unit","入侵报警控制箱"]
[{"$nulls":6},"IASE","Sensor","入侵报警探测器"]
["OT","Other","其他","PW","Pipe Network","管网系统","PWSE","Strong Electricity Wire","强电线路"]
[{"$nulls":6},"PWWE","Weak Electricity Wire","弱电线路"]
[{"$nulls":6},"PWGS","Gas Pipeline","气体管道"]
[{"$nulls":6},"PWLQ","Liquid Pipeline","液体管道"]
[null,null,null,"SE","Sensor","传感器系统","SETP","Temperature","温度传感器"]
[{"$nulls":6},"SERH","Related Humidity","湿度传感器"]
[{"$nulls":6},"SEPS","Pressure","压力传感器"]
[{"$nulls":6},"SECT","Concentration","浓度传感器"]
[{"$nulls":6},"SESP","Speed","速度传感器"]
[{"$nulls":6},"SEDP","Displacement","位移传感器"]
[{"$nulls":6},"SEFL","Flow","流量传感器"]
[{"$nulls":6},"SEHT","Heat","热量传感器"]
[{"$nulls":6},"SEEE","Electricity","电度传感器"]
[{"$nulls":6},"SESD","Sound","声音传感器"]
[{"$nulls":6},"SEVD","Video","图像传感器"]
[{"$nulls":6},"SEPF","People Flow","人流量传感器"]
[{"$nulls":6},"SECB","Combination","组合式传感器"]
[null,null,null,"AE","Actuator","执行器系统","AEOV","On Off Valve","通断阀"]
[{"$nulls":6},"AEAV","Adjusting Valve","调节阀"]
[{"$nulls":6},"AECV","Check Valve","止回阀"]
[{"$nulls":6},"AERV","Reducing Valve","减压阀"]
[{"$nulls":6},"AESV","Safety Valve","安全阀"]
[{"$nulls":6},"AERL","Relay","继电器"]
[{"$nulls":6},"AEFC","Frequency Converter","变频器"]
[null,null,null,"TL","Tool","工具系统","TLTL","Tool","工具"]
[null,null,null,"XX",null,"其他系统","XXXX",null,"其他设备"]
["CF","Civil and Facility","土建专业","FD","Foundation","基础","FDCS","Cushion","基础垫层"]
[{"$nulls":6},"FDWB","Waterproof Board","基础防水板"]
[{"$nulls":6},"FDGD","Girder","基础梁"]
[{"$nulls":6},"FDPN","Panel","基础板"]
[{"$nulls":6},"FDAA","Anti-floating Anchor","基础抗浮锚杆"]
[{"$nulls":6},"FDPL","Pile","基础桩"]
[{"$nulls":6},"FDED","Elevator Foundation Ditch","基础电梯基坑"]
[{"$nulls":6},"FDCP","Catchpit","基础集水坑"]
[null,null,null,"CL","Column","柱"]
[null,null,null,"GD","Girder","梁"]
[null,null,null,"TR","Truss","桁架"]
[null,null,null,"WL","Wall","墙","WLBD","Body","墙体"]
[{"$nulls":6},"WLIL","Insulating Layer","墙保温层"]
[{"$nulls":6},"WLEP","Embedded Part","墙预埋件"]
[{"$nulls":6},"WLCT","Coating","墙涂层"]
[null,null,null,"FL","Floor","楼板"]
[null,null,null,"RF","Roof","屋顶"]
[null,null,null,"SW","Stair","楼梯","SWBD","Body","楼梯主体"]
[{"$nulls":6},"SWRW","Rampway","楼梯坡道"]
[{"$nulls":6},"SWAR","Armrest","楼梯扶手"]
[null,null,null,"DR","Door","门"]
[null,null,null,"WN","Window","窗"]
[null,null,null,"CW","Curtain Wall","幕墙","CWKL","Keel","幕墙龙骨"]
[{"$nulls":6},"CWPN","Panel","幕墙嵌板"]
[{"$nulls":6},"CWCP","Component","幕墙组件"]
[null,null,null,"LR","Daylighting Roof","采光顶","LRKL","Keel","采光顶龙骨"]
[{"$nulls":6},"LRPN","Panel","采光顶嵌板"]
[{"$nulls":6},"LRCP","Component","采光顶组件"]
[null,null,null,"AW","Awning","雨蓬"]
[null,null,null,"OS","Outside Sun Shade","外遮阳","OSMT","Motor","外遮阳电机"]
[{"$nulls":6},"OSCT","Curtain","外遮阳帘"]
[null,null,null,"ID","Interior Decoration","室内装饰","IDWS","Washstand","盥洗盆"]
[{"$nulls":6},"IDTL","Toilet","坐便器"]
[{"$nulls":6},"IDSP","Squatting Pan","蹲便器"]
[{"$nulls":6},"IDUR","Urinal","小便器"]
[{"$nulls":6},"IDHD","Hand Drier","干手机"]
[{"$nulls":6},"IDBT","Bathtub","浴缸"]
[{"$nulls":6},"IDSK","Sink","洗碗槽"]
[{"$nulls":6},"IDCL","Ceiling","吊顶"]

{"sheet":"土建设施类","index":2,"n_rows":41,"n_cols":9,"rows_kept":41,"cut":false,"hidden":false,"merged":[[2,0,40,0],[2,1,40,1],[2,2,40,2],[2,4,9,4],[13,4,16,4],[19,4,21,4],[24,4,26,4],[27,4,29,4],[31,4,32,4],[33,4,40,4],[2,3,9,3],[2,5,9,5],[24,3,26,3],[24,5,26,5],[33,3,40,3],[33,5,40,5],[27,3,29,3],[27,5,29,5],[13,3,16,3],[13,5,16,5],[31,3,32,3],[31,5,32,5],[19,3,21,3],[19,5,21,5]]}
[]
["专业编码","专业英文名称","专业名称","设施类编码","设施类英文名称","设施类名称","设施部件类编码","设施部件类英文名称","设施部件类名称"]
["CF","Civil and Facility","土建专业","FD","Foundation","基础","FDCS","Cushion","基础垫层"]
[{"$nulls":6},"FDWB","Waterproof Board","基础防水板"]
[{"$nulls":6},"FDGD","Girder","基础梁"]
[{"$nulls":6},"FDPN","Panel","基础板"]
[{"$nulls":6},"FDAA","Anti-floating Anchor","基础抗浮锚杆"]
[{"$nulls":6},"FDPL","Pile","基础桩"]
[{"$nulls":6},"FDED","Elevator Foundation Ditch","基础电梯基坑"]
[{"$nulls":6},"FDCP","Catchpit","基础集水坑"]
[null,null,null,"CL","Column","柱"]
[null,null,null,"GD","Girder","梁"]
[null,null,null,"TR","Truss","桁架"]
[null,null,null,"WL","Wall","墙","WLBD","Body","墙体"]
[{"$nulls":6},"WLIL","Insulating Layer","墙保温层"]
[{"$nulls":6},"WLEP","Embedded Part","墙预埋件"]
[{"$nulls":6},"WLCT","Coating","墙涂层"]
[null,null,null,"FL","Floor","楼板"]
[null,null,null,"RF","Roof","屋顶"]
[null,null,null,"SW","Stair","楼梯","SWBD","Body","楼梯主体"]
[{"$nulls":6},"SWRW","Rampway","楼梯坡道"]
[{"$nulls":6},"SWAR","Armrest","楼梯扶手"]
[null,null,null,"DR","Door","门"]
[null,null,null,"WN","Window","窗"]
[null,null,null,"CW","Curtain Wall","幕墙","CWKL","Keel","幕墙龙骨"]
[{"$nulls":6},"CWPN","Panel","幕墙嵌板"]
[{"$nulls":6},"CWCP","Component","幕墙组件"]
[null,null,null,"LR","Daylighting Roof","采光顶","LRKL","Keel","采光顶龙骨"]
[{"$nulls":6},"LRPN","Panel","采光顶嵌板"]
[{"$nulls":6},"LRCP","Component","采光顶组件"]
[null,null,null,"AW","Awning","雨蓬"]
[null,null,null,"OS","Outside Sun Shade","外遮阳","OSMT","Motor","外遮阳电机"]
[{"$nulls":6},"OSCT","Curtain","外遮阳帘"]
[null,null,null,"ID","Interior Decoration","室内装饰","IDWS","Washstand","盥洗盆"]
[{"$nulls":6},"IDTL","Toilet","坐便器"]
[{"$nulls":6},"IDSP","Squatting Pan","蹲便器"]
[{"$nulls":6},"IDUR","Urinal","小便器"]
[{"$nulls":6},"IDHD","Hand Drier","干手机"]
[{"$nulls":6},"IDBT","Bathtub","浴缸"]
[{"$nulls":6},"IDSK","Sink","洗碗槽"]
[{"$nulls":6},"IDCL","Ceiling","吊顶"]

{"sheet":"设备（部件）族","index":3,"n_rows":304,"n_cols":8,"rows_kept":304,"cut":false,"hidden":false,"merged":[[295,0,301,0],[295,1,301,1],[295,4,301,4],[276,0,277,0],[276,1,277,1],[276,4,277,4],[283,0,284,0],[283,1,284,1],[283,4,284,4],[264,0,265,0],[264,1,265,1],[264,4,265,4],[268,0,269,0],[268,1,269,1],[268,4,269,4],[242,0,243,0],[242,1,243,1],[242,4,243,4],[251,0,254,0],[251,1,254,1],[251,4,254,4],[187,0,188,0],[187,1,188,1],[187,4,188,4],[210,0,224,0],[210,1,224,1],[210,4,224,4],[207,0,209,0],[207,1,209,1],[207,4,209,4],[147,0,149,0],[147,1,149,1],[147,4,149,4],[173,0,177,0],[173,1,177,1],[173,4,177,4],[152,0,168,0],[152,1,168,1],[152,4,168,4],[128,0,131,0],[128,1,131,1],[128,4,131,4],[135,0,136,0],[135,1,136,1],[135,4,136,4],[115,1,116,1],[115,4,116,4],[120,0,122,0],[120,1,122,1],[120,4,122,4],[39,0,43,0],[39,1,43,1],[39,4,43,4],[54,0,82,0],[54,1,82,1],[54,4,82,4],[44,0,45,0],[44,1,45,1],[44,4,45,4],[31,0,32,0],[31,1,32,1],[31,4,32,4],[36,0,37,0],[36,1,37,1],[36,4,37,4],[25,0,26,0],[25,1,26,1],[25,4,26,4],[29,0,30,0],[29,1,30,1],[29,4,30,4],[5,0,6,0],[5,1,6,1],[5,4,6,4],[19,0,20,0],[19,1,20,1],[19,4,20,4],[15,0,16,0],[15,1,16,1],[15,4,16,4],[180,0,181,0],[180,1,181,1],[180,4,181,4],[47,0,48,0],[47,1,48,1],[47,4,48,4],[85,0,88,0],[85,1,88,1],[85,4,88,4],[94,0,97,0],[94,1,97,1],[94,4,97,4],[100,0,101,0],[100,1,101,1],[100,4,101,4],[115,0,116,0]]}
["设备（部件）族名称","设备（部件）族编码","设备（部件）类名称","设备（部件）类编码","设备类编码后两位","备注"]
["抗浮锚杆","AAA","基础抗浮锚杆","FDAA","AA","土建类"]
["吸收式冷水机组","ACA","吸收式冷水机组","CCAC","AC",null,null,"设备码重复"]
["热风幕","ACB","热风幕","VTAC","AC",null,null,"设备部件"]
["空压机","ACC","消防空压机","FSAC","AC",null,null,"多个设备码"]
["空气源热泵","AHA","空调空气源热泵","CCAH","AH",null,null,"其他"]
[null,null,"生活热水空气源热泵","DHAH"]
["空调机组","AHB","空调机组","ATAH","AH"]
["声光报警器","ALA","火灾报警声光报警器","FAAL","AL"]
["空气净化器","APA","空气净化器","VTAP","AP"]
["油烟净化器","APB","油烟净化器","KLAP","AP"]
["无线AP点位","APC","无线AP点位","LNAP","AP"]
["扶手","ARA","楼梯扶手","SWAR","AR","土建类"]
["信号放大天线","ATA","信号放大天线","MAAT","AT"]
["调节阀","AVA","调节阀","AEAV","AV"]
["主体","BDA","墙体","WLBD","BD","土建类"]
[null,null,"楼梯主体","SWBD",null,"土建类"]
["生物质炊暖炉","BFA","生物质炊暖炉","CHBF","BF"]
["气体灭火瓶组","BGA","气体灭火瓶组","GEBG","BG"]
["母线插接箱","BPA","变配电母线插接箱","TDBP","BP"]
[null,null,"租户母线插接箱","TPBP"]
["备用电源","BPB","备用电源","BPBP","BP"]
["地埋管","BPC","地埋管","CCGHBP","BP","设备部件"]
["浴缸","BTA","浴缸","IDBT","BT","土建类"]
["定风量箱","CAA","定风量箱","ATCA","CA"]
["燃煤锅炉","CBA","供热燃煤锅炉","CHCB","CB"]
[null,null,"生活热水燃煤锅炉","DHCB"]
["组合式传感器","CBB","组合式传感器","SECB","CB"]
["离心式冷水机组","CCA","离心式冷水机组","CCCC","CC"]
["水加药装置","CDA","供冷水加药装置","CCCD","CD"]
[null,null,"供热水加药装置","CHCD"]
["定压补水装置","CFA","供冷定压补水装置","CCCF","CF"]
[null,null,"供热定压补水装置","CHCF"]
["水景循环过滤机组","CFB","水景循环过滤机组","WSCF","CF"]
["泳池循环过滤机组","CFC","泳池循环过滤机组","WPCF","CF"]
["吊顶","CLA","吊顶","IDCL","CL","土建类"]
["摄像头","CMA","车库摄像头","GMCM","CM"]
[null,null,"监控摄像头","VSCM"]
["充电桩","CPA","充电桩","GMCP","CP"]
["控制面板","CPB","照明控制面板","LTCP","CP"]
[null,null,"楼控控制面板","BACP"]
[null,null,"通风控制面板","VTCP"]
[null,null,"消火栓控制面板","FSCP"]
[null,null,"防火卷帘门控制面板","FRCP"]
["集水坑","CPC","集水坑","STCP","CP"]
[null,null,"基础集水坑","FDCP",null,"土建类"]
["巡更通讯座","CPD","巡更通讯座","NPCP","CP"]
["组件","CPE","幕墙组件","CWCP","CP","土建类"]
[null,null,"采光顶组件","LRCP",null,"土建类"]
["门禁读卡器","CRA","门禁读卡器","EGCR","CR"]
["垫层","CSA","基础垫层","FDCS","CS","土建类"]
["浓度传感器","CTA","浓度传感器","SECT","CT"]
["涂层","CTB","墙涂层","WLCT","CT","土建类"]
["帘","CTC","外遮阳帘","OSCT","CT","土建类"]
["控制箱","CUA","柴发控制箱","DGCU","CU"]
[null,null,"备用电源控制箱","BPCU"]
[null,null,"机房动力控制箱","EPCU"]
[null,null,"室外动力控制箱","OPCU"]
[null,null,"电梯控制箱","ELCU"]
[null,null,"照明控制箱","LTCU"]
[null,null,"租户配电控制箱","TPCU"]
[null,null,"强电人防控制箱","SDCU"]
[null,null,"楼控控制箱","BACU"]
[null,null,"电视信号控制箱","TVCU"]
[null,null,"多媒体控制箱","MICU"]
[null,null,"无线对讲控制箱","WTCU"]
[null,null,"车库控制箱","GMCU"]
[null,null,"喷灌控制箱","SICU"]
[null,null,"水景控制箱","WSCU"]
[null,null,"给排水伴热控制箱","WHCU"]
[null,null,"火灾报警控制箱","FACU"]
[null,null,"燃气报警控制箱","GACU"]
[null,null,"漏电火灾报警控制箱","EACU"]
[null,null,"广播分区控制箱","BMCU"]
[null,null,"消防给水控制箱","FSCU"]
[null,null,"气体灭火控制箱","GECU"]
[null,null,"防火卷帘门控制箱","FRCU"]
[null,null,"应急照明及疏散指示控制箱","EECU"]
[null,null,"厨房自动灭火控制箱","KECU"]
[null,null,"监控控制箱","VSCU"]
[null,null,"巡更控制箱","NPCU"]
[null,null,"门禁控制箱","EGCU"]
[null,null,"入侵报警控制箱","IACU"]
["燃气切断阀","CVA","燃气切断阀","GACV","CV"]
["止回阀","CVB","止回阀","AECV","CV"]
["分集水器","DCA","供冷分水器","CCDB","DB，CL"]
[null,null,"供冷集水器","CCCL"]
[null,null,"供热分水器","CHDB"]
[null,null,"供热集水器","CHCL"]
["柴油发电机","DGA","柴油发电机","DGDG","DG"]
["除味装置","DOA","通风除味装置","VTDO","DO"]
["位移传感器","DPA","位移传感器","SEDP","DP"]
["硬盘录像机","DRA","硬盘录像机","VSDR","DR"]
["直流屏","DSA","直流屏","TDDS","DS"]
["显示屏","DSB","多媒体显示屏","MIDS","DS"]
[null,null,"车库显示屏","GMDS"]
[null,null,"火灾报警显示屏","FADS"]
[null,null,"广播显示屏","BMDS"]
["干式报警阀组","DVA","干式报警阀组","FSDV","DV"]
["低压配电抽屉","DWA","低压配电抽屉","TDLSDW","DW","设备部件"]
["电锅炉","EBA","供热电锅炉","CHEB","EB"]
[null,null,"生活热水电锅炉","DHEB"]
["灭火剂容器","ECA","厨房自动灭火灭火剂容器","KEEC","EC"]
["电梯基坑","EDA","基础电梯基坑","FDED","ED","土建类"]
["电度传感器","EEA","电度传感器","SEEE","EE"]
["电热水器","EHA","生活热水电热水器","DHEH","EH"]
["疏散指示灯牌","EIA","疏散指示灯牌","EEEI","EI"]
["直梯","ELA","直梯","ELEL","EL"]
["应急照明灯具","ELB","应急照明灯具","EEEL","EL"]
["预埋件","EPA","墙预埋件","WLEP","EP","土建类"]
["扶梯","ESA","扶梯","ELES","ES"]
["末端试水装置","ETA","消防末端试水装置","FSET","ET"]
["电梯曳引机","ETB","电梯曳引机","ELET","ET"]
["交换机","EXA","交换机","LNEX","EX"]
["地板空调器","FAA","地板空调器","ATFA","FA"]
["燃油锅炉","FBA","供热燃油锅炉","CHFB","FB"]
[null,null,"生活热水燃油锅炉","DHFB"]
["风机盘管","FCA","风机盘管","ATFC","FC"]
["变频器","FCB","变频器","AEFC","FC"]
["滤毒除湿机","FDA","滤毒除湿机","ADFD","FD"]
["前端设备","FEA","电视前端设备","TVFE","FE"]
[null,null,"多媒体前端设备","MIFE"]
[null,null,"监控前端设备","VSFE"]
["广播前端设备","FEB","广播前端设备","BMFE","FE"]
["灭火器","FEC","灭火器","FEFE","FE"]
["速通门","FGA","速通门","EGFG","FG"]
["地板采暖设备","FHA","地板采暖设备","ATFH","FH"]
["流量传感器","FLA","流量传感器","SEFL","FL"]
["风机","FNA","通风风机","VTSF","SF，EF"]
[null,null,"厨房风机","KLSF"]
[null,null,"人防风机","ADSF"]
[null,null,"防排烟风机","SCEF"]
["防火卷帘门","FRA","防火卷帘门","FRFR","FR"]
["泡沫储罐组","FTA","泡沫储罐组","FSFT","FT"]
["新风机组","FUA","新风机组","ATFU","FU"]
["燃气锅炉","GBA","供热燃气锅炉","CHGB","GB"]
[null,null,"生活热水燃气锅炉","DHGB"]
["梁","GDA","基础梁","FDGD","GD","土建类"]
["地源热泵","GHA","空调地源热泵","CCGH","GH"]
["燃气热水器","GHB","生活热水燃气热水器","DHGH","GH"]
["车位引导灯","GLA","车位引导灯","GMGL","GL"]
["气体管道","GSA","气体管道","PWGS","GS"]
["进出闸机","GTA","进出闸机","GMGT","GT"]
["辅热设备","HAA","生活热水辅热设备","DHHA","HA"]
["消火栓箱","HBA","消火栓箱","FSHB","HB"]
["加湿器","HDA","空调加湿器","ATHD","HD"]
["干手机","HDB","干手机","IDHD","HD","土建类"]
["换热器","HEA","供冷换热器","CCHE","HE"]
[null,null,"供热换热器","CHHE"]
[null,null,"生活热水换热器","DHHE"]
["硬件防火墙","HFA","硬件防火墙","LNHF","HF"]
["高压开关柜","HSA","高压开关柜","TDHS","HS"]
["主机","HTA","备用电源主机","BPHT","HT"]
[null,null,"楼控主机","BAHT"]
[null,null,"多媒体主机","MIHT"]
[null,null,"车库主机","GMHT"]
[null,null,"服务器主机","LNHT"]
[null,null,"客流管理主机","PMHT"]
[null,null,"租户管理主机","TMHT"]
[null,null,"移动通信信号放大主机","MAHT"]
[null,null,"火灾报警主机","FAHT"]
[null,null,"燃气报警主机","GAHT"]
[null,null,"漏电火灾报警主机","EAHT"]
[null,null,"广播主机","BMHT"]
[null,null,"应急照明及疏散指示主机","EEHT"]
[null,null,"监控主机","VSHT"]
[null,null,"巡更主机","NPHT"]
[null,null,"门禁主机","EGHT"]
[null,null,"入侵报警主机","IAHT"]
["热量传感器","HTB","热量传感器","SEHT","HT"]
["伴热保温器","IBA","给排水伴热保温器","WHIB","IB"]
["即时加热器","IHA","直饮水即时加热器","DDIH","IH"]
["保温层","ILA","墙体保温层","WLIL","IL","土建类"]
["风口","IOA","空调风口","ATIO","IO"]
[null,null,"通风风口","VTIO"]
[null,null,"厨房风口","KLIO"]
[null,null,"人防风口","ADIO"]
[null,null,"排烟风口","SCIO"]
["综合保护装置","IPA","综合保护装置","TDHSIP","IP","设备部件"]
["室内机","IUA","变频多联机室内机","ATVI","VI"]
["龙骨","KLA","幕墙龙骨","CWKL","KL","土建类"]
[null,null,"采光顶龙骨","LRKL",null,"土建类"]
["液化石油气瓶","LPA","液化石油气瓶","FGLP","LP"]
["联动琴台","LPB","联动琴台","FALP","LP"]
["液体管道","LQA","液体管道","PWLQ","LQ"]
["低压开关柜","LSA","低压开关柜","TDLS","LS"]
["漏电探测器","LSB","漏电探测器","EALS","LS"]
["灯具","LTA","照明灯具","LTLT","LT"]
[null,null,"水景灯具","WSLT"]
["污废水一体式提升机组","LUA","污废水一体式提升机组","STLU","LU"]
["手动报警按钮","MAA","消防手动报警按钮","FAMA","MA"]
["消声器","MFA","空调消声器","ATMF","MF"]
["机械车位","MPA","机械车位","GMMP","MP"]
["电机","MTA","外遮阳电机","OSMT","MT","土建类"]
["室外消火栓","OHA","室外消火栓","FSOH","OH"]
["餐饮除油成套设备","ORA","餐饮除油成套设备","STOR","OR"]
["隔油池","OSA","隔油池","STOS","OS"]
["冷却塔","OTA","冷却塔","CCOT","OT"]
["室外机","OUA","变频多联机室外机","ATVO","VO"]
["通断阀","OVA","通断阀","AEOV","OV"]
["燃气调压箱","PAA","燃气调压箱","FGPA","PA"]
["水泵接合器","PCA","消防水泵接合器","FSPC","PC"]
["静压箱","PCB","空调静压箱","ATPC","PC"]
["车位检测器","PDA","车位检测器","GMPD","PD"]
["人流量传感器","PFA","人流量传感器","SEPF","PF"]
["播放器","PLA","播放器","MIPL","PL"]
["桩","PLB","基础桩","FDPL","PL","土建类"]
["嵌板","PNA","基础板","FDPN","PN","土建类"]
[null,null,"幕墙嵌板","CWPN",null,"土建类"]
[null,null,"采光顶嵌板","LRPN",null,"土建类"]
["水泵","PPA","供冷冷冻水泵","CCCP","CP，OP，GP，FP，HP，SP，MP，AP，PP"]
[null,null,"供冷冷却水泵","CCOP"]
[null,null,"供冷乙二醇泵","CCGP"]
[null,null,"供冷补水泵","CCFP"]
[null,null,"供热水泵","CHHP"]
[null,null,"供热补水泵","CHFP"]
[null,null,"生活给水水泵","DWPP"]
[null,null,"生活热水水泵","DHHP"]
[null,null,"中水供水水泵","RWPP"]
[null,null,"水景水泵","WSPP"]
[null,null,"消火栓供水加压泵","FSHP"]
[null,null,"喷淋供水加压泵","FSSP"]
[null,null,"水喷雾供水加压泵","FSMP"]
[null,null,"停机坪消防供水加压泵","FSAP"]
[null,null,"消防补水泵","FSFP"]
["稳压设备","PSA","消防稳压设备","FSPS","PS"]
["巡更棒","PSB","巡更棒","NPPS","PS"]
["压力传感器","PSC","压力传感器","SEPS","PS"]
["压力罐","PTA","生活给水压力罐","DWPT","PT"]
["预作用报警阀组","PVA","预作用报警阀组","FSPV","PV"]
["雨水收集设备","RCA","雨水收集设备","RWRC","RC"]
["散热器","RDA","散热器","ATRD","RD"]
["湿度传感器","RHA","湿度传感器","SERH","RH"]
["继电器","RLA","继电器","AERL","RL"]
["中继台","RSA","中继台","WTRS","RS"]
["路由器","RTA","路由器","LNRT","RT"]
["减压阀","RVA","减压阀","AERV","RV"]
["坡道","RWA","楼梯坡道","SWRW","RW","土建类"]
["分体空调","SAA","分体空调","ATSA","SA"]
["气体灭火启动瓶","SBA","气体灭火启动瓶","GESB","SB"]
["螺杆式冷水机组","SCA","螺杆式冷水机组","CCSC","SC"]
["太阳能集热器","SCB","生活热水太阳能集热器","DHSC","SC"]
["软化水装置","SDA","供冷软化水装置","CCSD","SD"]
[null,null,"供热软化水装置","CHSD"]
["防火排烟阀","SDB","防火排烟阀","SCSD","SD"]
["声音传感器","SDC","声音传感器","SESD","SD"]
["火灾探测器","SEA","火灾探测器","FASE","SE"]
["燃气探测器","SEB","燃气探测器","GASE","SE"]
["入侵报警探测器","SEC","入侵报警探测器","IASE","SE"]
["强电线路","SED","强电线路","PWSE","SE"]
["洗碗槽","SKA","洗碗槽","IDSK","SK","土建类"]
["喷头","SNA","喷灌喷头","SISN","SN"]
[null,null,"水景喷头","WSSN"]
[null,null,"消防喷头","FSSN"]
[null,null,"厨房自动灭火喷头","KESN"]
["气体灭火喷头","SNB","气体灭火喷头","GESN","SN"]
["太阳能电池板","SPA","太阳能电池板","BPSP","SP"]
["潜污泵","SPB","潜污泵","STSP","SP"]
["扬声器","SPC","扬声器","BMSP","SP"]
["速度传感器","SPD","速度传感器","SESP","SP"]
["蹲便器","SPE","蹲便器","IDSP","SP","土建类"]
["自助终端机","STA","自助终端机","MIST","ST"]
["蓄冷热槽","STB","蓄冷热槽","CCST","ST"]
["化粪池","STC","化粪池","STST","ST"]
["供水机组","SUA","生活给水供水机组","DWSU","SU"]
[null,null,"中水供水机组","RWSU"]
["喷灌机组","SUB","喷灌机组","SISU","SU"]
["安全阀","SVA","安全阀","AESV","SV"]
["伴热电缆","TCA","给排水伴热电缆","WHTC","TC"]
[null,null,"消防伴热电缆","FSTC"]
["变压器","TFA","变压器","TDTF","TF"]
["工具","TLA","工具","TLTL","TL"]
["电话","TLB","消防电话","FATL","TL"]
["坐便器","TLC","坐便器","IDTL","TL","土建类"]
["温度传感器","TPA","温度传感器","SETP","TP"]
["水箱消毒器","TSA","生活给水水箱消毒器","DWTS","TS"]
["全程水处理仪","TUA","供冷全程水处理仪","CCTU","TU"]
[null,null,"供热全程水处理仪","CHTU"]
["中水处理机组","TUB","中水处理机组","RWTU","TU"]
["直饮水处理机组","TUC","直饮水处理机组","DDTU","TU"]
["小便器","URA","小便器","IDUR","UR","土建类"]
["紫外线消毒器","USA","生活给水紫外线消毒器","DWUS","US"]
["变风量箱","VAA","变风量箱","ATVA","VA"]
["真空脱气机","VDA","供冷真空脱气机","CCVD","VD"]
[null,null,"供热真空脱气机","CHVD"]
["图像传感器","VDB","图像传感器","SEVD","VD"]
["监视器","VMA","监视器","VSVM","VM"]
["变频多联机","VRA","变频多联机","ATVR","VR"]
["防水板","WBA","基础防水板","FDWB","WB","土建类"]
["弱电线路","WEA","弱电线路","PWWE","WE"]
["风力发电装置","WGA","风力发电装置","BPWG","WG"]
["水源热泵","WHA","空调水源热泵","CCWH","WH"]
["消防水炮设备","WMA","消防水炮设备","FSWM","WM"]
["盥洗盆","WSA","盥洗盆","IDWS","WS","土建类"]
["对讲机","WTA","对讲机","WTWT","WT"]
["水箱","WTB","供冷水箱","CCWT","WT"]
[null,null,"供热水箱","CHWT"]
[null,null,"生活给水储水箱","DWWT"]
[null,null,"生活热水储水箱","DHWT"]
[null,null,"中水储水箱","RWWT"]
[null,null,"人防储水箱","WDWT"]
[null,null,"消防水箱","FSWT"]
["湿式报警阀组","WVA","湿式报警阀组","FSWV","WV"]
["其他","XXX","其他设备","XXXX","XX"]