{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Data"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Data","index":0,"n_rows":843,"n_cols":16,"rows_kept":843,"flags":["formulas_cached_only"]}
["building","meter","funcid","data_type","collect_cycle","system","source","address_1","ip_port","address_2","address_3","address_4","unit","remark1","remark2","remark3"]
["1101080002","100001","11301","Inst","1min"]
["1101080002","100002","11301","Inst","1min"]
["1101080002","100003","11301","Inst","1min"]
["1101080002","100004","11301","Inst","1min"]
["1101080002","100005","11301","Inst","1min"]
["1101080002","1001","101","Boolv","1min",null,null,"1","192.168.20.235","BIM硬件中心办公区新风机"]
["1101080002","1001","102","Boolv","1min",null,null,"1","192.168.20.235","BIM硬件中心办公区新风机"]
["1101080002","1001","103","Boolv","1min",null,null,"1","192.168.20.235","BIM硬件中心办公区新风机"]
["1101080002","1001","104","Boolv","1min",null,null,"1","192.168.20.235","BIM硬件中心办公区新风机"]
["1101080002","1001","105","Set_Inst","5min",null,null,"1","192.168.20.235","BIM硬件中心办公区新风机"]
["1101080002","1001","106","Set_Inst","5min",null,null,"1","192.168.20.235","BIM硬件中心办公区新风机"]
["1101080002","1001","107","Set_Inst","5min",null,null,"1","192.168.20.235","BIM硬件中心办公区新风机"]
["1101080002","1001","108","Set_Inst","5min",null,null,"1","192.168.20.235","BIM硬件中心办公区新风机"]
["1101080002","1001","109","Set_Inst","5min",null,null,"1","192.168.20.235","BIM硬件中心办公区新风机"]
["1101080002","1001","110","Set_Inst","5min",null,null,"1","192.168.20.235","BIM硬件中心办公区新风机"]
["1101080002","1001","111","Inst","1min",null,null,"1","192.168.20.235","BIM硬件中心办公区新风机"]
["1101080002","1001","112","Inst","1min",null,null,"1","192.168.20.235","BIM硬件中心办公区新风机"]
["1101080002","1001","113","Inst","1min",null,null,"1","192.168.20.235","BIM硬件中心办公区新风机"]
["1101080002","1001","114","Inst","1min",null,null,"1","192.168.20.235","BIM硬件中心办公区新风机"]
["1101080002","1001","115","Inst","1min",null,null,"1","192.168.20.235","BIM硬件中心办公区新风机"]
["1101080002","1001","116","Inst","1min",null,null,"1","192.168.20.235","BIM硬件中心办公区新风机"]
["1101080002","1001","117","Inst","1min",null,null,"1","192.168.20.235","BIM硬件中心办公区新风机"]
["1101080002","1001","118","Set_Inst","5min",null,null,"1","192.168.20.235","BIM硬件中心办公区新风机"]
["1101080002","1001","119","Set_Inst","5min",null,null,"1","192.168.20.235","BIM硬件中心办公区新风机"]
["1101080002","1001","120","Set_Inst","5min",null,null,"1","192.168.20.235","BIM硬件中心办公区新风机"]
["1101080002","1001","121","Set_Inst","5min",null,null,"1","192.168.20.235","BIM硬件中心办公区新风机"]
["1101080002","1002","101","Boolv","1min",null,null,"1","192.168.20.235","服务器机房新风机"]
["1101080002","1002","102","Boolv","1min",null,null,"1","192.168.20.235","服务器机房新风机"]
["1101080002","1002","103","Boolv","1min",null,null,"1","192.168.20.235","服务器机房新风机"]
["1101080002","1002","104","Boolv","1min",null,null,"1","192.168.20.235","服务器机房新风机"]
["1101080002","1002","105","Set_Inst","5min",null,null,"1","192.168.20.235","服务器机房新风机"]
["1101080002","1002","106","Set_Inst","5min",null,null,"1","192.168.20.235","服务器机房新风机"]
["1101080002","1002","107","Set_Inst","5min",null,null,"1","192.168.20.235","服务器机房新风机"]
["1101080002","1002","108","Set_Inst","5min",null,null,"1","192.168.20.235","服务器机房新风机"]
["1101080002","1002","109","Set_Inst","5min",null,null,"1","192.168.20.235","服务器机房新风机"]
["1101080002","1002","110","Set_Inst","5min",null,null,"1","192.168.20.235","服务器机房新风机"]
["1101080002","1002","111","Inst","1min",null,null,"1","192.168.20.235","服务器机房新风机"]
["1101080002","1002","112","Inst","1min",null,null,"1","192.168.20.235","服务器机房新风机"]
["1101080002","1002","113","Inst","1min",null,null,"1","192.168.20.235","服务器机房新风机"]
["1101080002","1002","114","Inst","1min",null,null,"1","192.168.20.235","服务器机房新风机"]
["1101080002","1002","115","Inst","1min",null,null,"1","192.168.20.235","服务器机房新风机"]
["1101080002","1002","116","Inst","1min",null,null,"1","192.168.20.235","服务器机房新风机"]
["1101080002","1002","117","Inst","1min",null,null,"1","192.168.20.235","服务器机房新风机"]
["1101080002","1002","118","Set_Inst","5min",null,null,"1","192.168.20.235","服务器机房新风机"]
["1101080002","1002","119","Set_Inst","5min",null,null,"1","192.168.20.235","服务器机房新风机"]
["1101080002","1002","120","Set_Inst","5min",null,null,"1","192.168.20.235","服务器机房新风机"]
["1101080002","1002","121","Set_Inst","5min",null,null,"1","192.168.20.235","服务器机房新风机"]
["1101080002","101002","11011","Inst","1min"]
["1101080002","101002","11012","Inst","1min"]
["1101080002","101002","11013","Inst","1min"]
["1101080002","101002","11014","Inst","1min"]
["1101080002","101002","11015","Inst","1min"]
["1101080002","101002","11021","Boolv","1min"]
["1101080002","101002","11022","Boolv","1min"]
["1101080002","101002","11023","Boolv","1min"]
["1101080002","101002","11024","Boolv","1min"]
["1101080002","101002","11025","Boolv","1min"]
["1101080002","101003","11011","Inst","1min"]
["1101080002","101003","11012","Inst","1min"]
["1101080002","101003","11013","Inst","1min"]
["1101080002","101003","11014","Inst","1min"]
["1101080002","101003","11015","Inst","1min"]
["1101080002","101003","11021","Boolv","1min"]
["1101080002","101003","11022","Boolv","1min"]
["1101080002","101003","11023","Boolv","1min"]
["1101080002","101003","11024","Boolv","1min"]
["1101080002","101003","11025","Boolv","1min"]
["1101080002","101004","11011","Inst","1min"]
["1101080002","101004","11012","Inst","1min"]
["1101080002","101004","11013","Inst","1min"]
["1101080002","101004","11014","Inst","1min"]
["1101080002","101004","11015","Inst","1min"]
["1101080002","101004","11021","Boolv","1min"]
["1101080002","101004","11022","Boolv","1min"]
["1101080002","101004","11023","Boolv","1min"]
["1101080002","101004","11024","Boolv","1min"]
["1101080002","101004","11025","Boolv","1min"]
["1101080002","101005","11011","Inst","1min"]
["1101080002","101005","11012","Inst","1min"]
["1101080002","101005","11013","Inst","1min"]
["1101080002","101005","11014","Inst","1min"]
["1101080002","101005","11015","Inst","1min"]
["1101080002","101005","11021","Boolv","1min"]
["1101080002","101005","11022","Boolv","1min"]
["1101080002","101005","11023","Boolv","1min"]
["1101080002","101005","11024","Boolv","1min"]
["1101080002","101005","11025","Boolv","1min"]
["1101080002","101006","11011","Inst","1min"]
["1101080002","101006","11012","Inst","1min"]
["1101080002","101006","11013","Inst","1min"]
["1101080002","101006","11014","Inst","1min"]
["1101080002","101006","11015","Inst","1min"]
["1101080002","101006","11021","Boolv","1min"]
["1101080002","101006","11022","Boolv","1min"]
["1101080002","101006","11023","Boolv","1min"]
["1101080002","101006","11024","Boolv","1min"]
["1101080002","101006","11025","Boolv","1min"]
["1101080002","201001","11011","Inst","1min"]
["1101080002","201001","11012","Inst","1min"]
["1101080002","201001","11013","Inst","1min"]
["1101080002","201001","11014","Inst","1min"]
["1101080002","201001","11015","Inst","1min"]
["1101080002","201001","11021","Boolv","1min"]
["1101080002","201001","11022","Boolv","1min"]
["1101080002","201001","11023","Boolv","1min"]
["1101080002","201001","11024","Boolv","1min"]
["1101080002","201001","11025","Boolv","1min"]
["1101080002","201002","11011","Inst","1min"]
["1101080002","201002","11012","Inst","1min"]
["1101080002","201002","11013","Inst","1min"]
["1101080002","201002","11014","Inst","1min"]
["1101080002","201002","11015","Inst","1min"]
["1101080002","201002","11021","Boolv","1min"]
["1101080002","201002","11022","Boolv","1min"]
["1101080002","201002","11023","Boolv","1min"]
["1101080002","201002","11024","Boolv","1min"]
["1101080002","201002","11025","Boolv","1min"]
["1101080002","201003","11011","Inst","1min"]
["1101080002","201003","11012","Inst","1min"]
["1101080002","201003","11013","Inst","1min"]
["1101080002","201003","11014","Inst","1min"]
["1101080002","201003","11015","Inst","1min"]
["1101080002","201003","11021","Boolv","1min"]
["1101080002","201003","11022","Boolv","1min"]
["1101080002","201003","11023","Boolv","1min"]
["1101080002","201003","11024","Boolv","1min"]
["1101080002","201003","11025","Boolv","1min"]
["1101080002","201004","11011","Inst","1min"]
["1101080002","201004","11012","Inst","1min"]
["1101080002","201004","11013","Inst","1min"]
["1101080002","201004","11014","Inst","1min"]
["1101080002","201004","11015","Inst","1min"]
["1101080002","201004","11021","Boolv","1min"]
["1101080002","201004","11022","Boolv","1min"]
["1101080002","201004","11023","Boolv","1min"]
["1101080002","201004","11024","Boolv","1min"]
["1101080002","201004","11025","Boolv","1min"]
["1101080002","201005","11011","Inst","1min"]
["1101080002","201005","11012","Inst","1min"]
["1101080002","201005","11013","Inst","1min"]
["1101080002","201005","11014","Inst","1min"]
["1101080002","201005","11015","Inst","1min"]
["1101080002","201005","11021","Boolv","1min"]
["1101080002","201005","11022","Boolv","1min"]
["1101080002","201005","11023","Boolv","1min"]
["1101080002","201005","11024","Boolv","1min"]
["1101080002","201005","11025","Boolv","1min"]
["1101080002","201006","11011","Inst","1min"]
["1101080002","201006","11012","Inst","1min"]
["1101080002","201006","11013","Inst","1min"]
["1101080002","201006","11014","Inst","1min"]
["1101080002","201006","11015","Inst","1min"]
["1101080002","201006","11021","Boolv","1min"]
["1101080002","201006","11022","Boolv","1min"]
["1101080002","201006","11023","Boolv","1min"]
["1101080002","201006","11024","Boolv","1min"]
["1101080002","201006","11025","Boolv","1min"]
["1101080002","202001","11011","Inst","1min"]
["1101080002","202001","11012","Inst","1min"]
["1101080002","202001","11013","Inst","1min"]
["1101080002","202001","11014","Inst","1min"]
["1101080002","202001","11015","Inst","1min"]
["1101080002","202001","11021","Boolv","1min"]
["1101080002","202001","11022","Boolv","1min"]
["1101080002","202001","11023","Boolv","1min"]
["1101080002","202001","11024","Boolv","1min"]
["1101080002","202001","11025","Boolv","1min"]
["1101080002","202002","11011","Inst","1min"]
["1101080002","202002","11012","Inst","1min"]
["1101080002","202002","11013","Inst","1min"]
["1101080002","202002","11014","Inst","1min"]
["1101080002","202002","11015","Inst","1min"]
["1101080002","202002","11021","Boolv","1min"]
["1101080002","202002","11022","Boolv","1min"]
["1101080002","202002","11023","Boolv","1min"]
["1101080002","202002","11024","Boolv","1min"]
["1101080002","202002","11025","Boolv","1min"]
["1101080002","202003","11011","Inst","1min"]
["1101080002","202003","11012","Inst","1min"]
["1101080002","202003","11013","Inst","1min"]
["1101080002","202003","11014","Inst","1min"]
["1101080002","202003","11015","Inst","1min"]
["1101080002","202003","11021","Boolv","1min"]
["1101080002","202003","11022","Boolv","1min"]
["1101080002","202003","11023","Boolv","1min"]
["1101080002","202003","11024","Boolv","1min"]
["1101080002","202003","11025","Boolv","1min"]
["1101080002","202004","11011","Inst","1min"]
["1101080002","202004","11012","Inst","1min"]
["1101080002","202004","11013","Inst","1min"]
["1101080002","202004","11014","Inst","1min"]
["1101080002","202004","11015","Inst","1min"]
["1101080002","202004","11021","Boolv","1min"]
["1101080002","202004","11022","Boolv","1min"]
["1101080002","202004","11023","Boolv","1min"]
["1101080002","202004","11024","Boolv","1min"]
["1101080002","202004","11025","Boolv","1min"]
["1101080002","202005","11011","Inst","1min"]
["1101080002","202005","11012","Inst","1min"]
["1101080002","202005","11013","Inst","1min"]
["1101080002","202005","11014","Inst","1min"]
["1101080002","202005","11015","Inst","1min"]
["1101080002","202005","11021","Boolv","1min"]
["1101080002","202005","11022","Boolv","1min"]
["1101080002","202005","11023","Boolv","1min"]
["1101080002","202005","11024","Boolv","1min"]
["1101080002","202005","11025","Boolv","1min"]
["1101080002","202006","11011","Inst","1min"]
["1101080002","202006","11012","Inst","1min"]
["1101080002","202006","11013","Inst","1min"]
["1101080002","202006","11014","Inst","1min"]
["1101080002","202006","11015","Inst","1min"]
["1101080002","202006","11021","Boolv","1min"]
["1101080002","202006","11022","Boolv","1min"]
["1101080002","202006","11023","Boolv","1min"]
["1101080002","202006","11024","Boolv","1min"]
["1101080002","202006","11025","Boolv","1min"]
["1101080002","203001","11011","Inst","1min"]
["1101080002","203001","11012","Inst","1min"]
["1101080002","203001","11013","Inst","1min"]
["1101080002","203001","11014","Inst","1min"]
["1101080002","203001","11015","Inst","1min"]
["1101080002","203001","11021","Boolv","1min"]
["1101080002","203001","11022","Boolv","1min"]
["1101080002","203001","11023","Boolv","1min"]
["1101080002","203001","11024","Boolv","1min"]
["1101080002","203001","11025","Boolv","1min"]
["1101080002","203002","11011","Inst","1min"]
["1101080002","203002","11012","Inst","1min"]
["1101080002","203002","11013","Inst","1min"]
["1101080002","203002","11014","Inst","1min"]
["1101080002","203002","11015","Inst","1min"]
["1101080002","203002","11021","Boolv","1min"]
["1101080002","203002","11022","Boolv","1min"]
["1101080002","203002","11023","Boolv","1min"]
["1101080002","203002","11024","Boolv","1min"]
["1101080002","203002","11025","Boolv","1min"]
["1101080002","204001","11011","Inst","1min"]
["1101080002","204001","11012","Inst","1min"]
["1101080002","204001","11013","Inst","1min"]
["1101080002","204001","11014","Inst","1min"]
["1101080002","204001","11015","Inst","1min"]
["1101080002","204001","11021","Boolv","1min"]
["1101080002","204001","11022","Boolv","1min"]
["1101080002","204001","11023","Boolv","1min"]
["1101080002","204001","11024","Boolv","1min"]
["1101080002","204001","11025","Boolv","1min"]
["1101080002","204002","11011","Inst","1min"]
["1101080002","204002","11012","Inst","1min"]
["1101080002","204002","11013","Inst","1min"]
["1101080002","204002","11014","Inst","1min"]
["1101080002","204002","11015","Inst","1min"]
["1101080002","204002","11021","Boolv","1min"]
["1101080002","204002","11022","Boolv","1min"]
["1101080002","204002","11023","Boolv","1min"]
["1101080002","204002","11024","Boolv","1min"]
["1101080002","204002","11025","Boolv","1min"]
["1101080002","204003","11011","Inst","1min"]
["1101080002","204003","11012","Inst","1min"]
["1101080002","204003","11013","Inst","1min"]
["1101080002","204003","11014","Inst","1min"]
["1101080002","204003","11015","Inst","1min"]
["1101080002","204003","11021","Boolv","1min"]
["1101080002","204003","11022","Boolv","1min"]
["1101080002","204003","11023","Boolv","1min"]
["1101080002","204003","11024","Boolv","1min"]
["1101080002","204003","11025","Boolv","1min"]
["1101080002","205001","11011","Inst","1min"]
["1101080002","205001","11012","Inst","1min"]
["1101080002","205001","11013","Inst","1min"]
["1101080002","205001","11014","Inst","1min"]
["1101080002","205001","11015","Inst","1min"]
["1101080002","205001","11021","Boolv","1min"]
["1101080002","205001","11022","Boolv","1min"]
["1101080002","205001","11023","Boolv","1min"]
["1101080002","205001","11024","Boolv","1min"]
["1101080002","205001","11025","Boolv","1min"]
["1101080002","205002","11011","Inst","1min",null,null,"1","192.168.20.235","尚格云核心区02风机盘管"]
["1101080002","205002","11012","Inst","1min",null,null,"1","192.168.20.235","尚格云核心区02风机盘管"]
["1101080002","205002","11013","Inst","1min",null,null,"1","192.168.20.235","尚格云核心区02风机盘管"]
["1101080002","205002","11014","Inst","1min",null,null,"1","192.168.20.235","尚格云核心区02风机盘管"]
["1101080002","205002","11015","Inst","1min",null,null,"1","192.168.20.235","尚格云核心区02风机盘管"]
["1101080002","205002","11021","Boolv","1min",null,null,"1","192.168.20.235","尚格云核心区02风机盘管"]
["1101080002","205002","11022","Boolv","1min",null,null,"1","192.168.20.235","尚格云核心区02风机盘管"]
["1101080002","205002","11023","Boolv","1min",null,null,"1","192.168.20.235","尚格云核心区02风机盘管"]
["1101080002","205002","11024","Boolv","1min",null,null,"1","192.168.20.235","尚格云核心区02风机盘管"]
["1101080002","205002","11025","Boolv","1min",null,null,"1","192.168.20.235","尚格云核心区02风机盘管"]
["1101080002","205003","11011","Inst","1min",null,null,"1","192.168.20.235","尚格云核心区03风机盘管"]
["1101080002","205003","11012","Inst","1min",null,null,"1","192.168.20.235","尚格云核心区03风机盘管"]
["1101080002","205003","11013","Inst","1min",null,null,"1","192.168.20.235","尚格云核心区03风机盘管"]
["1101080002","205003","11014","Inst","1min",null,null,"1","192.168.20.235","尚格云核心区03风机盘管"]
["1101080002","205003","11015","Inst","1min",null,null,"1","192.168.20.235","尚格云核心区03风机盘管"]
["1101080002","205003","11021","Boolv","1min",null,null,"1","192.168.20.235","尚格云核心区03风机盘管"]
["1101080002","205003","11022","Boolv","1min",null,null,"1","192.168.20.235","尚格云核心区03风机盘管"]
["1101080002","205003","11023","Boolv","1min",null,null,"1","192.168.20.235","尚格云核心区03风机盘管"]
["1101080002","205003","11024","Boolv","1min",null,null,"1","192.168.20.235","尚格云核心区03风机盘管"]
["1101080002","205003","11025","Boolv","1min",null,null,"1","192.168.20.235","尚格云核心区03风机盘管"]
["1101080002","206001","11011","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区01风机盘管"]
["1101080002","206001","11012","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区01风机盘管"]
["1101080002","206001","11013","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区01风机盘管"]
["1101080002","206001","11014","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区01风机盘管"]
["1101080002","206001","11015","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区01风机盘管"]
["1101080002","206001","11021","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区01风机盘管"]
["1101080002","206001","11022","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区01风机盘管"]
["1101080002","206001","11023","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区01风机盘管"]
["1101080002","206001","11024","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区01风机盘管"]
["1101080002","206001","11025","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区01风机盘管"]
["1101080002","206002","11011","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区02风机盘管"]
["1101080002","206002","11012","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区02风机盘管"]
["1101080002","206002","11013","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区02风机盘管"]
["1101080002","206002","11014","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区02风机盘管"]
["1101080002","206002","11015","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区02风机盘管"]
["1101080002","206002","11021","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区02风机盘管"]
["1101080002","206002","11022","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区02风机盘管"]
["1101080002","206002","11023","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区02风机盘管"]
["1101080002","206002","11024","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区02风机盘管"]
["1101080002","206002","11025","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区02风机盘管"]
["1101080002","206003","11011","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区03风机盘管"]
["1101080002","206003","11012","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区03风机盘管"]
["1101080002","206003","11013","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区03风机盘管"]
["1101080002","206003","11014","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区03风机盘管"]
["1101080002","206003","11015","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区03风机盘管"]
["1101080002","206003","11021","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区03风机盘管"]
["1101080002","206003","11022","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区03风机盘管"]
["1101080002","206003","11023","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区03风机盘管"]
["1101080002","206003","11024","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区03风机盘管"]
["1101080002","206003","11025","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区03风机盘管"]
["1101080002","206004","11011","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区04风机盘管"]
["1101080002","206004","11012","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区04风机盘管"]
["1101080002","206004","11013","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区04风机盘管"]
["1101080002","206004","11014","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区04风机盘管"]
["1101080002","206004","11015","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区04风机盘管"]
["1101080002","206004","11021","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区04风机盘管"]
["1101080002","206004","11022","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区04风机盘管"]
["1101080002","206004","11023","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区04风机盘管"]
["1101080002","206004","11024","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区04风机盘管"]
["1101080002","206004","11025","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区04风机盘管"]
["1101080002","206005","11011","Inst","1min"]
["1101080002","206005","11012","Inst","1min"]
["1101080002","206005","11013","Inst","1min"]
["1101080002","206005","11014","Inst","1min"]
["1101080002","206005","11015","Inst","1min"]
["1101080002","206005","11021","Boolv","1min"]
["1101080002","206005","11022","Boolv","1min"]
["1101080002","206005","11023","Boolv","1min"]
["1101080002","206005","11024","Boolv","1min"]
["1101080002","206005","11025","Boolv","1min"]
["1101080002","206006","11011","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区06风机盘管"]
["1101080002","206006","11012","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区06风机盘管"]
["1101080002","206006","11013","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区06风机盘管"]
["1101080002","206006","11014","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区06风机盘管"]
["1101080002","206006","11015","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区06风机盘管"]
["1101080002","206006","11021","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区06风机盘管"]
["1101080002","206006","11022","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区06风机盘管"]
["1101080002","206006","11023","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区06风机盘管"]
["1101080002","206006","11024","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区06风机盘管"]
["1101080002","206006","11025","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区06风机盘管"]
["1101080002","206007","11011","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区07风机盘管"]
["1101080002","206007","11012","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区07风机盘管"]
["1101080002","206007","11013","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区07风机盘管"]
["1101080002","206007","11014","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区07风机盘管"]
["1101080002","206007","11015","Inst","1min",null,null,"1","192.168.20.235","尚格云研发区07风机盘管"]
["1101080002","206007","11021","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区07风机盘管"]
["1101080002","206007","11022","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区07风机盘管"]
["1101080002","206007","11023","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区07风机盘管"]
["1101080002","206007","11024","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区07风机盘管"]
["1101080002","206007","11025","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发区07风机盘管"]
["1101080002","207001","11011","Inst","1min"]
["1101080002","207001","11012","Inst","1min"]
["1101080002","207001","11013","Inst","1min"]
["1101080002","207001","11014","Inst","1min"]
["1101080002","207001","11015","Inst","1min"]
["1101080002","207001","11021","Boolv","1min"]
["1101080002","207001","11022","Boolv","1min"]
["1101080002","207001","11023","Boolv","1min"]
["1101080002","207001","11024","Boolv","1min"]
["1101080002","207001","11025","Boolv","1min"]
["1101080002","207002","11011","Inst","1min"]
["1101080002","207002","11012","Inst","1min"]
["1101080002","207002","11013","Inst","1min"]
["1101080002","207002","11014","Inst","1min"]
["1101080002","207002","11015","Inst","1min"]
["1101080002","207002","11021","Boolv","1min"]
["1101080002","207002","11022","Boolv","1min"]
["1101080002","207002","11023","Boolv","1min"]
["1101080002","207002","11024","Boolv","1min"]
["1101080002","207002","11025","Boolv","1min"]
["1101080002","207003","11011","Inst","1min"]
["1101080002","207003","11012","Inst","1min"]
["1101080002","207003","11013","Inst","1min"]
["1101080002","207003","11014","Inst","1min"]
["1101080002","207003","11015","Inst","1min"]
["1101080002","207003","11021","Boolv","1min"]
["1101080002","207003","11022","Boolv","1min"]
["1101080002","207003","11023","Boolv","1min"]
["1101080002","207003","11024","Boolv","1min"]
["1101080002","207003","11025","Boolv","1min"]
["1101080002","208001","11011","Inst","1min"]
["1101080002","208001","11012","Inst","1min"]
["1101080002","208001","11013","Inst","1min"]
["1101080002","208001","11014","Inst","1min"]
["1101080002","208001","11015","Inst","1min"]
["1101080002","208001","11021","Boolv","1min"]
["1101080002","208001","11022","Boolv","1min"]
["1101080002","208001","11023","Boolv","1min"]
["1101080002","208001","11024","Boolv","1min"]
["1101080002","208001","11025","Boolv","1min"]
["1101080002","208002","11011","Inst","1min"]
["1101080002","208002","11012","Inst","1min"]
["1101080002","208002","11013","Inst","1min"]
["1101080002","208002","11014","Inst","1min"]
["1101080002","208002","11015","Inst","1min"]
["1101080002","208002","11021","Boolv","1min"]
["1101080002","208002","11022","Boolv","1min"]
["1101080002","208002","11023","Boolv","1min"]
["1101080002","208002","11024","Boolv","1min"]
["1101080002","208002","11025","Boolv","1min"]
["1101080002","301001","11011","Inst","1min"]
["1101080002","301001","11012","Inst","1min"]
["1101080002","301001","11013","Inst","1min"]
["1101080002","301001","11014","Inst","1min"]
["1101080002","301001","11015","Inst","1min"]
["1101080002","301001","11021","Boolv","1min"]
["1101080002","301001","11022","Boolv","1min"]
["1101080002","301001","11023","Boolv","1min"]
["1101080002","301001","11024","Boolv","1min"]
["1101080002","301001","11025","Boolv","1min"]
["1101080002","302001","11011","Inst","1min"]
["1101080002","302001","11012","Inst","1min"]
["1101080002","302001","11013","Inst","1min"]
["1101080002","302001","11014","Inst","1min"]
["1101080002","302001","11015","Inst","1min"]
["1101080002","302001","11021","Boolv","1min"]
["1101080002","302001","11022","Boolv","1min"]
["1101080002","302001","11023","Boolv","1min"]
["1101080002","302001","11024","Boolv","1min"]
["1101080002","302001","11025","Boolv","1min"]
["1101080002","302002","11011","Inst","1min"]
["1101080002","302002","11012","Inst","1min"]
["1101080002","302002","11013","Inst","1min"]
["1101080002","302002","11014","Inst","1min"]
["1101080002","302002","11015","Inst","1min"]
["1101080002","302002","11021","Boolv","1min"]
["1101080002","302002","11022","Boolv","1min"]
["1101080002","302002","11023","Boolv","1min"]
["1101080002","302002","11024","Boolv","1min"]
["1101080002","302002","11025","Boolv","1min"]
["1101080002","304001","11011","Inst","1min"]
["1101080002","304001","11012","Inst","1min"]
["1101080002","304001","11013","Inst","1min"]
["1101080002","304001","11014","Inst","1min"]
["1101080002","304001","11015","Inst","1min"]
["1101080002","304001","11021","Boolv","1min"]
["1101080002","304001","11022","Boolv","1min"]
["1101080002","304001","11023","Boolv","1min"]
["1101080002","304001","11024","Boolv","1min"]
["1101080002","304001","11025","Boolv","1min"]
["1101080002","305001","11011","Inst","1min"]
["1101080002","305001","11012","Inst","1min"]
["1101080002","305001","11013","Inst","1min"]
["1101080002","305001","11014","Inst","1min"]
["1101080002","305001","11015","Inst","1min"]
["1101080002","305001","11021","Boolv","1min"]
["1101080002","305001","11022","Boolv","1min"]
["1101080002","305001","11023","Boolv","1min"]
["1101080002","305001","11024","Boolv","1min"]
["1101080002","305001","11025","Boolv","1min"]
["1101080002","305002","11011","Inst","1min"]
["1101080002","305002","11012","Inst","1min"]
["1101080002","305002","11013","Inst","1min"]
["1101080002","305002","11014","Inst","1min"]
["1101080002","305002","11015","Inst","1min"]
["1101080002","305002","11021","Boolv","1min"]
["1101080002","305002","11022","Boolv","1min"]
["1101080002","305002","11023","Boolv","1min"]
["1101080002","305002","11024","Boolv","1min"]
["1101080002","305002","11025","Boolv","1min"]
["1101080002","306001","11011","Inst","1min"]
["1101080002","306001","11012","Inst","1min"]
["1101080002","306001","11013","Inst","1min"]
["1101080002","306001","11014","Inst","1min"]
["1101080002","306001","11015","Inst","1min"]
["1101080002","306001","11021","Boolv","1min"]
["1101080002","306001","11022","Boolv","1min"]
["1101080002","306001","11023","Boolv","1min"]
["1101080002","306001","11024","Boolv","1min"]
["1101080002","306001","11025","Boolv","1min"]
["1101080002","308001","11011","Inst","1min"]
["1101080002","308001","11012","Inst","1min"]
["1101080002","308001","11013","Inst","1min"]
["1101080002","308001","11014","Inst","1min"]
["1101080002","308001","11015","Inst","1min"]
["1101080002","308001","11021","Boolv","1min"]
["1101080002","308001","11022","Boolv","1min"]
["1101080002","308001","11023","Boolv","1min"]
["1101080002","308001","11024","Boolv","1min"]
["1101080002","308001","11025","Boolv","1min"]
["1101080002","308002","11011","Inst","1min"]
["1101080002","308002","11012","Inst","1min"]
["1101080002","308002","11013","Inst","1min"]
["1101080002","308002","11014","Inst","1min"]
["1101080002","308002","11015","Inst","1min"]
["1101080002","308002","11021","Boolv","1min"]
["1101080002","308002","11022","Boolv","1min"]
["1101080002","308002","11023","Boolv","1min"]
["1101080002","308002","11024","Boolv","1min"]
["1101080002","308002","11025","Boolv","1min"]
["1101080002","308003","11011","Inst","1min"]
["1101080002","308003","11012","Inst","1min"]
["1101080002","308003","11013","Inst","1min"]
["1101080002","308003","11014","Inst","1min"]
["1101080002","308003","11015","Inst","1min"]
["1101080002","308003","11021","Boolv","1min"]
["1101080002","308003","11022","Boolv","1min"]
["1101080002","308003","11023","Boolv","1min"]
["1101080002","308003","11024","Boolv","1min"]
["1101080002","308003","11025","Boolv","1min"]
["1101080002","310001","11011","Inst","1min"]
["1101080002","310001","11012","Inst","1min"]
["1101080002","310001","11013","Inst","1min"]
["1101080002","310001","11014","Inst","1min"]
["1101080002","310001","11015","Inst","1min"]
["1101080002","310001","11021","Boolv","1min"]
["1101080002","310001","11022","Boolv","1min"]
["1101080002","310001","11023","Boolv","1min"]
["1101080002","310001","11024","Boolv","1min"]
["1101080002","310001","11025","Boolv","1min"]
["1101080002","401001","11011","Inst","1min"]
["1101080002","401001","11012","Inst","1min"]
["1101080002","401001","11013","Inst","1min"]
["1101080002","401001","11014","Inst","1min"]
["1101080002","401001","11015","Inst","1min"]
["1101080002","401001","11021","Boolv","1min"]
["1101080002","401001","11022","Boolv","1min"]
["1101080002","401001","11023","Boolv","1min"]
["1101080002","401001","11024","Boolv","1min"]
["1101080002","401001","11025","Boolv","1min"]
["1101080002","402001","11011","Inst","1min"]
["1101080002","402001","11012","Inst","1min"]
["1101080002","402001","11013","Inst","1min"]
["1101080002","402001","11014","Inst","1min"]
["1101080002","402001","11015","Inst","1min"]
["1101080002","402001","11021","Boolv","1min"]
["1101080002","402001","11022","Boolv","1min"]
["1101080002","402001","11023","Boolv","1min"]
["1101080002","402001","11024","Boolv","1min"]
["1101080002","402001","11025","Boolv","1min"]
["1101080002","403001","11011","Inst","1min"]
["1101080002","403001","11012","Inst","1min"]
["1101080002","403001","11013","Inst","1min"]
["1101080002","403001","11014","Inst","1min"]
["1101080002","403001","11015","Inst","1min"]
["1101080002","403001","11021","Boolv","1min"]
["1101080002","403001","11022","Boolv","1min"]
["1101080002","403001","11023","Boolv","1min"]
["1101080002","403001","11024","Boolv","1min"]
["1101080002","403001","11025","Boolv","1min"]
["1101080002","404001","11011","Inst","1min",null,null,"1","192.168.20.235","尚格云研发休闲区01风机盘管"]
["1101080002","404001","11012","Inst","1min",null,null,"1","192.168.20.235","尚格云研发休闲区01风机盘管"]
["1101080002","404001","11013","Inst","1min",null,null,"1","192.168.20.235","尚格云研发休闲区01风机盘管"]
["1101080002","404001","11014","Inst","1min",null,null,"1","192.168.20.235","尚格云研发休闲区01风机盘管"]
["1101080002","404001","11015","Inst","1min",null,null,"1","192.168.20.235","尚格云研发休闲区01风机盘管"]
["1101080002","404001","11021","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发休闲区01风机盘管"]
["1101080002","404001","11022","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发休闲区01风机盘管"]
["1101080002","404001","11023","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发休闲区01风机盘管"]
["1101080002","404001","11024","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发休闲区01风机盘管"]
["1101080002","404001","11025","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发休闲区01风机盘管"]
["1101080002","404002","11011","Inst","1min",null,null,"1","192.168.20.235","尚格云研发休闲区02风机盘管"]
["1101080002","404002","11012","Inst","1min",null,null,"1","192.168.20.235","尚格云研发休闲区02风机盘管"]
["1101080002","404002","11013","Inst","1min",null,null,"1","192.168.20.235","尚格云研发休闲区02风机盘管"]
["1101080002","404002","11014","Inst","1min",null,null,"1","192.168.20.235","尚格云研发休闲区02风机盘管"]
["1101080002","404002","11015","Inst","1min",null,null,"1","192.168.20.235","尚格云研发休闲区02风机盘管"]
["1101080002","404002","11021","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发休闲区02风机盘管"]
["1101080002","404002","11022","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发休闲区02风机盘管"]
["1101080002","404002","11023","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发休闲区02风机盘管"]
["1101080002","404002","11024","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发休闲区02风机盘管"]
["1101080002","404002","11025","Boolv","1min",null,null,"1","192.168.20.235","尚格云研发休闲区02风机盘管"]
["1101080002","501001","11011","Inst","1min"]
["1101080002","501001","11012","Inst","1min"]
["1101080002","501001","11013","Inst","1min"]
["1101080002","501001","11014","Inst","1min"]
["1101080002","501001","11015","Inst","1min"]
["1101080002","501001","11021","Boolv","1min"]
["1101080002","501001","11022","Boolv","1min"]
["1101080002","501001","11023","Boolv","1min"]
["1101080002","501001","11024","Boolv","1min"]
["1101080002","501001","11025","Boolv","1min"]
["1101080002","502001","11011","Inst","1min"]
["1101080002","502001","11012","Inst","1min"]
["1101080002","502001","11013","Inst","1min"]
["1101080002","502001","11014","Inst","1min"]
["1101080002","502001","11015","Inst","1min"]
["1101080002","502001","11021","Boolv","1min"]
["1101080002","502001","11022","Boolv","1min"]
["1101080002","502001","11023","Boolv","1min"]
["1101080002","502001","11024","Boolv","1min"]
["1101080002","502001","11025","Boolv","1min"]
["1101080002","503001","11011","Inst","1min"]
["1101080002","503001","11012","Inst","1min"]
["1101080002","503001","11013","Inst","1min"]
["1101080002","503001","11014","Inst","1min"]
["1101080002","503001","11015","Inst","1min"]
["1101080002","503001","11021","Boolv","1min"]
["1101080002","503001","11022","Boolv","1min"]
["1101080002","503001","11023","Boolv","1min"]
["1101080002","503001","11024","Boolv","1min"]
["1101080002","503001","11025","Boolv","1min"]
["1101080002","504001","11011","Inst","1min"]
["1101080002","504001","11012","Inst","1min"]
["1101080002","504001","11013","Inst","1min"]
["1101080002","504001","11014","Inst","1min"]
["1101080002","504001","11015","Inst","1min"]
["1101080002","504001","11021","Boolv","1min"]
["1101080002","504001","11022","Boolv","1min"]
["1101080002","504001","11023","Boolv","1min"]
["1101080002","504001","11024","Boolv","1min"]
["1101080002","504001","11025","Boolv","1min"]
["1101080002","505001","11011","Inst","1min"]
["1101080002","505001","11012","Inst","1min"]
["1101080002","505001","11013","Inst","1min"]
["1101080002","505001","11014","Inst","1min"]
["1101080002","505001","11015","Inst","1min"]
["1101080002","505001","11021","Boolv","1min"]
["1101080002","505001","11022","Boolv","1min"]
["1101080002","505001","11023","Boolv","1min"]
["1101080002","505001","11024","Boolv","1min"]
["1101080002","505001","11025","Boolv","1min"]
["1101080002","506001","11011","Inst","1min"]
["1101080002","506001","11012","Inst","1min"]
["1101080002","506001","11013","Inst","1min"]
["1101080002","506001","11014","Inst","1min"]
["1101080002","506001","11015","Inst","1min"]
["1101080002","506001","11021","Boolv","1min"]
["1101080002","506001","11022","Boolv","1min"]
["1101080002","506001","11023","Boolv","1min"]
["1101080002","506001","11024","Boolv","1min"]
["1101080002","506001","11025","Boolv","1min"]
["1101080002","506002","11011","Inst","1min"]
["1101080002","506002","11012","Inst","1min"]
["1101080002","506002","11013","Inst","1min"]
["1101080002","506002","11014","Inst","1min"]
["1101080002","506002","11015","Inst","1min"]
["1101080002","506002","11021","Boolv","1min"]
["1101080002","506002","11022","Boolv","1min"]
["1101080002","506002","11023","Boolv","1min"]
["1101080002","506002","11024","Boolv","1min"]
["1101080002","506002","11025","Boolv","1min"]
["1101080002","507001","11011","Inst","1min",null,null,"1","192.168.20.235","上格云大会议室外走廊风机盘管"]
["1101080002","507001","11012","Inst","1min",null,null,"1","192.168.20.235","上格云大会议室外走廊风机盘管"]
["1101080002","507001","11013","Inst","1min",null,null,"1","192.168.20.235","上格云大会议室外走廊风机盘管"]
["1101080002","507001","11014","Inst","1min",null,null,"1","192.168.20.235","上格云大会议室外走廊风机盘管"]
["1101080002","507001","11015","Inst","1min",null,null,"1","192.168.20.235","上格云大会议室外走廊风机盘管"]
["1101080002","507001","11021","Boolv","1min",null,null,"1","192.168.20.235","上格云大会议室外走廊风机盘管"]
["1101080002","507001","11022","Boolv","1min",null,null,"1","192.168.20.235","上格云大会议室外走廊风机盘管"]
["1101080002","507001","11023","Boolv","1min",null,null,"1","192.168.20.235","上格云大会议室外走廊风机盘管"]
["1101080002","507001","11024","Boolv","1min",null,null,"1","192.168.20.235","上格云大会议室外走廊风机盘管"]
["1101080002","507001","11025","Boolv","1min",null,null,"1","192.168.20.235","上格云大会议室外走廊风机盘管"]
["1101080002","507002","11011","Inst","1min",null,null,"1","192.168.20.235","上格云大会议室01风机盘管"]
["1101080002","507002","11012","Inst","1min",null,null,"1","192.168.20.235","上格云大会议室01风机盘管"]
["1101080002","507002","11013","Inst","1min",null,null,"1","192.168.20.235","上格云大会议室01风机盘管"]
["1101080002","507002","11014","Inst","1min",null,null,"1","192.168.20.235","上格云大会议室01风机盘管"]
["1101080002","507002","11015","Inst","1min",null,null,"1","192.168.20.235","上格云大会议室01风机盘管"]
["1101080002","507002","11021","Boolv","1min",null,null,"1","192.168.20.235","上格云大会议室01风机盘管"]
["1101080002","507002","11022","Boolv","1min",null,null,"1","192.168.20.235","上格云大会议室01风机盘管"]
["1101080002","507002","11023","Boolv","1min",null,null,"1","192.168.20.235","上格云大会议室01风机盘管"]
["1101080002","507002","11024","Boolv","1min",null,null,"1","192.168.20.235","上格云大会议室01风机盘管"]
["1101080002","507002","11025","Boolv","1min",null,null,"1","192.168.20.235","上格云大会议室01风机盘管"]
["1101080002","507003","11011","Inst","1min",null,null,"1","192.168.20.235","上格云大会议室02风机盘管"]
["1101080002","507003","11012","Inst","1min",null,null,"1","192.168.20.235","上格云大会议室02风机盘管"]
["1101080002","507003","11013","Inst","1min",null,null,"1","192.168.20.235","上格云大会议室02风机盘管"]
["1101080002","507003","11014","Inst","1min",null,null,"1","192.168.20.235","上格云大会议室02风机盘管"]
["1101080002","507003","11015","Inst","1min",null,null,"1","192.168.20.235","上格云大会议室02风机盘管"]
["1101080002","507003","11021","Boolv","1min",null,null,"1","192.168.20.235","上格云大会议室02风机盘管"]
["1101080002","507003","11022","Boolv","1min",null,null,"1","192.168.20.235","上格云大会议室02风机盘管"]
["1101080002","507003","11023","Boolv","1min",null,null,"1","192.168.20.235","上格云大会议室02风机盘管"]
["1101080002","507003","11024","Boolv","1min",null,null,"1","192.168.20.235","上格云大会议室02风机盘管"]
["1101080002","507003","11025","Boolv","1min",null,null,"1","192.168.20.235","上格云大会议室02风机盘管"]
["1101080002","508001","11011","Inst","1min",null,null,"1","192.168.20.235","上格云1#洽谈室风机盘管"]
["1101080002","508001","11012","Inst","1min",null,null,"1","192.168.20.235","上格云1#洽谈室风机盘管"]
["1101080002","508001","11013","Inst","1min",null,null,"1","192.168.20.235","上格云1#洽谈室风机盘管"]
["1101080002","508001","11014","Inst","1min",null,null,"1","192.168.20.235","上格云1#洽谈室风机盘管"]
["1101080002","508001","11015","Inst","1min",null,null,"1","192.168.20.235","上格云1#洽谈室风机盘管"]
["1101080002","508001","11021","Boolv","1min",null,null,"1","192.168.20.235","上格云1#洽谈室风机盘管"]
["1101080002","508001","11022","Boolv","1min",null,null,"1","192.168.20.235","上格云1#洽谈室风机盘管"]
["1101080002","508001","11023","Boolv","1min",null,null,"1","192.168.20.235","上格云1#洽谈室风机盘管"]
["1101080002","508001","11024","Boolv","1min",null,null,"1","192.168.20.235","上格云1#洽谈室风机盘管"]
["1101080002","508001","11025","Boolv","1min",null,null,"1","192.168.20.235","上格云1#洽谈室风机盘管"]
["1101080002","509001","11011","Inst","1min",null,null,"1","192.168.20.235","上格云2#洽谈室风机盘管"]
["1101080002","509001","11012","Inst","1min",null,null,"1","192.168.20.235","上格云2#洽谈室风机盘管"]
["1101080002","509001","11013","Inst","1min",null,null,"1","192.168.20.235","上格云2#洽谈室风机盘管"]
["1101080002","509001","11014","Inst","1min",null,null,"1","192.168.20.235","上格云2#洽谈室风机盘管"]
["1101080002","509001","11015","Inst","1min",null,null,"1","192.168.20.235","上格云2#洽谈室风机盘管"]
["1101080002","509001","11021","Boolv","1min",null,null,"1","192.168.20.235","上格云2#洽谈室风机盘管"]
["1101080002","509001","11022","Boolv","1min",null,null,"1","192.168.20.235","上格云2#洽谈室风机盘管"]
["1101080002","509001","11023","Boolv","1min",null,null,"1","192.168.20.235","上格云2#洽谈室风机盘管"]
["1101080002","509001","11024","Boolv","1min",null,null,"1","192.168.20.235","上格云2#洽谈室风机盘管"]
["1101080002","509001","11025","Boolv","1min",null,null,"1","192.168.20.235","上格云2#洽谈室风机盘管"]
["1101080002","510001","11011","Inst","1min",null,null,"1","192.168.20.235","上格云小会议室风机盘管"]
["1101080002","510001","11012","Inst","1min",null,null,"1","192.168.20.235","上格云小会议室风机盘管"]
["1101080002","510001","11013","Inst","1min",null,null,"1","192.168.20.235","上格云小会议室风机盘管"]
["1101080002","510001","11014","Inst","1min",null,null,"1","192.168.20.235","上格云小会议室风机盘管"]
["1101080002","510001","11015","Inst","1min",null,null,"1","192.168.20.235","上格云小会议室风机盘管"]
["1101080002","510001","11021","Boolv","1min",null,null,"1","192.168.20.235","上格云小会议室风机盘管"]
["1101080002","510001","11022","Boolv","1min",null,null,"1","192.168.20.235","上格云小会议室风机盘管"]
["1101080002","510001","11023","Boolv","1min",null,null,"1","192.168.20.235","上格云小会议室风机盘管"]
["1101080002","510001","11024","Boolv","1min",null,null,"1","192.168.20.235","上格云小会议室风机盘管"]
["1101080002","510001","11025","Boolv","1min",null,null,"1","192.168.20.235","上格云小会议室风机盘管"]
["1101080002","601001","11011","Inst","1min"]
["1101080002","601001","11012","Inst","1min"]
["1101080002","601001","11013","Inst","1min"]
["1101080002","601001","11014","Inst","1min"]
["1101080002","601001","11015","Inst","1min"]
["1101080002","601001","11021","Boolv","1min"]
["1101080002","601001","11022","Boolv","1min"]
["1101080002","601001","11023","Boolv","1min"]
["1101080002","601001","11024","Boolv","1min"]
["1101080002","601001","11025","Boolv","1min"]
["1101080002","602001","11011","Inst","1min"]
["1101080002","602001","11012","Inst","1min"]
["1101080002","602001","11013","Inst","1min"]
["1101080002","602001","11014","Inst","1min"]
["1101080002","602001","11015","Inst","1min"]
["1101080002","602001","11021","Boolv","1min"]
["1101080002","602001","11022","Boolv","1min"]
["1101080002","602001","11023","Boolv","1min"]
["1101080002","602001","11024","Boolv","1min"]
["1101080002","602001","11025","Boolv","1min"]
["1101080002","603001","11011","Inst","1min"]
["1101080002","603001","11012","Inst","1min"]
["1101080002","603001","11013","Inst","1min"]
["1101080002","603001","11014","Inst","1min"]
["1101080002","603001","11015","Inst","1min"]
["1101080002","603001","11021","Boolv","1min"]
["1101080002","603001","11022","Boolv","1min"]
["1101080002","603001","11023","Boolv","1min"]
["1101080002","603001","11024","Boolv","1min"]
["1101080002","603001","11025","Boolv","1min"]
["1101080002","604001","11011","Inst","1min"]
["1101080002","604001","11012","Inst","1min"]
["1101080002","604001","11013","Inst","1min"]
["1101080002","604001","11014","Inst","1min"]
["1101080002","604001","11015","Inst","1min"]
["1101080002","604001","11021","Boolv","1min"]
["1101080002","604001","11022","Boolv","1min"]
["1101080002","604001","11023","Boolv","1min"]
["1101080002","604001","11024","Boolv","1min"]
["1101080002","604001","11025","Boolv","1min"]
["1101080002","605001","11011","Inst","1min"]
["1101080002","605001","11012","Inst","1min"]
["1101080002","605001","11013","Inst","1min"]
["1101080002","605001","11014","Inst","1min"]
["1101080002","605001","11015","Inst","1min"]
["1101080002","605001","11021","Boolv","1min"]
["1101080002","605001","11022","Boolv","1min"]
["1101080002","605001","11023","Boolv","1min"]
["1101080002","605001","11024","Boolv","1min"]
["1101080002","605001","11025","Boolv","1min"]
["1101080002","701001","11011","Inst","1min"]
["1101080002","701001","11012","Inst","1min"]
["1101080002","701001","11013","Inst","1min"]
["1101080002","701001","11014","Inst","1min"]
["1101080002","701001","11015","Inst","1min"]
["1101080002","701001","11021","Boolv","1min"]
["1101080002","701001","11022","Boolv","1min"]
["1101080002","701001","11023","Boolv","1min"]
["1101080002","701001","11024","Boolv","1min"]
["1101080002","701001","11025","Boolv","1min"]
["1101080002","8001","11101","Inst","1min",null,null,"1","192.168.20.235","上格云区域"]
["1101080002","8001","11201","Inst","1min",null,null,"1","192.168.20.235","上格云区域"]
["1101080002","8001","11301","Inst","1min"]
["1101080002","8001","11305","Inst","1min"]
["1101080002","8001","11401","Inst","1min"]
["1101080002","8002","11101","Inst","1min",null,null,"1","192.168.20.235","BIM区域"]
["1101080002","8002","11201","Inst","1min",null,null,"1","192.168.20.235","BIM区域"]
["1101080002","8002","11301","Inst","1min"]
["1101080002","8002","11305","Inst","1min"]
["1101080002","8002","11401","Inst","1min"]
["1101080002","8003","11101","Inst","1min"]
["1101080002","8003","11201","Inst","1min"]
["1101080002","8003","11301","Inst","1min"]
["1101080002","8003","11305","Inst","1min"]
["1101080002","8003","11401","Inst","1min"]
["1101080002","8004","11101","Inst","1min",null,null,"1","192.168.20.235","财务区域"]
["1101080002","8004","11201","Inst","1min",null,null,"1","192.168.20.235","财务区域"]
["1101080002","8004","11301","Inst","1min"]
["1101080002","8004","11305","Inst","1min"]
["1101080002","8004","11401","Inst","1min"]
["1101080002","8005","11101","Inst","1min"]
["1101080002","8005","11201","Inst","1min"]
["1101080002","8005","11301","Inst","1min"]
["1101080002","8005","11305","Inst","1min"]
["1101080002","8005","11401","Inst","1min"]
["1101080002","8006","11101","Inst","1min"]
["1101080002","8006","11201","Inst","1min"]
["1101080002","8006","11301","Inst","1min"]
["1101080002","8006","11305","Inst","1min"]
["1101080002","8006","11401","Inst","1min"]
["1101080002","8007","11101","Inst","1min"]
["1101080002","8007","11201","Inst","1min"]
["1101080002","8007","11301","Inst","1min"]
["1101080002","8007","11305","Inst","1min"]
["1101080002","8007","11401","Inst","1min"]
["1101080002","8008","11101","Inst","1min"]
["1101080002","8008","11201","Inst","1min"]
["1101080002","8008","11301","Inst","1min"]
["1101080002","8008","11305","Inst","1min"]
["1101080002","8008","11401","Inst","1min"]
["1101080002","8009","11101","Inst","1min",null,null,"1","192.168.20.235","软件研发区域"]
["1101080002","8009","11201","Inst","1min",null,null,"1","192.168.20.235","软件研发区域"]
["1101080002","8009","11301","Inst","1min"]
["1101080002","8009","11305","Inst","1min"]
["1101080002","8009","11401","Inst","1min"]
["1101080002","8010","11101","Inst","1min"]
["1101080002","8010","11201","Inst","1min"]
["1101080002","8010","11301","Inst","1min"]
["1101080002","8010","11305","Inst","1min"]
["1101080002","8010","11401","Inst","1min"]
["1101080002","8011","11101","Inst","1min"]
["1101080002","8011","11201","Inst","1min"]
["1101080002","8011","11301","Inst","1min"]
["1101080002","8011","11305","Inst","1min"]
["1101080002","8011","11401","Inst","1min"]
["1101080002","8012","11101","Inst","1min"]
["1101080002","8012","11201","Inst","1min"]
["1101080002","8012","11301","Inst","1min"]
["1101080002","8012","11305","Inst","1min"]
["1101080002","8012","11401","Inst","1min"]
["1101080002","8013","11101","Inst","1min"]
["1101080002","8013","11201","Inst","1min"]
["1101080002","8013","11301","Inst","1min"]
["1101080002","8013","11305","Inst","1min"]
["1101080002","8013","11401","Inst","1min"]
["1101080002","8014","11101","Inst","1min",null,null,"1","192.168.20.235","室外"]
["1101080002","8014","11201","Inst","1min",null,null,"1","192.168.20.235","室外"]
["1101080002","8014","11301","Inst","1min"]
["1101080002","8014","11305","Inst","1min"]
["1101080002","8014","11401","Inst","1min"]
["1101080002","8015","11101","Inst","1min"]
["1101080002","8015","11201","Inst","1min"]
["1101080002","8015","11301","Inst","1min"]
["1101080002","8015","11305","Inst","1min"]
["1101080002","8015","11401","Inst","1min"]